## INPUT SHEET
Charger Input Calculator
CTX Product Selection: | [9 empty] | Financial Worksheet Inputs
Start by selecting Category dropdown → (blue cells = your inputs: Category, SKU, Discount %, Qty)
| Item # | Category | SKU | Description | MSRP | Discount % | Qty | MSRP Total | Line Total After Discount |  | Level 2 | L3 Type 1 (DCFC) | L3 Type 2 (DCFC) | L3 Type 3 (DCFC) | L3 Type 4 (DCFC) | L3 Type 5 (DCFC) | L3 Type 6 (DCFC)
| 1 | _kW60 | TP5-60-480-1 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft) ; 4G Modem | 28500 |  | 4 | 114000 | 114000 | # Chargers (auto from line items) | 10 | 4 | 0 | 0 | 0 | 0 | 0
|  | _L2 | CTX-C32-240-1 | 32A Single Commercial L2 Charger | 1402.5 |  | 10 | 14025 | 14025 | EV Stall Qty (# of ports) | 10 | 4 | 0 | 0 | 0 | 0 | 0
| 3 | _L2_Accessories | CTX-FLUXPED-CMS-2 | Dual Retractor (Post) | 632.5 |  | 4 | 2530 | 2530 | Charger Rating (kW) | 7.2 | 60 | 120 | 160 | 180 | 240 | 360
| 4 | _L2_Accessories | CTX-FLUXPED-CMS-1 | Single Retractor post | 412.5 |  | 2 | 825 | 825 | Rating de-rate factor (x) | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98
| 5 | _L2_Accessories | CTX-FLUXPED-SBS | Side By Side Bracket | 137.5 |  | 4 | 550 | 550
Tip: # Chargers auto-fills from your line item categories (_L2 and _kW*).
Set the ports and kW rating per level. Revenue uses rating x de-rate factor.
Fill this out for CPMS
Address
RSM: RSM: Paul Arms / Brian Rischmann / Dan Koven
Client Info:
Utility
Scope of Work: ie: Client Requests, Amount of chargers, if chargers are dual…
Pictures of Site (Max 3, circle the location of the chargers)
Grand Total | [7 empty] | 131930 | 131930
Instructions
How to use: Pick a Category, then a SKU, using the dropdowns (tip: select the cell and press Alt + ↓ to open a dropdown without clicking the small arrow). Then type the Discount % and Qty in the blue cells. To REMOVE a row: right-click its row number on the left → Delete (rows below shift up automatically). To CLEAR a row in place: select the blue cells in that row and press Delete. To ADD more rows: right-click a row number inside the table → Insert. Fill out CPM INFO Table

## Internal Summary
| Price | Applied Discount | Customer Price | EVOLV platform costs (Calculated Yearly) | Quantity | Final Cost | Total
Equipment Purchase Invoice (Finance) | 237325.005 | 15.1% | 201481.413 | Monthly Network Cloud Services Fees (Per Port) | 14 | 39.99 | 6718.32
Charger Hardware | 131930 | 15% | 112140.5 | # of years for duration of contract | 5
5 Year Service Agreement + Warranty | 62238.48 | 15% | 52902.708 |  |  | Subtotal | 33591.6
EVOLV & Commissioning Subtotal | 33591.6 | 20% | 26873.28
Sales Tax on Chargers | 9564.925 | 0% | 9564.925
Design Invoice (Finance) | 0 | 0% | 0
AutoCad Design Services | 0 | 0% | 0
Electrical Engineering Design | 0 | 0% | 0
Project Management (@$358/hour) | 0 | 0% | 0
Plan Check and Permit Fees | 0 | 0% | 0
Electrical Supply & Construction Management Costs | 33672.9085 | 0% | 33672.9085
Wires, Conduits and Peripherals | 7631.6152 | 0% | 7631.6152
Main Distribution Switchgear | 0 | 0% | 0
Electrical Sub-Panels, Transformers, Breakers | 0 | 0% | 0
Striping, Bollards, Signage | 2928.2 | 0% | 2928.2
Asphalt and Paving | 0 | 0% | 0
Concrete Improvements | 7008.441 | 0% | 7008.441
ADA | 0 | 0% | 0
Dump/ Waste | 3630 | 0% | 3630
Permits | 0 | 0% | 0
Utility | 0 | 0% | 0
Construction Equipment | 12474.6523 | 0% | 12474.6523
Construction PM | 0 | 0% | 0
Materials | 0 | 0% | 0
Sales Tax on equipment | 0 | 0% | 0
Labor | 74250 | 75% | 18562.5
Grand Total |  |  | 345247.9135
Total After Discount |  |  | 253716.8215
How to use: If you need extra costs Insert the extra costs into the Costs Row. The Values will be populated tot eh Cost Export and Financial Worksheet automatically

## 10 Year Projection Comparison
EV CHARGING — 10 -YEAR REVENUE PROJECTION
Rip & Replace New Chargers ¦ Projected performance vs. historical actual (Dec 2022 – Jul 2026)
HISTORICAL OLD ANNUAL PROFIT |  | PROJECTED YEAR 1 (INCL. IDLE FEES) |  | PROJECTED 10-YEAR TOTAL (30% ITC Included) |  | UPLIFT VS. HISTORICAL
16446.7515 |  | 27643.6753 |  | 496993.7012 |  | 68.08%
ANNUAL SUMMARY
| Historical Actual (Old Chargers) | Projected (New Chargers) | Idle Fee Add-On | Projected Total
EV Stalls — Level 2 | 12 | 10 | — | 10
EV Stalls — Level 3 (Fast) | 4 | 4 | — | 4
Net Profit / Month — Level 2 | 323.5025 | 474.9561 | 157.02 | 631.9762
Net Profit / Month — Level 3 | 1047.0602 | 1456.7936 | 214.8698 | 1671.6634
Net Profit / Month — Total | 1370.5626 | 1931.7498 | 371.8898 | 2303.6396
Annual Net Profit | 16446.7515 | 23180.9974 | 4462.6779 | 27643.6753
Uplift vs. Historical | — | 40.95% | — | 68.08%
10-YEAR PROJECTION DETAIL
Year | Historical Baseline | New Chargers | Idle Fees | Total per Year | Running Total (YTD)
1 | 16446.7515 | 23180.9974 | 4462.6779 | 27643.6753 | 27643.6753 | IDLE TIME — PLUGGED, NOT CHARGING
2 | 16446.7515 | 26078.6221 | 5020.5126 | 31099.1347 | 58742.8099 | 4135
3 | 16446.7515 | 29338.4498 | 5648.0767 | 34986.5265 | 93729.3365
4 | 16446.7515 | 33005.756 | 6354.0863 | 39359.8423 | 133089.1788 | ≈ 26% of all plugged-in time
5 | 16446.7515 | 37131.4755 | 7148.3471 | 44279.8226 | 177369.0014
6 | 16446.7515 | 41772.91 | 8041.8905 | 49814.8004 | 227183.8018 | OUT OF SERVICE — HARDWARE
7 | 16446.7515 | 46994.5237 | 9047.1268 | 56041.6505 | 283225.4523 | 51791.9844
8 | 16446.7515 | 52868.8392 | 10178.0176 | 63046.8568 | 346272.3091
9 | 16446.7515 | 59477.4441 | 11450.2698 | 70927.7139 | 417200.023 | Avg 3.2 of 16 stalls out of service
10 | 16446.7515 | 66912.1246 | 12881.5536 | 79793.6781 | 496993.7012 | DEFINITION — broken hardware only: a charger silent for 30+ days while other chargers on site were still serving cars (>=20% of those days). Time when a charger worked but no driver arrived is counted as Unused, not out of service.
10-Year Total | 164467.515 | 416761.1423 | 80232.5588 | 496993.7012 | 496993.7012 | Old chargers — Dec 2022 – Jul 2026 (44 months)
NOTES & KEY ASSUMPTIONS
1. Historical actual: charger utilization report, Dec 2022 – Jul 2026 (44 months), annualized. Old fleet: 6 Level 2 + 4 Level 3.
2. Projection: new fleet (10 Level 2 + 4 Level 3), uptime-adjusted occupancy, electricity $0.26/kWh; years 2–10 grow 12.5%/yr (per Cashflow tab). | [5 empty] | Stat card data — stall-hours, old chargers (est.)
3. Idle fees: Level 2 — 60-min grace, $0.20/min; Level 3 — 30-min grace, $0.40/min. | [5 empty] | Charging | 11956.5992
4. Pricing: Level 2 $0.65/kWh projected (vs $0.65 historical); Level 3 held at $0.70/kWh. | [5 empty] | Idle | 4135
5. All figures are linked to the 'Updated Chargers Revenue Calcul' tab and update automatically. | [5 empty] | Out of service (broken hardware) | 51791.9844
6. Measured idle (old chargers): 4,135 stall-hours occupied without charging; ≈$13,399 in idle fees went uncollected over the 44-month window. | [5 empty] | Unused (working, no driver arrived) | 189204.4164
7. Out of service = BROKEN HARDWARE, measured per charger: a silent stretch counts only if it exceeds both 30 days and 6 x that charger's own median gap between sessions (L2 median 1d -> threshold 30d; L3 median 0d -> threshold 30d), AND other chargers on site served cars on at least 20% of those days. This separates broken units from units nobody used: the four stat cards (Charging, Idle, Out of service, Unused) partition every stall-hour in the window exactly once, so lack of demand lands in Unused.
[6 empty] | Annual growth (yrs 2–10) | 12.5%

## Financial Worksheet
|  | 10 Year Cashflow |  |  | 10 Year Charger Revenue
Projected Profits Over 10 Years
Total Costs Upfront | -253716.8215 | Year | Annual Cashflow | Cumulative | Year | Annual Cashflow | Cumulative
Carbon Credits | 178549.5262 | 0 | -253716.8215 | -253716.8215 | 0 | -253716.8215 | -253716.8215 | CC Rate ($/kW/yr) | 71.6667
EVSE Revenues | 416761.1423 | 1 | 58890.9026 | -194825.9189 | 1 | 23180.9974 | -230535.8241 | L3 Rating (kW) | 60 | 120 | 160 | 180 | 240 | 360
Net Revenues | 341593.847 | 2 | 61788.5273 | -133037.3916 | 2 | 26078.6221 | -204457.2021 | Qty | 4 | 0 | 0 | 0 | 0 | 0
|  | 3 | 65048.355 | -67989.0366 | 3 | 29338.4498 | -175118.7523 | Multiplier ($/yr) | 4300.002 | 8600.004 | 11466.672 | 12900.006 | 17200.008 | 25800.012
|  | 4 | 68715.6613 | 726.6247 | 4 | 33005.756 | -142112.9963 | L2 | Usage | Multiplier
|  | 5 | 72841.3808 | 73568.0054 | 5 | 37131.4755 | -104981.5207 | Consumption Credits/m | 1212.8604 | 0.0045 | 5.4579
|  | 6 | 77482.8152 | 151050.8207 | 6 | 41772.91 | -63208.6107
|  | 7 | 82704.429 | 233755.2496 | 7 | 46994.5237 | -16214.087
|  | 8 | 88578.7444 | 322333.994 | 8 | 52868.8392 | 36654.7522
|  | 9 | 95187.3493 | 417521.3433 | 9 | 59477.4441 | 96132.1962
| Customer Total | 10 | 102622.0298 | 520143.3732 | 10 | 66912.1246 | 163044.3208
Equipment Purchase Invoice | 201481.413
Charger Hardware | 112140.5
Parts Warranty | 52902.708
EVOLV & Commissioning Subtotal | 26873.28
5 Year Service Agreement | #ERROR!
Sales Tax on Chargers | 9564.925
Design Invoice | 0
AutoCad Design Services | 0
Electrical Engineering Design | 0
Project Management (@$358/hour) | 0
Plan Check and Permit Fees | 0
Electrical Supply & Construction Management Costs | 33672.9085
Wires, Conduits and Peripherals | 7631.6152
Main Distribution Switchgear | 0
Electrical Sub-Panels, Transformers, Breakers | 0
Striping, Bollards, Signage | 2928.2
Asphalt and Paving | 0
Concrete Improvements | 7008.441
ADA | 0
Dump/ Waste | 3630
Permits | 0
Utility | 0
Construction Equipment | 12474.6523
Construction PM | 0
Materials | 0
Sales Tax on equipment | 0
Labor | 18562.5
Grand Total | 345247.9135
Remaining Balance after Discount | 253716.8215

## Proposal
ZERO IMPACT SOLUTIONS COSTS BREAKDOWN |  |  |  | Charger cost factor (1.05 contingency x 1.10 markup): | 1
Charger (2-year Parts Only Warranty included) | Quantity | Final Cost | Total
60kW DCFC - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft) ; 4G Modem | 4 | 28500 | 114000
32A Single Commercial L2 Charger | 10 | 1402.5 | 14025
Dual Retractor (Post) | 4 | 632.5 | 2530
Single Retractor post | 2 | 412.5 | 825
Side By Side Bracket | 4 | 137.5 | 550
Total Cost of EVSE |  |  | 112140.5
Electrical Supply & Construction Management Costs | Quantity | Final Cost | Total after Discount
Wires, Conduits and Peripherals | 1 | 7631.6152 | 7631.6152
Main Distribution Switchgear | 0 | 0 | 0
Electrical Sub-Panels, Transformers, Breakers | 0 | 0 | 0
Striping, Bollards, Signage | 1 | 2928.2 | 2928.2
Permits | 0 | 0 | 0
Designs and Engineering | 0 | 0 | 0
Construction Equipment | 1 | 12474.6523 | 12474.6523
Material Costs | 0 | 0 | 0
Miscellaneous | 1 | 10638.441 | 10638.441
Total Cost of Supply & Management |  |  | 33672.9085
EVOLV platform costs (Calculated Yearly) | Quantity | Final Cost | Total
Monthly Network Cloud Services Fees (Per Port) | 14 | 39.99 | 6718.32
# of years for duration of contract | 5 |  | 33591.6
|  | Evolv Total Cost | 26873.28
|  | Subtotal | 172686.6885
|  | Tax | 9564.925
|  | Rebate | 0
|  | Total | 182251.6135
ZERO IMPACT BUILDERS COSTS BREAKDOWN
Labor Days | 30 | 2772.5 | 83175
Total Labor Costs |  |  | 18562.5
Servicing Fees (Yearly calculation) | Quantity | Final Cost | Total
In warranty Service Plan (Per year < 2 years) | 2 | 8367.84 | 16735.68
Warranty + Service Plan > 2 years | 3 | 15167.6 | 45502.8
Length Of Contract | 5 |  | 62238.48
Total |  |  | 71465.208
Total Charger ¦ EVSE ¦ Evolv |  |  | 182251.6135
Total ZIB Costs |  |  | 71465.208
Grand Total |  |  | 253716.8215

## DLL Schedule
Loan Amortization Schedule
| Enter values | [5 empty] | Loan summary
|  | Loan amount | 253716.8215 |  |  |  |  | Scheduled payment | 5191.9485
|  | Annual interest rate | 8.39% |  |  |  |  | Scheduled number of payments | 60
|  | Loan period in years | 5 |  |  |  |  | Actual number of payments | 481
|  | Number of payments per year | 12 |  |  |  |  | Total early payments | 423850.95
|  | Start date of loan | 2026-08-01 |  |  |  |  | Total interest | 10904157.52
|  | Optional extra payments | 0
Lender name:
Pmt. No. | Payment Date | Beginning Balance | Scheduled Payment | Extra Payment | Total Payment | Principal | Interest | Ending Balance | Cumulative Interest
2026-09-01 | 345247.91 | 7065 | $ - | 7065 | 4651.14 | 2413.86 | 340596.77 | 2413.86 | 340596.77
2026-10-01 | 340596.77 | 7065 | $ - | 7065 | 4683.66 | 2381.34 | 335913.11 | 4795.2 | 676509.88
2026-11-01 | 335913.11 | 7065 | $ - | 7065 | 4716.41 | 2348.59 | 331196.7 | 7143.79 | 1007706.58
2026-12-01 | 331196.7 | 7065 | $ - | 7065 | 4749.38 | 2315.62 | 326447.32 | 9459.41 | 1334153.9
2027-01-01 | 326447.32 | 7065 | $ - | 7065 | 4782.59 | 2282.41 | 321664.73 | 11741.82 | 1655818.63
2027-02-01 | 321664.73 | 7065 | $ - | 7065 | 4816.03 | 2248.97 | 316848.7 | 13990.79 | 1972667.33
2027-03-01 | 316848.7 | 7065 | $ - | 7065 | 4849.7 | 2215.3 | 311999 | 16206.09 | 2284666.33
2027-04-01 | 311999 | 7065 | $ - | 7065 | 4883.61 | 2181.39 | 307115.4 | 18387.48 | 2591781.73
2027-05-01 | 307115.4 | 7065 | $ - | 7065 | 4917.75 | 2147.25 | 302197.64 | 20534.73 | 2893979.37
2027-06-01 | 302197.64 | 7065 | $ - | 7065 | 4952.13 | 2112.87 | 297245.51 | 22647.6 | 3191224.88
2027-07-01 | 297245.51 | 7065 | $ - | 7065 | 4986.76 | 2078.24 | 292258.75 | 24725.84 | 3483483.63
2027-08-01 | 292258.75 | 7065 | $ - | 7065 | 5021.62 | 2043.38 | 287237.13 | 26769.21 | 3770720.76
2027-09-01 | 287237.13 | 7065 | $ - | 7065 | 5056.73 | 2008.27 | 282180.39 | 28777.48 | 4052901.15
2027-10-01 | 282180.39 | 7065 | $ - | 7065 | 5092.09 | 1972.91 | 277088.3 | 30750.39 | 4329989.45
2027-11-01 | 277088.3 | 7065 | $ - | 7065 | 5127.69 | 1937.31 | 271960.61 | 32687.7 | 4601950.06
2027-12-01 | 271960.61 | 7065 | $ - | 7065 | 5163.54 | 1901.46 | 266797.07 | 34589.16 | 4868747.13
2028-01-01 | 266797.07 | 7065 | $ - | 7065 | 5199.64 | 1865.36 | 261597.43 | 36454.52 | 5130344.56
2028-02-01 | 261597.43 | 7065 | $ - | 7065 | 5236 | 1829 | 256361.43 | 38283.52 | 5386705.99
2028-03-01 | 256361.43 | 7065 | $ - | 7065 | 5272.61 | 1792.39 | 251088.82 | 40075.91 | 5637794.81
2028-04-01 | 251088.82 | 7065 | $ - | 7065 | 5309.47 | 1755.53 | 245779.35 | 41831.44 | 5883574.16
2028-05-01 | 245779.35 | 7065 | $ - | 7065 | 5346.59 | 1718.41 | 240432.76 | 43549.85 | 6124006.92
2028-06-01 | 240432.76 | 7065 | $ - | 7065 | 5383.97 | 1681.03 | 235048.78 | 45230.87 | 6359055.7
2028-07-01 | 235048.78 | 7065 | $ - | 7065 | 5421.62 | 1643.38 | 229627.17 | 46874.26 | 6588682.87
2028-08-01 | 229627.17 | 7065 | $ - | 7065 | 5459.52 | 1605.48 | 224167.64 | 48479.73 | 6812850.51
2028-09-01 | 224167.64 | 7065 | $ - | 7065 | 5497.69 | 1567.31 | 218669.95 | 50047.04 | 7031520.46
2028-10-01 | 218669.95 | 7065 | $ - | 7065 | 5536.13 | 1528.87 | 213133.82 | 51575.91 | 7244654.28
2028-11-01 | 213133.82 | 7065 | $ - | 7065 | 5574.84 | 1490.16 | 207558.98 | 53066.07 | 7452213.26
2028-12-01 | 207558.98 | 7065 | $ - | 7065 | 5613.82 | 1451.18 | 201945.16 | 54517.25 | 7654158.42
2029-01-01 | 201945.16 | 7065 | $ - | 7065 | 5653.07 | 1411.93 | 196292.09 | 55929.18 | 7850450.51
2029-02-01 | 196292.09 | 7065 | $ - | 7065 | 5692.59 | 1372.41 | 190599.5 | 57301.59 | 8041050.01
2029-03-01 | 190599.5 | 7065 | $ - | 7065 | 5732.39 | 1332.61 | 184867.11 | 58634.2 | 8225917.12
2029-04-01 | 184867.11 | 7065 | $ - | 7065 | 5772.47 | 1292.53 | 179094.64 | 59926.73 | 8405011.76
2029-05-01 | 179094.64 | 7065 | $ - | 7065 | 5812.83 | 1252.17 | 173281.81 | 61178.9 | 8578293.57
2029-06-01 | 173281.81 | 7065 | $ - | 7065 | 5853.47 | 1211.53 | 167428.34 | 62390.43 | 8745721.91
2029-07-01 | 167428.34 | 7065 | $ - | 7065 | 5894.4 | 1170.6 | 161533.94 | 63561.03 | 8907255.85
2029-08-01 | 161533.94 | 7065 | $ - | 7065 | 5935.61 | 1129.39 | 155598.33 | 64690.42 | 9062854.18
2029-09-01 | 155598.33 | 7065 | $ - | 7065 | 5977.11 | 1087.89 | 149621.22 | 65778.31 | 9212475.4
2029-10-01 | 149621.22 | 7065 | $ - | 7065 | 6018.9 | 1046.1 | 143602.32 | 66824.42 | 9356077.72
2029-11-01 | 143602.32 | 7065 | $ - | 7065 | 6060.98 | 1004.02 | 137541.34 | 67828.44 | 9493619.06
2029-12-01 | 137541.34 | 7065 | $ - | 7065 | 6103.36 | 961.64 | 131437.99 | 68790.08 | 9625057.05
2030-01-01 | 131437.99 | 7065 | $ - | 7065 | 6146.03 | 918.97 | 125291.96 | 69709.05 | 9750349.01
2030-02-01 | 125291.96 | 7065 | $ - | 7065 | 6189 | 876 | 119102.96 | 70585.05 | 9869451.97
2030-03-01 | 119102.96 | 7065 | $ - | 7065 | 6232.27 | 832.73 | 112870.69 | 71417.78 | 9982322.66
2030-04-01 | 112870.69 | 7065 | $ - | 7065 | 6275.85 | 789.15 | 106594.84 | 72206.93 | 10088917.5
2030-05-01 | 106594.84 | 7065 | $ - | 7065 | 6319.72 | 745.28 | 100275.12 | 72952.21 | 10189192.62
2030-06-01 | 100275.12 | 7065 | $ - | 7065 | 6363.91 | 701.09 | 93911.21 | 73653.3 | 10283103.83
2030-07-01 | 93911.21 | 7065 | $ - | 7065 | 6408.4 | 656.6 | 87502.8 | 74309.89 | 10370606.63
2030-08-01 | 87502.8 | 7065 | $ - | 7065 | 6453.21 | 611.79 | 81049.59 | 74921.68 | 10451656.22
2030-09-01 | 81049.59 | 7065 | $ - | 7065 | 6498.33 | 566.67 | 74551.26 | 75488.35 | 10526207.48
2030-10-01 | 74551.26 | 7065 | $ - | 7065 | 6543.76 | 521.24 | 68007.5 | 76009.59 | 10594214.98
2030-11-01 | 68007.5 | 7065 | $ - | 7065 | 6589.51 | 475.49 | 61417.99 | 76485.08 | 10655632.97
2030-12-01 | 61417.99 | 7065 | $ - | 7065 | 6635.59 | 429.41 | 54782.4 | 76914.49 | 10710415.37
2031-01-01 | 54782.4 | 7065 | $ - | 7065 | 6681.98 | 383.02 | 48100.42 | 77297.51 | 10758515.79
2031-02-01 | 48100.42 | 7065 | $ - | 7065 | 6728.7 | 336.3 | 41371.72 | 77633.81 | 10799887.51
2031-03-01 | 41371.72 | 7065 | $ - | 7065 | 6775.74 | 289.26 | 34595.98 | 77923.07 | 10834483.49
2031-04-01 | 34595.98 | 7065 | $ - | 7065 | 6823.12 | 241.88 | 27772.86 | 78164.96 | 10862256.35
2031-05-01 | 27772.86 | 7065 | $ - | 7065 | 6870.82 | 194.18 | 20902.04 | 78359.13 | 10883158.39
2031-06-01 | 20902.04 | 7065 | $ - | 7065 | 6918.86 | 146.14 | 13983.18 | 78505.27 | 10897141.57
2031-07-01 | 13983.18 | 7065 | $ - | 7065 | 6967.23 | 97.77 | 7015.95 | 78603.04 | 10904157.52
2031-08-01 | 7015.95 | 7065 | $ - | 7015.95 | 6966.89 | 49.05 | $ - | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52
[8 empty] | 78652.09 | 10904157.52

## Cashflow
| 311516.9075 | 178549.5262 | 177369.0014
| Loan Payment | Carbon Credits | EVSE Profit | Total
1 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
2 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
3 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
4 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
5 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
6 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
7 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
8 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
9 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
10 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
11 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
12 | 5191.9485 | 2975.8254 | 2303.6396 | 87.5166
13 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
14 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
15 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
16 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
17 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
18 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
19 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
20 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
21 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
22 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
23 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
24 | 5191.9485 | 2975.8254 | 2591.5946 | 375.4715
25 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
26 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
27 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
28 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
29 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
30 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
31 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
32 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
33 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
34 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
35 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
36 | 5191.9485 | 2975.8254 | 2915.5439 | 699.4209
37 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
38 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
39 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
40 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
41 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
42 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
43 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
44 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
45 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
46 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
47 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
48 | 5191.9485 | 2975.8254 | 3279.9869 | 1063.8638
49 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
50 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
51 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
52 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
53 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
54 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
55 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
56 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
57 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
58 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
59 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622
60 | 5191.9485 | 2975.8254 | 3689.9852 | 1473.8622

## Historical Data
Historical Data — Bakersfield Marriott EV Chargers
Source: Marriot Utilization Report.xlsx (charging session detail; monthly revenue and kWh aggregated by EVSE type)
Month | Level 2 Revenue ($) | Level 3 Revenue ($) | Total Revenue ($) | Level 2 kWh | Level 3 kWh | Total kWh | FULL-HISTORY ACTUALS (Dec 2022 – Jul 2026) | Level 2 | Level 3
2021-12 | 0 | 0 | 0 | 0.22 | 0 | 0.22 | Months in window | 44
2022-12 | 283.75 | 21.27 | 305.02 | 577.077 | 46.179 | 623.256 | Days in window | 1339
2023-01 | 750.99 | 442.66 | 1193.65 | 1155.914 | 881.52 | 2037.434 | Total revenue | 24044.97 | 74236.23
2023-02 | 616.87 | 488.65 | 1105.52 | 949.3 | 739.337 | 1688.637 | Total kWh | 37174.8346 | 106433.6077
2023-03 | 975.24 | 1051.36 | 2026.6 | 1457.663 | 1576.175 | 3033.838 | Avg revenue per month | 546.4766 | 1687.187
2023-04 | 516.05 | 1437.24 | 1953.29 | 722.034 | 2059.83 | 2781.864 | Avg kWh per month | 844.8826 | 2418.9456
2023-05 | 733 | 737.37 | 1470.37 | 1041.387 | 1057.126 | 2098.513 | Avg kWh per day | 27.7631 | 79.4874
2023-06 | 649.69 | 1070.38 | 1720.07 | 913.317 | 1528.273 | 2441.59 | Effective retail rate ($/kWh) | 0.64681 | 0.69749
2023-07 | 521.39 | 2006.49 | 2527.88 | 732.133 | 2852.712 | 3584.845 | Avg stalls used per day | 1.465 | 2.041
2023-08 | 466.8 | 1638.49 | 2105.29 | 653.701 | 2333.291 | 2986.992 | Avg charging hours per active stall per day | 4.181 | 1.374
2023-09 | 625.87 | 2030.28 | 2656.15 | 884.558 | 2890.516 | 3775.074 | Avg delivered power while charging (kW) | 4.5326 | 28.3445
2023-10 | 455.6 | 3482.08 | 3937.68 | 640.688 | 4977.866 | 5618.554 | Note: actual site has 6 Level 2 and 4 Level 3 station IDs in the report; the calculator models 10 L2 / 4 L3 stalls.
2023-11 | 343.26 | 3450.89 | 3794.15 | 481.1709 | 4920.484 | 5401.6549 | Total sessions | 2852 | 6893
2023-12 | 409.84 | 1834.47 | 2244.31 | 573.6441 | 2619.308 | 3192.9521 | Sessions per day | 2.1299 | 5.1479
2024-01 | 528.06 | 1128.87 | 1656.93 | 738.3776 | 1598.605 | 2336.9826 | Avg kWh per session | 13.0347 | 15.4408
2024-02 | 223.99 | 1619.57 | 1843.56 | 312.3952 | 2313.439 | 2625.8342 | Median kWh per session | 10.52 | 7.31
2024-03 | 324.93 | 1254.12 | 1579.05 | 454.4315 | 1795.227 | 2249.6585 | Sessions delivering <1 kWh (failed/aborted) | 31.5% | 42.9%
2024-04 | 295.9 | 1726.83 | 2022.73 | 410.5046 | 2471.641 | 2882.1456 | Avg charging time per session (min) | 172.5441 | 32.6854
2024-05 | 300.16 | 1171.63 | 1471.79 | 415.5876 | 1663.015 | 2078.6026 | Avg SOC start → end (Level 3) |  | 37% → 73%
2024-06 | 454.62 | 1620.1 | 2074.72 | 635.6282 | 2314.864 | 2950.4922 | All 3 L3 stalls busy at once (share of 7am–7pm) |  | 0.4%
2024-07 | 520.77 | 2540.02 | 3060.79 | 728.0344 | 3629.989 | 4358.0234 | ≥1 L3 stall busy (share of 7am–7pm) |  | 24.6%
2024-08 | 602.75 | 2757.99 | 3360.74 | 831.753 | 3935.155 | 4766.908 | Idle/inactivity fees collected to date |  | 0
2024-09 | 273.09 | 1961.13 | 2234.22 | 376.56 | 2792.432 | 3168.992 | Est. unproductive station-days (out of service) | 22.3% | 13.7%
2024-10 | 363.03 | 2763.87 | 3126.9 | 502.0478 | 3945.262 | 4447.3098 | Stations effectively dead for extended periods | 2 of 6 (400+ days each) | none over 446 days
2024-11 | 376.6 | 2529.55 | 2906.15 | 526.1693 | 3598.5915 | 4124.7608 | Days with zero sessions site-wide (of 1,339) | 351 | 262
2024-12 | 356.2 | 2814.6 | 3170.8 | 490.3001 | 4001.6422 | 4491.9423 | Apr–Jun 2026 L3 outage — lost revenue vs run-rate |  | 480.74
2025-01 | 450.55 | 2360.45 | 2811 | 625.7474 | 3389.7489 | 4015.4963 | Avg stalls in service per day (hardware alive) | 9.3264 | 3.4503
2025-02 | 894.16 | 2142.6 | 3036.76 | 1236.118 | 3037.5322 | 4273.6502 | Stall occupancy among IN-SERVICE stalls | 15.71% | 59.16%
2025-03 | 548.15 | 2666.8 | 3214.95 | 763.0442 | 3793.7686 | 4556.8128
2025-04 | 406.13 | 2194.14 | 2600.27 | 564.787 | 3126.591 | 3691.378
2025-05 | 605.91 | 2514.91 | 3120.82 | 849.9997 | 3587.2618 | 4437.2615
2025-06 | 739.04 | 3914.67 | 4653.71 | 1032.3453 | 5619.625 | 6651.9703
2025-07 | 519.23 | 3637.47 | 4156.7 | 717.2301 | 5178.8523 | 5896.0824
2025-08 | 873.94 | 2371.44 | 3245.38 | 1213.561 | 3369.7725 | 4583.3335
2025-09 | 401.52 | 1614.03 | 2015.55 | 557.9737 | 2305.4244 | 2863.3981
2025-10 | 510.87 | 1856.31 | 2367.18 | 704.9238 | 2657.8607 | 3362.7845
2025-11 | 578.05 | 2079.63 | 2657.68 | 802.2469 | 3003.8678 | 3806.1147
2025-12 | 634.51 | 1452 | 2086.51 | 878.6316 | 2067.4368 | 2946.0684
2026-01 | 835.23 | 933.58 | 1768.81 | 1367.0587 | 1372.839 | 2739.8977
2026-02 | 539.11 | 437.55 | 976.66 | 1178.711 | 691.431 | 1870.142
2026-03 | 843.93 | 480.74 | 1324.67 | 1402.5602 | 689.116 | 2091.6762
2026-04 | 689.2 | 0 | 689.2 | 1421.8285 | 0 | 1421.8285
2026-05 | 941.72 | 0 | 941.72 | 1574.7131 | 0 | 1574.7131
2026-06 | 426.67 | 0 | 426.67 | 1233.5202 | 0 | 1233.5202
2026-07 | 638.6 | 0 | 638.6 | 1845.4579 | 0 | 1845.4579
2026-08 | 108.65 | 0 | 108.65 | 739.8458 | 0 | 739.8458
Total | 24153.62 | 74236.23 | 98389.85 | 37914.9004 | 106433.6077 | 144348.5081

## CTX Price Book (hidden)
CTX Price Book (lookup data — Our Cost from Purchase Cost - MSRP pricing (Paul) 6/01/2026)
Category | SKU | Description | Our Cost | MSRP |  | Category List | ← Pick a Category first
_L2 | CTX-R40-240-1 | 40A Single Home Charger | 273.8 | 605 |  | _L2
| CTX-R48-240-1 | 48A Single Home Charger | 235 | 605 |  | _kW30
| CTX-C32-240-1 | 32A Single Commercial L2 Charger | 510.3 | 1402.5 |  | _kW60
| CTX-C48-240-1 | 48A Single Commercial L2 Charger (18' Cable with Modem) | 510.3 | 1402.5 |  | _kW120
| CTX-C80-240-1 | 80A Single Commercial L2 Charger (18' Cable with Modem) | 640 | 1650 |  | _kW160
| CTX-C40-240-2 | 40A Dual Commercial L2 Charger (18' Cable with Modem) | 760.78 | 1952.5 |  | _kW180
| CTX-C80-240-2 | 80A Dual Commercial L2 Charger (18' Cable with Modem) | 828.95 | 2194.5 |  | _kW240
| CTX-C80-240-1-ISO | 80A Single Commercial L2 Charger (18' Cable with Modem) | 595.35 | 2255 |  | _kW360
| CTX-C40-240-2-ISO | 40A Dual Commercial L2 Charger (18' Cable with Modem) | 828.12 | 2530 |  | _Distributed_System
| CTX-C80-240-2-ISO | 80A Dual Commercial L2 Charger (18' Cable with Modem) | 1043.95 | 2805 |  | _Buy_America
_kW30 | TP5-30-480-1 | Gen2 30kW DCFC Wall Mount - 100 Amps / 1000VDC with CCS1 (~16ft) | 3600 | 13750 |  | _V2G
| TP5-30-480-3 | Gen 2Gen 30kW DCFC Wall Mount - 200 Amps / 1000VDC with NACS (~16ft) | 3600 | 13750 |  | _L2_Accessories
_kW60 | TP5-60-480-1 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft) ; 4G Modem | 8100 | 28500 |  | _CTX_Warranty
| TP5-60-480-2 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft) ; 4G Modem | 8100 | 28500 |  | _CTX_Service_Plans
| TP5-60-480-3 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & NACS(~16ft) ; 4G Modem | 8100 | 28500
| TP5-60-480-4 | 60kW DCFC - 200 Amps / 1000VDC with NACS & NACS(~16ft) ; 4G Modem | 8100 | 28500
| CTX-AiO-60-2-200 | Gen 2 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft) ; 4G Modem | 14145 | 31350
| CTX-AiO-60-3-200 | Gen 2 60kW DCFC - 200 Amps / 1000VDC with CCS1 & NACS(~16ft) ; 4G Modem | 14145 | 31350
| CTX-AiO-60-4-200 | Gen 2 60kW DCFC - 200 Amps / 1000VDC with NACS & NACS(~16ft) ; 4G Modem | 14145 | 31350
_kW120 | TP5-120-480-1 | 120kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft) ; Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| TP5-120-480-2 | 120kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| TP5-120-480-2-300 | 120kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| TP5-120-480-3-300 | 120kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS (~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| CTX-AiO-120-2-350 | Gen3 120kW CCS1 350A + CCS1 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-3-350 | Gen3 120kW CCS1 350A + NACS 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-4-350 | Gen3 120kW NACS 350A + NACS 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-5-350 | Gen3 120kW Single CCS1 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-6-350 | Gen3 120kW Single NACS 350A ; Cable Management + CC | 15950 | 59400
_kW160 | TP5-160-480-1 | 160kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft); It can dispense 200A on single connector and can charge 2 cars simultaneously with 80kW each or 100kW CCS1 and 60kW CHAdeMO ; 4G Modem |  | 57000
| TP5-160-480-2 | 160kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft); It can dispense 200A on single connector and can charge 2 cars simultaneously with 80kW each ; 4G Modem |  | 57000
| TP5-160-480-3 | 160kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & NACS (~16ft); It can dispense 200A on single connector and can charge 2 cars simultaneously with 80kW each ; 4G Modem |  | 57000
| TP5-160-480-2-300 | 160kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 80kW each ; 4G Modem |  | 57000
| HPC-160-480-1 | 160kW HPC All In One Charger - 400 Amps / 1000VDC with Liquid Cooled Connector for CCS1(~14ft) & CHAdeMO(~16ft) ; It can deliver 400A on the CCS coonnector. Can charge 2 cars simultaneously with 80kW each or 100kW CCS1 and 60kW CHAdeMO ; 4G Modem |  | 68000
| HPC-160-480-2 | 160kW HPC All In One Charger - 400 Amps / 1000VDC with Liquid Cooled Connector for CCS1(~14ft) & CHAdeMO(~16ft) ; It can deliver 400A on the CCS coonnector. Also can charge 2 cars with 200Amps each; 4G Modem |  | 70000
| CTX-AiO-160-2-350 | Gen3 160kW CCS1 350A + CCS1 350A ; Cable Management + CC | 17595 | 68200
| CTX-AiO-160-3-350 | Gen3 160kW CCS1 350A + NACS 350A ; Cable Management + CC | 17595 | 68200
| CTX-AiO-160-4-350 | Gen3 160kW NACS 350A + NACS 350A ; Cable Management + CC | 17595 | 68200
| CTX-AiO-160-5-350 | Gen3 160kW Single CCS1 350A ; Cable Management + CC |  | 68200
| CTX-AiO-160-6-350 | Gen3 160kW Single NACS 350A ; Cable Management + CC |  | 68200
_kW180 | TP5-180-480-1 | 180kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft); Can charge 2 cars simultaneously with 90kW each or 120kW on CCS1 and 60kW on CHAdeMO; 4G Modem | 19500 | 62000
| TP5-180-480-2 | 180kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem | 19500 | 62000
| TP5-180-480-2-300 | 180kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem | 19500 | 62000
| TP5-180-480-3-300 | 180kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS (~16ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem | 19500 | 62000
| TP5-180-480-2-300-CL20 | 180kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~20ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem |  | 62000
_kW240 | TP5-240-480-2-300 | 240kW DCFC All In One Charger - 350A Cable / 1000VDC Dual CCS1 ; Can charge 2 cars simultaneously with 120kW each ; 4G Modem | 25000 | 80000
| TP5-240-480-2-400 | 240kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS; Can charge 2 cars simultaneously with 120kW each ; 4G Modem | 25000 | 80000
| HPC-240-480-1 | 240kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1 & CHAdeMO(~14ft) ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem |  | 98000
| HPC-240-480-2 | 240kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS coonnector and 250A on each connector if used simultaneously ; 4G Modem |  | 98000
| CTX-AiO-240-2-300 | Gen3 240kW CCS1 350A + CCS1 350A; Cable Management + CC | 24725 | 88000
| CTX-AiO-240-3-300 | Gen3 240kW CCS1 350A + NACS 350A; Cable Management + CC | 24725 | 88000
| CTX-AiO-240-4-300 | Gen3 240kW NACS 350A + NACS 350A; Cable Management + CC | 24725 | 88000
| CTX-AiO-240-5-300 | Gen3 240kW Single CCS1 350A; Cable Management + CC | 24725 | 88000
_kW360 | TP5-360-480-1-300 | 360kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & CHAdeMO ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| TP5-360-480-2-300 | 360kW DCFC All In One Charger - 350A Cable / 1000VDC Dual CCS1 ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| TP5-360-480-3-300 | 360kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| TP5-360-480-4-300 | 360kW DCFC All In One Charger - 1000VDC, Cables: 400A NACS / 400A NACS ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| HPC-360-480-1 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1 & CHAdeMO(~14ft) ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem | 65520 | 110000
| HPC-360-480-2 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 500A on one CCS coonnector and 400A on each connector if used simultaneously ; 4G Modem | 65520 | 110000
| HPC-360-480-3 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1 & NACS ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem | 65520 | 110000
| HPC-360-480-4 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for NACS / NACS ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem | 65520 | 110000
_Distributed_System | CTX-DSPB-360 | 360kW Tower | 28750 | 81400
| CTX-DSPB-480 | 480kW Tower | 31000 | 90200
| CTX-DSPB-1280 | 1,280kW Tower | 0 | 225000
| CTX-DST-2-300 | Dispenser 300/300 | 13100 | 35200
| CTX-DST-HPC-2-500/300 | Dispenser 500/300 | 24725 | 49500
_Buy_America | TP5-60-480-2-BAA | Buy America NEVI Compliant, Assembled in CA, USA 60kW DCFC - 140 Amps / 1000VDC with CCS1 & CCS1(~16ft) ; 4G Modem | 17500 | 68200
| TP5-60-480-3-BAA | Buy America NEVI Compliant, Assembled in CA, USA 60kW DCFC - 140 Amps / 1000VDC with CCS1 & NACS ; 4G Modem | 17500 | 68200
| TP5-60-480-4-BAA | Buy America NEVI Compliant, Assembled in CA, USA 60kW DCFC - 140 Amps / 1000VDC with NACS & NACS ; 4G Modem | 0 | 68200
| TP5-120-480-2-300-BAA | Buy America NEVI Compliant, Assembled in CA, USA 120kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 14480 | 75900
| TP5-120-480-3-300-BAA | Buy America NEVI Compliant, Assembled in CA, USA 120kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & NACS; Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 14480 | 75900
| TP5-120-480-4-300-BAA | Buy America NEVI Compliant, Assembled in CA, USA 120kW DCFC All In One Charger - 350A Cable / 1000VDC with NACS & NACS(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 14480 | 75900
| TP5-180-480-2-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Air Cooled 350A Cable (BAA) CCS1 / CCS1 1000VDC Connector for Dual CCS1; Can deliver 350A on one CCS conector. Set to Sequential Mode Only. | 35500 | 82500
| TP5-180-480-3-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Air Cooled 350A Cable (BAA) CCS1 / NACS 1000VDC Connector for Dual CCS1; Can deliver 350A on one CCS conector. Set to Sequential Mode Only. | 35500 | 82500
| TP5-180-480-4-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Air Cooled 350A Cable (BAA) NACS / NACS 1000VDC Connector for Dual CCS1; Can deliver 350A on one CCS conector. Set to Sequential Mode Only. | 35500 | 82500
| HPC-180-480-2-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Liquid Cooled (BAA) Dual CCS1 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS connector. Set to Sequential Mode Only | 43500 | 82500
| HPC-180-480-3-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Liquid Cooled (BAA) CCS1 / NACS 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS connector. Set to Sequential Mode Only | 43500 | 82500
| HPC-180-480-4-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Liquid Cooled (BAA) NACS /NACS 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS connector. Set to Sequential Mode Only | 43500 | 82500
| TP5-360-480-2-BAA | Buy America NEVI Compliant 360kW Air Cooled 350A Cable (BAA) Dual CCS1 / 1000VDC Connector for Dual CCS1 ; Can deliver 350A on one CCS connector and 350A on each connector if used simultaneously ; 4G Modem | 0 | 138600
| TP5-360-480-3-BAA | Buy America NEVI Compliant 360kW Air Cooled 350A Cable (BAA) Dual CCS1 / 1000VDC Connector for CCS1/NACS ; Can deliver 350A on one CCS connector and 350A on each connector if used simultaneously ; 4G Modem | 0 | 138600
| TP5-360-480-4-BAA | Buy America NEVI Compliant 360kW Air Cooled 350A Cable (BAA) Dual CCS1 / 1000VDC Connector for NACS/NACS ; Can deliver 350A on one CCS connector and 350A on each connector if used simultaneously ; 4G Modem | 0 | 138600
| HPC-360-480-2-BAA | Buy America NEVI Compliant 360kW Liquid Cooled (BAA) 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 500A on one CCS connector and 400A on each connector if used simultaneously ; 4G Modem | 0 | 137500
| HPC-360-480-3-BAA | Buy America NEVI Compliant 360kW Liquid Cooled (BAA) 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1/NACS ; Can deliver 500A on one CCS connector and 400A on each connector if used simultaneously ; 4G Modem | 0 | 137500
| HPC-360-480-4-BAA | Buy America NEVI Compliant 360kW Liquid Cooled (BAA) 500 Amps / 1000VDC with Liquid Cooled Connector for NACS/NACS ; Can deliver 500A on one CCS connector and 400A on each connector if used simultaneously ; 4G Modem | 0 | 137500
_V2G | CTX-V2G-20-480-1 | 20kW V2G Charger | 5800 | 16700
| CTX-V2G-30-480-1 | 30kW V2G Charger | 8250 | 23800
| CTX-V2G-40-480-1 | 40kW V2G Charger | 12500 | 35900
| CTX-V2G-60-480-1 | 60kW V2G Charger | 17500 | 50000
_L2_Accessories | CTX-FLUXPED | Single Post (no Retraction) | 142.47 | 412.5
| CTX-FLUXWAL-CMS-1 | Single Retractor (Wall) | 92.71 | 275
| CTX-FLUXPED-CMS-1 | Single Retractor post | 142.15 | 412.5
| CTX-FLUXPED-CMS-2 | Dual Retractor (Post) | 224.6 | 632.5
| CTX-FLUXPED-SBS | Side By Side Bracket | 44.18 | 137.5
_CTX_Warranty | CTX-W-AC-3 | 3 year |  | 884.52
| CTX-W-AC-5 | 5 year |  | 1474.2
| CTX-W-30-3 | 3 year |  | 1436.29
| CTX-W-30-5 | 5 year |  | 4308.88
| CTX-W-60-3 | 3 year |  | 2888.52
| CTX-W-60-5 | 5 year |  | 4814.2
| CTX-W-120-3 | 3 year |  | 3590.73
| CTX-W-120-5 | 5 year |  | 5984.55
| CTX-W-160-3 | 3 year |  | 4285.71
| CTX-W-160-5 | 5 year |  | 7142.85
| CTX-W-180-3 | 3 year |  | 3094.74
| CTX-W-180-5 | 5 year |  | 9284.22
| CTX-W-240-3 | 3 year |  | 4514.4
| CTX-W-240-5 | 5 year |  | 13543.2
| CTX-W-360-3 | 3 year |  | 12153.24
| CTX-W-360-5 | 5 year |  | 20255.4
_CTX_Service_Plans | CTX-SW-30-2 | 2 year |  | 2939.11
| CTX-SW-30-3 | 3 year |  | 5255.71
| CTX-SW-30-5 | 5 year |  | 9888.91
| CTX-SW-60-2 | 2 year |  | 2952.72
| CTX-SW-60-3 | 3 year |  | 4429.08
| CTX-SW-60-5 | 5 year |  | 7381.8
| CTX-SW-120-2 | 2 year |  | 3233.52
| CTX-SW-120-3 | 3 year |  | 4850.28
| CTX-SW-120-5 | 5 year |  | 8083.8
| CTX-SW-160-2 | 2 year |  | 3758.4
| CTX-SW-160-3 | 3 year |  | 5637.6
| CTX-SW-160-5 | 5 year |  | 9396
| CTX-SW-180-2 | 2 year |  | 4419.36
| CTX-SW-180-3 | 3 year |  | 8125.92
| CTX-SW-180-5 | 5 year |  | 15539.04
| CTX-SW-240-2 | 2 year |  | 5621
| CTX-SW-240-3 | 3 year |  | 14545.26
| CTX-SW-240-5 | 5 year |  | 32393.77
| CTX-SW-360-2 | 2 year |  | 9797.76
| CTX-SW-360-3 | 3 year |  | 14696.64
| CTX-SW-360-5 | 5 year |  | 24494.4
Charger | Quantity | Yearly Warranty | IW Service | Warranty + Service >Year 2 | OW Service
AC Charger - 7.2 kW UP80J-PMP Single | 10 | 294.84 | 246.24 | 541.08 | 492.48
AC Charger - 2 x 7.2 kW UP160J-PMP Dual | 0 | 294.84 | 246.24 | 541.08 | 492.48
AC Charger - 7.2 kW UP80J-WMP Single | 0 | 294.84 | 246.24 | 541.08 | 492.48
AC Charger - 2 x 7.2 kW UP160J-WMP Dual | 0 | 294.84 | 246.24 | 541.08 | 492.48
DC-60kW CCS1 + CHAdeMO | 4 | 962.84 | 1476.36 | 2439.2 | 2527.2
DC-120kW CCS1 + CHAdeMO | 0 | 1196.91 | 1616.76 | 2813.67 | 2748.492
DC-160kW CCS1 + CHAdeMO | 0 | 1428.57 | 1879.2 | 3307.77 | 3194.64
DC-300kW CCS1 + CCS1 | 0 | 2613.6 | 3024 | 5637.6 | 9468
DC-360kW CCS1 + CCS1 | 0 | 4051.08 | 4898.88 | 8949.96 | 0
Total | 14

## Updated Chargers Revenue Calcul
| HISTORICAL ACTUAL vs PROJECTED — RIP & REPLACE NEW CHARGERS |  |  |  | IDLE FEE ADD-ON
| HISTORICAL ACTUAL (Dec 2022 – Jul 2026) |  | PROJECTED — NEW CHARGERS
| Level 2 | Level 3 (Fast) | Level 2 | Level 3 (Fast) | Idle fee scenario (new chargers) | Level 2 | Level 3 (Fast)
Chargers | 6 | 4 | 10 | 4 | Projected sessions per day | 2.9078 | 5.9686
EV Stall Quantity (Based on # of ports) | 12 | 4 | 10 | 4 | Grace period (min) | 60 | 30
Max hours of operation of parking | 12 | 12 | 12 | 12 | Share of sessions overstaying grace | 30% | 20%
Stall Occupancy % (stalls seeing use each day) | 12.21% | 51.02% | 20% | 59.16% | Avg billable overstay (min/session) | 30 | 15
Number of stalls used per day | 1.465 | 2.041 | 2 | 2.3664 | Idle fee ($/min) | 0.2 | 0.4
Charging Hourly % per stall per day | 34.84% | 11.45% | 34.84% | 11.45% | Idle fee revenue per day | 5.234 | 7.1623
Number of hours usage per stall per day | 4.181 | 1.374 | 4.181 | 1.374 | Per 30 day Cycle | 157.02 | 214.8698
Charger Rating (kW, incl. 0.98 de-rate) | 7.056 | 49 | 7.5264 | 58.8 | Idle fee profit per year | 1884.2404 | 2578.4374
Avg Delivered Power (% of rating) | 64.24% | 57.85% | 64.24% | 57.85% | Measured stall-time lost (old chargers, session data) | Level 2 | Level 3
Retail Revenue per kWHr | 0.64681 | 0.69749 | 0.65 | 0.69749 | Stall-hours tied up by dead sessions (<1 kWh) | 827 | 111
Total Revenue per day | 17.9574 | 55.4415 | 26.2786 | 77.1368 | Stall-hours by cars plugged past ~full (≥95% SOC) | n/a | 1077
Per 30 day Cycle | 538.7223 | 1663.2464 | 788.3593 | 2314.1046 | Plugged time beyond full-power need | 2729 | 1406
Total kWhr dispensed per day | 27.7631 | 79.4874 | 40.4287 | 110.5922 | $0 idle fees ever collected on any session
EV Utility Rate average per kWHr | 0.2584 | 0.2584 | 0.2584 | 0.2584 | Forgone revenue at these settings (hist. volume): | 1399.3757 | 2254.7677
Net Profit per Month | 323.5025 | 1047.0602 | 474.9561 | 1456.7936 | ≈ uncollected over the 35-month window: | 13398.5258
Total Profit per Year | 3882.0294 | 12564.7221 | 5699.4736 | 17481.5238
Est. share of station-time out of service (info only) | 22.3% | 13.7% | 3% | 3%
Check — window revenue: model × 1,339 days vs actual report | 98281.2 | 98281.2 |  |  | MEASURED OVER THE WINDOW (actual, not annualised)
TOTAL NET PROFIT (revenue − electricity @ $0.40/kWh) | Actual (Old Chargers) | Projected (New Chargers) | Uplift | Projected + Idle Fees | Gross revenue collected | 98281.2
Yearly | 16446.7515 | 23180.9974 | 40.95% | 27643.6753 | Electricity at the rate in B18 | -37108.4215
3 Years | 49340.2545 | 69542.9921 |  | 82931.0258 | Net profit, actual | 61172.7785
5 Years | 82233.7575 | 115904.9869 |  | 138218.3763 | Window measured | 44 months (1,339 days)
Gross Revenue (Yearly, before electricity) | 26423.6236 | 37229.5663 | 40.9% | 41692.2441 | The Yearly row on the left is this net as an annual rate (30-day months x 12), so 3 Years is 3x that rate, not this window's total: 44 months is not a whole number of years.
KEY FINDINGS & RECOMMENDATIONS — from 44 months of session data (details on 'Historical Data' sheet)
1. Level 3 drives 76% of revenue ($74,236 of $98,281). The fast-charging units are the highest-impact part of the upgrade.
2. Occupancy vs hours: 2.04 of 4 old L3 stalls were touched daily (51%), but sessions are short (~5.1/day, ~33 min avg) — each stall was busy only ~1.4 of 12 hours. Daily use ≠ constant use.
3. DOWNTIME was the biggest historical problem: 14% of L3 station-time and 22% of L2 station-time was effectively out of service. ZI-CA-0084 sat dead ~1 yr; the Apr–Jun 2026 outage alone cost ≈ $721. 43% of L3 / 31% of L2 sessions delivered <1 kWh (failed starts). New hardware + 4G monitoring targets ≤3% downtime.
4. The old 50 kW units delivered 28.3 kW average while charging (58% of rating). The new fleet at the same ratio would cut a 15 kWh session from ~33 to well under half that time.
5. L2: 6 usable stalls historically, at 28.1% uptime-adjusted occupancy (when hardware worked) vs 21.8% raw. Still an amenity, not a profit centre.
6. L3 uptime-adjusted occupancy is 59.2% of in-service stalls; combined with the higher new charger rating this is where the revenue uplift comes from.
7. Zero idle/inactivity fees have ever been collected — no idle policy is configured. Add an idle fee with a customer-friendly grace period.
8. The projection assumes FLAT demand — raise the projected occupancy % in D8/E8 to model growth and reliability recapture.

## INPUT SHEET CPM
| Level 2 |  |  |  | Level 3 | [5 empty] | 480
Type of Charger per Rating | L2 Single P | L2 Dual P | L2 Single W | L2 Dual W | 30 | 100 | 120 | 180 | 240 | 360 | TOTAL | CONTRACT LENGTH | 5 | Charger | QTY
Quantity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 |  |  |  | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft) ; 4G Modem | 4
KVA per Phase | [7 empty] | 66510.751 | [5 empty] | 32A Single Commercial L2 Charger | 10
Breaker size per port (in A) | [7 empty] | 300 | [5 empty] | Dual Retractor (Post) | 4
Quantity of Ports | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3 |  |  | Single Retractor post | 2
Rating per Port for L2 (in KW) | 7.7 | 19.2 | 7.7 | 19.2 | 60 | 120 | 160 | 180 | 300 | 360 |  |  |  | Side By Side Bracket | 4
CALCULATIONS
Breaker size per port (in A) | 30 | 30 | 30 | 30 | 100 | 200 | 300 | 400 | 500 | 600
Quantity of Charger Breakers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0
Total Load Size | 0 |  |  |  | 0 | [6 empty] | Labor In Days | 30
Total Kva | 0 |  |  |  | 540
Quantity of Sub-panels | 0 |  |  |  | 0 | [6 empty] | Rebate Amount | 0
Sub-panel Size | 600 |  |  |  | 0
Main Breaker Size | 600 |  |  |  | 0
Total Gear Size @208V (AMPERAGE) | 0
Total Gear Size @ 480 V (AMPERAGE) |  |  |  |  | 100
STANDARD RFC
Address: 2150 Marine Ave, Gardena, CA 90249
RSM:
Client Info:
CPM: David V.
Utility:
Scope of Work : Pictures Attatched on INPUT SHEET

## Costs Internal
Electrical Supply & Construction Management Costs | Quantity | Individual Cost | Contingency | Final Cost | Total
Wires, Conduits and Peripherals | 1 | 6937.832 | 10% | 7631.6152 | 7631.6152 | Labor
Main Distribution Switchgear | 1 | 0 | 10% | 0 | 0 | Daily Cost | 2250
Electrical Sub-Panels, Transformers, Breakers | 1 | 0 | 10% | 0 | 0 | Total Business Days | 30
Bollards, Signage | 1 | 2662 | 10% | 2928.2 | 2928.2 | Total Months | 1
Asphalt, Paving, and Striping | 1 | 0 | 10% | 0 | 0 | Total Labor | 67500
Concrete Improvements | 1 | 6371.31 | 10% | 7008.441 | 7008.441
ADA | 1 | 0 | 10% | 0 | 0
Dump/ Waste | 1 | 3300 | 10% | 3630 | 3630
Permits | 1 | 0 | 10% | 0 | 0
Utility | 1 | 0 | 10% | 0 | 0
Construction Equipment | 1 | 11340.593 | 10% | 12474.6523 | 12474.6523
Construction PM | 1
33672.9085
ZERO IMPACT BUILDERS COSTS
Labor | 30 | 2250 | 10% | 2475 | 74250
74250
| Total |  |  |  | 107922.9085

## CPM Calcs
| CHARGER PLACEMENT AND DISTANCE FROM DISTRIBUTION | [14 empty] | DATE |  |  |  | DATE |  |  |  | Rexel 3/20/26
[14 empty] | Cu |  | 2026-03-20 |  | PVC |  | 2026-03-20 |  |  |  | CU WIRE* |  |  |  | AL WIRE* |  |  |  | COND |  | PVC
Material | L2 | Charger | Distance | Wire Length | Wire Size | Conduit Length | Conduit Size | Grounding | Grounding Wire Size | CAT 5 Cable | Conduit Length | Conduit Size |  | Wire | Quantity | Unit Cost | Total | Conduit | Quantity | Unit Cost | Total | Grand Total |  | SIZE | TYPE | PRICE |  | SIZE | TYPE | PRICE |  | SIZE | EMT | SCH-40
| Dual | 1 | 0 | 0 | 8 AWG | 0 | (1") | 0 | 10 AWG | 0 | 0 | (3/4") |  | 10 AWG | 0 | 0.30329 | 0 | (1/2") | 0 | 0.2445 | 0 | 0 |  | 10 SOL | THHN | 289.6 |  | 10 | XHHW | 280 |  | 3/8
|  | 2 | 50 | [10 empty] | 8 AWG | 0 | 0.56613 | 0 | (3/4") | 0 | 0.2912 | 0 | 0 |  | 10 STR | THHN | 303.29 |  | 8 | XHHW |  |  | 1/2 | 46.62 | 24.45
|  | 3 | [11 empty] | 6 AWG | 0 | 0.87104 | 0 | (1") | 0 | 0.4698 | 0 | 0 |  | 8 | THHN | 566.13 |  | 6 | XHHW | 306.36 |  | 3/4 | 79.72 | 29.12
|  | 4 | [11 empty] | 4 AWG | 0 | 1.3329 | 0 | (1 1/4") | 0 | 0.6155 | 0 | 0 |  | 6 | THHN | 871.04 |  | 4 | XHHW | 379.98 |  | 1 | 139.78 | 46.98
|  | 5 | [11 empty] | 2 AWG | 0 | 2.1044 | 0 | (1 1/2") | 0 | 0.7129 | 0 | 0 |  | 4 | THHN | 1332.93 |  | 3 | XHHW | 366.81 |  | 1-1/4 | 226.49 | 61.55
|  | 6 | [11 empty] | 1 AWG | 0 | 2.3983 | 0 | (2") | 0 | 0.8897 | 0 | 0 |  | 3 | THHN | 1681.26 |  | 2 | XHHW | 482.1 |  | 1-1/2 | 276.41 | 71.29
[14 empty] | 1 /0 | 0 | 2.953 | 0 | (2 1/2") | 0 | 1.396 | 0 | 0 |  | 2 | THHN | 2104.4 |  | 1 | XHHW | 667.33 |  | 2 | 315.97 | 88.97
[14 empty] | 2 /0 | 0 | 3.6376 | 0 | (3") | 0 | 1.7033 | 0 | 0 |  | 1 | THHN | 2398.33 |  | 1/0 | XHHW | 750.45 |  | 2-1/2 | 491.85 | 139.6
[14 empty] | 3 /0 | 0 | 4.5658 | 0 | (3 1/2") | 0 | 2.25 | 0 | 0 |  | 1/0 | THHN | 2953.04 |  | 2/0 | XHHW | 887.01 |  | 3 | 622.69 | 170.33
[14 empty] | 4 /0 | 0 | 5.7305 | 0 | (4") | 0 | 2.3164 | 0 | 0 |  | 2/0 | THHN | 3637.58 |  | 3/0 | XHHW | 1099.56 |  | 3-1/2 | 822.39 | 225
[14 empty] | 250 KCMIL | 0 | 6.6402 | 0 | (5") | 0 | 3.3106 | 0 | 0 |  | 3/0 | THHN | 4565.8 |  | 4/0 | XHHW | 1227.8 |  | 4 | 827.46 | 231.64
[14 empty] | 300 KCMIL | 0 | 7.9632 | 0 |  |  |  |  | 0 |  | 4/0 | THHN | 5730.45 |  | 250 | XHHW | 1496.16 |  | 5 |  | 331.06
[14 empty] | 350 KCMIL | 0 | 9.3242 | 0 |  |  |  |  | 0 |  | 250 | THHN | 6640.16 |  | 300 | XHHW | 2061.37 |  | 6
[14 empty] | 400 KCMIL | 0 | 10.6067 | 0 |  |  |  |  | 0 |  | 300 | THHN | 7963.2 |  | 350 | XHHW | 2104.12
[14 empty] | 450 KCMIL | 0 | 11.334 | 0 |  |  |  |  | 0 |  | 350 | THHN | 9324.16 |  | 400 | XHHW | 2457.97
[14 empty] | 500 KCMIL | 0 | 13.3006 | 0 |  |  |  |  | 0 |  | 400 | THHN | 10606.71 |  | 450 | XHHW
[14 empty] | 600 KCMIL | 0 | 16.5738 | 0 |  |  |  |  | 0 |  | 450 | THHN | 11334 |  | 500 | XHHW | 2720.4
[14 empty] | 700 KCMIL | 0 |  | 0 |  |  |  |  | 0 |  | 500 | THHN | 13300.59 |  | 600 | XHHW | 3443.54
[14 empty] | 750 KCMIL | 0 | 25.921 | 0 |  |  |  |  | 0 |  | 600 | THHN | 16573.82 |  | 700 | XHHW | 4809
[14 empty] | 800 KCMIL | 0 |  | 0 |  |  |  |  | 0 |  | 700 | THHN |  |  | 750 | XHHW | 4859
[14 empty] | 900 KCMIL | 0 |  | 0 |  |  |  |  | 0 |  | 750 | THHN | 25921 |  | 800 | XHHW
[14 empty] | 1000 KCMIL | 0 | 34.398 | 0 |  |  |  |  | 0 |  | 800 | THHN |  |  | 900 | XHHW | 7566
[22 empty] | 0 |  | 900 | THHN |  |  | 1000 | XHHW | 6668
| Total |  | 50 | 0 |  | 0 |  | 0 |  | 0 | 0 | [12 empty] | 1000 | THHN | 34398
Manual Entry only
| PANEL PLACEMENT AND DISTANCE FROM DISTRIBUTION | [14 empty] | DATE |  |  |  | DATE
[14 empty] | Al |  | 2026-03-20 |  | PVC |  | 2026-03-20 |  |  |  | 3/20/26 |  | 480V | [5 empty] | 208V
| Size | Panel | Distance | Wire Length | Wire Size | Conduit Length | Conduit Size | Grounding | Grounding Wire Size | Runs |  |  |  | Wire | Quantity | Unit Cost | Total | Conduit | Quantity | Unit Cost | Total | Grand Total |  | SN | Description | Size | Cost | Voltage |  | 20 | Main | 350A | 14500 |  | 208V
| Pole - TX | 0 | 0 | 0 | 600 KCMIL | 0 | (4") | 0 | 4 AWG | 1 | Cu |  |  | 10 AWG |  | 0.28 | 0 | (1/2") |  | 0.2445 | 0 | 0 | [7 empty] | 21 | breakers | 40A | 180 |  | 208V
[14 empty] | 8 AWG |  |  | 0 | (3/4") |  | 0.2912 | 0 | 0 |  | 1 | Main | 400A | 20426.82 | 480V
[14 empty] | 6 AWG |  | 0.30636 | 0 | (1") |  | 0.4698 | 0 | 0 |  | 2 | Main | 800A | 31187 | 480V |  | 22 | main breakers | 400A | 1900 |  | 208V
[14 empty] | 4 AWG |  | 0.37998 | 0 | (1 1/4") |  | 0.6155 | 0 | 0 |  | 3 | Main | 1000A | 36812.5 | 480V |  | 23 | main breakers | 600A | 3400 |  | 208V
[14 empty] | 2 AWG |  | 0.36681 | 0 | (1 1/2") |  | 0.7129 | 0 | 0 |  | 4 | Main | 1200A | 43292.68 | 480V
[14 empty] | 1 AWG |  | 0.4821 | 0 | (2") |  | 0.8897 | 0 | 0 |  | 5 | Main | 1600A | 56750 | 480V |  | 24 | Transformer | 75KVA | 2970 |  | 208V
| Total |  | 0 | 0 |  | 0 |  | 0 | [5 empty] | 1 /0 |  | 0.66733 | 0 | (2 1/2") |  | 1.396 | 0 | 0 |  | 7 | Main | 2000A | 60000 | 480V |  | 25 | Transformer | 112.5KVA | 3250 |  | 208V
[14 empty] | 2 /0 |  | 0.75045 | 0 | (3") |  | 1.7033 | 0 | 0 |  | 8 | Main | 2500 | 58540 | 480V |  | 26 | Transformer | 150KVA | 5298 |  | 208V
| CHARGER PLACEMENT AND DISTANCE FROM DISTRIBUTION | [12 empty] | 3 /0 |  | 0.88701 | 0 | (3 1/2") |  | 2.25 | 0 | 0 |  | 9 | Main | 3000A | 65000 | 480V |  | 27 | Transformer | 175KVA | 6000 |  | 208V
[14 empty] | 4 /0 |  | 1.0996 | 0 | (4") |  | 2.3164 | 0 | 0 |  | 10 | Main | 4000A | 67500 | 480V |  | 28 | Transformer | 225KVA | 7144 |  | 208V
| L3 | Charger | Distance | Wire Length | Wire Size | Conduit Length | Conduit Size | Grounding | Grounding Wire Size | CAT 5 Cable | Conduit Length | Conduit Size |  | 250 KCMIL |  | 1.2278 | 0 | (5") |  | 3.3106 | 0 | 0 |  | 11 | Main | 5000A | 70000 | 480V |  | 29 | Transformer | 300KVA | 10493 |  | 208V
| 60kW | 1 | 0 | 0 | 1 AWG | 0 | (1 1/2") | 0 | 8 AWG | 0 | 0 | (3/4") |  | 300 KCMIL |  | 1.4962 | 0 |  |  |  |  | 0 | [7 empty] | 30 | Transformer | 500KVA | 14500 |  | 208V
| 60kW | 2 | [11 empty] | 350 KCMIL |  | 2.0614 | 0 |  |  |  |  | 0 |  | 12 | main breakers | 110A | 650 | 480V
| 60kW | 3 | [11 empty] | 400 KCMIL |  | 2.1041 | 0 |  |  |  |  | 0 |  | 13 | main breakers | 125A | 700 | 480V |  | 31 | sub-Panel | 150A | 1000 |  | 208V
| 60kW | 4 | 40 | [10 empty] | 450 KCMIL |  | 2.7204 | 0 |  |  |  |  | 0 |  | 14 | main breakers | 250A | 1100 | 480V |  | 32 | sub-Panel | 250A | 1120 |  | 208V
[14 empty] | 500 KCMIL |  | 2.7204 | 0 |  |  |  |  | 0 |  | 15 | main breakers | 3000A | 32500 | 480V |  | 33 | sub-Panel | 400A | 1660 |  | 208V
[14 empty] | 600 KCMIL |  | 2.7204 | 0 |  |  |  |  | 0 |  | 16 | [5 empty] | 34 | sub-Panel | 600A | 5387 | 20ea 40A | 208V
[14 empty] | 700 KCMIL |  | 3.4435 | 0 |  |  |  |  | 0 |  | 17 | breakers | 100A | 580 | 480V |  | 35 | sub-Panel | 800A | 4650 |  | 208V
[14 empty] | 750 KCMIL |  | 4.809 | 0 |  |  |  |  | 0 |  | 18 | breakers | 200A | 900 | 480V
[14 empty] | 800 KCMIL |  | 4.859 | 0 |  |  |  |  | 0 |  | 19 | breakers | 300A | 1450 | 480V |  | 36 | Distribution panel | 1000A | 30000 |  | 208V
[14 empty] | 900 KCMIL |  |  | 0 |  |  |  |  | 0 |  | 20 | breakers | 500A | 3100 | 480V
[14 empty] | 1000 KCMIL |  | 7.566 | 0 |  |  |  |  | 0 |  | 21 | breakers | 600A | 3700 | 480V |  | 37 | Meter socket | 600A | 1786 |  | 208V
1
| Total |  | 40 | 0 |  | 0 |  | 0 |  | 0 | 0 |  |  | ELECTRICAL GEAR
PERIPHERALS
[15 empty] | Main MSA | Subpanels | Main Breakers | Disconnects | Transfromers | Breakers | Breakers | D. Panels | Meter Socket
| Type | Nuts | Washers | Screws & Bolts | Elbow | Sweeps | GROUND ROD | Uni Strut | Power Strut | Threaded rod | Hole strap | Drop-in Anchors |  | QTY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| QTY | 400 | 400 | 1 | 10 | 0 | 4 | 0 | 0 | 0 | 0 | 0 |  | Unit Cost | 36813 | 5387 | 1200 | 1700 | 5298 | 800 | 60 | 30000 | 2055.31
| Unit Cost | 0.109 | 0.099 | 182.73 | 6.929 | 75 | 34.87 | 55 | 5.6 | 1.75 | 0.34 | 1.0455 |  | Size | 100 | 600 | 300 | 300 | 150 | 300 | 40 | 1000 | 300A
| Total | 43.6 | 39.6 | 182.73 | 69.29 | 0 | 139.48 | 0 | 0 | 0 | 0 | 0 |  | Voltage | 480 | 208 | 208 | 208 | 208 | 480 | 208 | 208 | 208
| Type | PVC Cement | PVC Bushing | PVC Bushing | PVC Coupling | GPR Scan | Ground Rod Clamp | Combo Lock | Tape/Marking Supplies | Data Box | CAT5 | Charger Anchors |  | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| QTY | 0 | 1 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 48
| Unit Cost | 18.8 | 7.22 | 11.06 | 1.3 | 2500 | 7.22 | 337.73 | 125.57 | 1500 | 0.1 | 5 | [9 empty] | 0
| Total | 0 | 7.22 | 11.06 | 0 | 0 | 28.88 | 0 | 0 | 0 | 0 | 240
| Type | Ply wood | 2'x4' | Sono tubes | Christy box | Cutting/Saw Consumables | Misc Electrical Hdw. | Form Stakes | Wire Dobies | Junction Box | Wheel stop | GFI Test (SgA>1000
| QTY | 6 | 6 | 22 | 0 | 1 | 15 | 20 | 50 | 4 | 0 | 0
| Unit Cost | 55 | 10 | 19 | 160 | 535.16 | 217.5 | 8.63 | 1.18 | 177 | 70.58 | 2500
| Total | 330 | 60 | 418 | 0 | 535.16 | 3262.5 | 172.6 | 59 | 708 | 0 | 0
| GRAND TOTAL | 373.6 | 106.82 | 611.79 | 69.29 | 535.16 | 3430.86 | 172.6 | 59 | 708 | 0 | 240
6307.12
[10 empty] | Utility Fees | QTY | Costs | Equipment
| Description | QTY | Unit Cost | Total |  |  | Permits | Equipment |  | R16 Fees | 0 | 1000 | 0
| Signs | 0 | 40 | 0 |  |  | 0 | 10309.63 |  | Transformer Pad | 0 | 1663 | 0
| Sign posts | 0 | 56.1 | 0 | [5 empty] | Cabel well | 0 | 495 | 0
| SG Signs | 0 | 130 | 0 | [5 empty] | Utility Vault/Pull Box | 0 | 0 | 0
|  |  |  | 0 | [5 empty] | PGE Sand | 0 | 105 | 0
|  |  |  | 0 | [5 empty] | Contract Fees |  |  | 0
| Bollards | 22 | 110 | 2420
|  |  |  | 0 | 2420 |  | 0 | 10309.63 |  |  |  |  | 0
| Description | QTY | Unit Cost | Duration | Delivery fees | Total |  |  |  | Concrete | QTY | Costs | Equipment
| Fencing | 175 | 0.3 | 30 | 400 | 1975 |  |  |  | Concrete yd³ | 25 | 193.54 | 4838.5
| Mini x | 1 | 98.5667 | 30 | 0 | 2957 | 0 | 0 |  | Rebar | 24 | 25.65 | 615.6
| Dump Truck | 0 | 520 | 1 | 0 | 0 | Freight/Disposal | 3000 |  | Steel Mesh Roll | 2 | 169 | 338
| Forklift | 0 | 563 | 2 | 0 | 0 | [6 empty] | 5792.1
| Trench Plates | 0 | 5.18 | 30 | 0 | 0 | 0 | 3000
| Storage container | 1 | 185 | 5 | 0 | 925 |  |  |  | Asphalt and Paving | QTY | Costs | Equipment
| Portable restroom | 1 | 267 | 1 | 65 | 332 |  |  |  | Apshalt | 0 | 40.81 | 0
| Low boi | 0 | 1000 | 1 | 0 | 0 |  |  |  | Striping | 0 | 1500 | 0
| Saw cutter | 1 | 169 | 1 | 0 | 169 | [6 empty] | 0
| Jack hammer | 1 | 155 | 1 | 0 | 155 | [6 empty] | 0
| Compactor | 1 | 175 | 1 | 0 | 175
| Generator rental | 1 | 220 | 1 | 0 | 220 |  |  |  | ADA | QTY | Costs | Equipment
| Dump trailer rental | 1 | 796.63 | 1 | 0 | 796.63 |  |  |  | 2% Ada Stalls | 0 | 4900 | 0
| Equipment protection | 1 | 45 | 1 | 0 | 45 |  |  |  | ADA Ramp | 0 | 5200 | 0
| Skidsteer rental | 1 | 750 | 1 | 0 | 750
| Telehandler rental | 1 | 1410 | 1 | 400 | 1810 | [6 empty] | 0
10309.63

## EV_SUB 2P 208V
PANEL SCHEDULE
|  | NAME | EV_Main |  | LOCATION |  | OUTDOOR |  | VOLTAGE | 277 | 480 | 3PH 4W |  | MAIN | 1000 | 1000A 3P
[5 empty] | FED BY |  | UTILITY |  | ENCLOSURE |  | NEMA3R |  |  | BUS BAR | 1000 | A
[5 empty] | MOUNTING |  | SURFACE |  | PANEL TYPE |  | NF |  |  | MAIN AIC | 65000
| CKT | DESCRIPTION |  | BREAKER | POLES | A |  | B |  | C |  | POLES | BREAKER | DESCRIPTION |  | CKT
A | 1 | EV CHARGER L3 #1 |  | 300 | 3 | 66510.751 | 66510.751 |  |  |  |  | 3 | 300 | EV CHARGER L3 #2 |  | 2 | A
B | 3 | --- | [5 empty] | 66510.751 | 66510.751 | [6 empty] | 4 | B
C | 5 | --- | [7 empty] | 66510.751 | 66510.751 |  |  | --- |  | 6 | C
A | 7 | EV CHARGER L3 #3 |  | 300 | 3 | 66510.751 | [9 empty] | 8 | A
B | 9 | --- | [5 empty] | 66510.751 | [5 empty] | --- |  | 10 | B
C | 11 | --- | [7 empty] | 66510.751 |  |  |  | --- |  | 12 | C
A | 13 | [14 empty] | 14 | A
B | 15 | --- | [11 empty] | --- |  | 16 | B
C | 17 | --- | [11 empty] | --- |  | 18 | C
A | 19 | [14 empty] | 20 | A
B | 21 | --- | [11 empty] | --- |  | 22 | B
C | 23 | --- | [11 empty] | --- |  | 24 | C
A | 25 | [14 empty] | 26 | A
B | 27 | --- | [11 empty] | --- |  | 28 | B
C | 29 | --- | [11 empty] | --- |  | 30 | C
A | 31 | [14 empty] | 32 | A
B | 33 | --- | [11 empty] | --- |  | 34 | B
C | 35 | --- | [11 empty] | --- |  | 36 | C
A | 37 | [14 empty] | 38 | A
B | 39 | [14 empty] | 40 | B
C | 41 | [14 empty] | 42 | C
|  |  |  | TOTAL VA |  | 199532.253 |  | 199532.253 |  | 199532.253 |  | TOTAL 3PH VA |  | 598596.7591
|  |  |  | DEMAND VA |  | 249415.3163 |  | 249415.3163 |  | 249415.3163 |  | TOTAL DEMAND VA |  | 748245.9489
|  |  |  | HIGH PH VA |  | 249415.3163 |  | 249415.3163 |  | 249415.3163 |  | TOTAL AMP |  | 900
|  |  |  | HIGH PH AMP |  | 900.4 |  | 900.4 |  | 900.4 |  | MAIN BREAKER |  | 1000
PANEL SCHEDULE
|  | NAME | SB 2 |  | LOCATION |  | OUTDOOR |  | VOLTAGE | 120 | 208 | 3PH 4W |  | MAIN | 300 | A 3P
[5 empty] | FED BY |  | UTILITY |  | ENCLOSURE |  | NEMA3R |  |  | BUS BAR | 300 | A
[5 empty] | MOUNTING |  | SURFACE |  | PANEL TYPE |  | NF |  |  | MAIN AIC | 22000
| CKT | DESCRIPTION |  | BREAKER | POLES | A |  | B |  | C |  | POLES | BREAKER | DESCRIPTION |  | CKT
A | 1 | EV CHARGER L2 #1A |  | 40 | 2 | 66510.751 | [5 empty] | 2 | 40 | EV CHARGER L2 #2A |  | 2 | A
B | 3 | --- | [11 empty] | --- |  | 4 | B
C | 5 | EV CHARGER L2 #1B |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #2B |  | 6 | C
A | 7 | --- | [11 empty] | --- |  | 8 | A
B | 9 | EV CHARGER L2 #3A |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #4A |  | 10 | B
C | 11 | --- | [11 empty] | --- |  | 12 | C
A | 13 | EV CHARGER L2 #3B |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #4B |  | 14 | A
B | 15 | --- | [11 empty] | --- |  | 16 | B
C | 17 | EV CHARGER L2 #5A |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #6A |  | 18 | C
A | 19 | --- | [11 empty] | --- |  | 20 | A
B | 21 | EV CHARGER L2 #5B |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #6B |  | 22 | B
C | 23 | --- | [11 empty] | --- |  | 24 | C
A | 25 | --- | [11 empty] | --- |  | 26 | A
B | 27 | [14 empty] | 28 | B
C | 29 | [14 empty] | 30 | C
A | 31 | [14 empty] | 32 | A
B | 33 | [14 empty] | 34 | B
C | 35 | [14 empty] | 36 | C
A | 37 | [14 empty] | 38 | A
B | 39 | [14 empty] | 40 | B
C | 41 | [15 empty] | C
A | 43 | [15 empty] | A
B | 45 | [15 empty] | B
C | 47 | [15 empty] | C
|  |  |  | TOTAL VA |  | 66510.751 |  | 0 |  | 0 |  | TOTAL 3PH VA |  | 66510.751
|  |  |  | DEMAND VA |  | 83138.4388 |  | 0 |  | 0 |  | TOTAL DEMAND VA |  | 66510.751
|  |  |  | HIGH PH VA |  | 83138.4388 |  | 0 |  | 0 |  | TOTAL AMP |  | 184.6208
|  |  |  | HIGH PH AMP |  | 300.1388 |  | 0 |  | 0 |  | MAIN BREAKER |  | 200