## INPUT SHEET
Charger Input Calculator
CTX Product Selection: | [9 empty] | Financial Worksheet Inputs
Start by selecting Category dropdown → (blue cells = your inputs: Category, SKU, Discount %, Qty)
| Item # | Category | SKU | Description | MSRP | Discount % | Qty | MSRP Total | Line Total After Discount |  | Level 2 | L3 Type 1 (DCFC) | L3 Type 2 (DCFC) | L3 Type 3 (DCFC) | L3 Type 4 (DCFC) | L3 Type 5 (DCFC) | L3 Type 6 (DCFC)
|  | _kW120 | TP5-120-480-1 |  |  | 7% | 6 |  |  | # Chargers (auto from line items) | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | EV Stall Qty (# of ports) | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | Charger Rating (kW) | 7.2 | 60 | 120 | 160 | 180 | 240 | 360
[10 empty] | Rating de-rate factor (x) | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98
Tip: # Chargers auto-fills from your line item categories (_L2 and _kW*).
Set the ports and kW rating per level. Revenue uses rating x de-rate factor.
Fill this out for CPMS
Address
RSM: RSM: Paul Arms / Brian Rischmann / Dan Koven
Client Info:
Utility
Scope of Work: ie: Client Requests, Amount of chargers, if chargers are dual… Is the client a city?
Pictures of Site (Max 3, circle the location of the chargers) Give 2 or 3 Possible options for Charger Locations..
Grand Total | [7 empty] | 0 | 0
Instructions
How to use: Pick a Category, then a SKU, using the dropdowns (tip: select the cell and press Alt + ↓ to open a dropdown without clicking the small arrow). Then type the Discount % and Qty in the blue cells. To REMOVE a row: right-click its row number on the left → Delete (rows below shift up automatically). To CLEAR a row in place: select the blue cells in that row and press Delete. To ADD more rows: right-click a row number inside the table → Insert. Fill out CPM INFO Table
Note on N9: Sam Mathew: L2 ports = sum of Qty for each _L2 line, doubled when the Description contains "Dual" (dual-port charger).
Note on O10: Sam Mathew: Nominal kW rating of L3 Type 1. Qty in row 8 auto-counts line items with category _kW<rating>.
Note on P10: Sam Mathew: Nominal kW rating of L3 Type 2. Qty in row 8 auto-counts line items with category _kW<rating>.
Note on P11: Sam Mathew: De-rate factor shared across charger types.

## Proposal
ZERO IMPACT SOLUTIONS COSTS BREAKDOWN |  |  |  | Charger cost factor (1.05 contingency x 1.10 markup): | 1
Charger (Parts Only Warranty included: 1 yr AC / 2 yrs DC) | Quantity | Final Cost | Total
Total Cost of EVSE |  |  | 0
Electrical Supply & Construction Management Costs | Quantity | Final Cost | Total after Discount
Wires, Conduits and Peripherals | 0 | 0 | 0
Main Distribution Switchgear | 0 | 0 | 0
Electrical Sub-Panels, Transformers, Breakers | 0 | 0 | 0
Striping, Bollards, Signage | 0 | 0 | 0
Permits | 0 | 0 | 0
Designs and Engineering | 0 | 0 | 0
Construction Equipment | 0 | 0 | 0
Material Costs | 0 | 0 | 0
Miscellaneous | 0 | 0 | 0
Total Cost of Supply & Management |  |  | 0
EVOLV platform costs (Calculated Yearly) | Quantity | Final Cost | Total
Monthly Network Cloud Services Fees (Per Port) | 0 | 39.99 | 0
# of years for duration of contract | 5 |  | 0
|  | Evolv Total Cost | 0
|  | Subtotal | 0
|  | Tax | 0
|  | Rebate | 0
|  | Total | 0
ZERO IMPACT BUILDERS COSTS BREAKDOWN
Labor Days | 30 | 2772.5 | 83175
Total Labor Costs |  |  | 0
Servicing Fees (Yearly calculation) | Quantity | Final Cost | Total
Service Plan - all chargers (every year) | 5 | 0 | 0
Warranty - AC chargers (after free period) | 4 | 0 | 0
Warranty - DC chargers (after free period) | 3 | 0 | 0
Total |  |  | 0
Length Of Contract (years) | 5
Total Charger ¦ EVSE ¦ Evolv |  |  | 0
Total ZIB Costs |  |  | 0
Grand Total |  |  | 0
Note on C40: Sam Mathew: INPUT - Length of contract in years. Dropdown limited to 2-5. Per Svc Wrrty the parts-only warranty extension is only offered 'per year after year 2, up to 5', so 5 is the maximum.

## Internal Summary
| Price | Applied Discount | Customer Price | EVOLV platform costs (Calculated Yearly) | Quantity | Final Cost | Total
Equipment Purchase Invoice (Finance) | 0 | 0% | 0 | Monthly Network Cloud Services Fees (Per Port) | 0 | 39.99 | 0
Charger Hardware | 0 | 0% | 0 | # of years for duration of contract | 5
5 Year Service Agreement + Warranty | 0 | 0% | 0 |  |  | Subtotal | 0
EVOLV & Commissioning Subtotal | 0 | 0% | 0
Sales Tax on Chargers | 0 | 0% | 0
Design Invoice (Finance) | 0 | 0% | 0
AutoCad Design Services | 0 | 0% | 0 |  | Servicing Fees
Electrical Engineering Design | 0 | 0% | 0 |  | Quantity | Cost | Total
Project Management | 0 | 0% | 0 | Service Plan - all chargers (every year) | 5 | 0 | 0
Plan Check and Permit Fees | 0 | 0% | 0 | Warranty - AC chargers (after free period) | 4 | 0 | 0
Electrical Supply & Construction Management Costs | 0 | 0% | 0 | Warranty - DC chargers (after free period) | 3 | 0 | 0
Wires, Conduits and Peripherals | 0 | 0% | 0 | Total |  |  | 0
Main Distribution Switchgear | 0 | 0% | 0
Electrical Sub-Panels, Transformers, Breakers | 0 | 0% | 0 | Length Of Contract (years) [INPUT] | 5
Striping, Bollards, Signage | 0 | 0% | 0
Asphalt and Paving | 0 | 0% | 0
Concrete Improvements | 0 | 0% | 0
ADA | 0 | 0% | 0
Environmental Cleanup Fee | 0 | 0% | 0
Permits | 0 | 0% | 0
Utility | 0 | 0% | 0
Construction Equipment | 0 | 0% | 0 |  |  |  |  | x
Construction PM | 0 | 0% | 0
Materials | 0 | 0% | 0
Sales Tax on equipment | 0 | 0% | 0
Labor | 0 | 0% | 0
Grand Total |  |  | 0
Total After Discount |  |  | 0
How to use: If you need extra costs Insert the extra costs into the Costs Row. The Values will be populated tot eh Cost Export and Financial Worksheet automatically
Note on G16: Sam Mathew: INPUT - Length of contract in years (2-5). Drives service years and warranty years for the whole service block.

## Financial Worksheet
5-Year Cumulative Cashflow
Projected Profits Over 5 Years |  | 5 Year Cashflow |  |  |  | 5 Year Charger Revenue
Total Costs Upfront | 0
Carbon Credits | 0 | Year | Annual Cashflow | Cumulative |  | Year | Annual Charger Revenue | Cumulative
ITC | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
EVSE Revenues | 0 | 1 | 0 | 0 |  | 1 | 0 | 0
Net Revenues | 0 | 2 | 0 | 0 |  | 2 | 0 | 0
|  | 3 | 0 | 0 |  | 3 | 0 | 0
View Period | 5 Year | 4 | 0 | 0 |  | 4 | 0 | 0
Years (auto) | 5 | 5 | 0 | 0 |  | 5 | 0 | 0
Customer Total
Equipment Purchase Invoice | 0
Charger Hardware | 0
Parts Warranty | 0
EVOLV & Commissioning Subtotal | 0
5 Year Service Agreement | 0
Sales Tax on Chargers | 0
Design Invoice | 0
AutoCad Design Services | 0
Electrical Engineering Design | 0
Project Management (@$358/hour) | 0
Plan Check and Permit Fees | 0
Electrical Supply & Construction Management Costs | 0
Wires, Conduits and Peripherals | 0
Main Distribution Switchgear | 0
Electrical Sub-Panels, Transformers, Breakers | 0
Striping, Bollards, Signage | 0
Asphalt and Paving | 0
Concrete Improvements | 0
ADA | 0
Dump/ Waste | 0
Permits | 0
Utility | 0
Construction Equipment | 0
Construction PM | 0
Materials | 0
Sales Tax on equipment | 0
Labor | 0 | CC Rate ($/kW/yr) | 71.6667
Grand Total | 0 | L3 Rating (kW) | 60 | 120 | 160 | 180 | 240 | 360
Remaining Balance after Discount | 0 | Qty | 0 | 0 | 0 | 0 | 0 | 0
|  | Multiplier ($/yr) | 4300.002 | 8600.004 | 11466.672 | 12900.006 | 17200.008 | 25800.012
|  | L2 | Usage | Multiplier
|  | Consumption Credits/m | 0 | 0.0045 | 0
Note on E42: Sam Mathew: Carbon credit rate per kW per year (e.g. 60 kW = $4,300/yr, 120 kW = $8,600/yr). Update when LCFS credit prices change.
Note on E44: Qty auto-counts INPUT SHEET line items with category _kW<rating>.
Note on H44: Qty auto-counts INPUT SHEET line items with category _kW<rating>.
Note on E45: = Rating (kW) × CC rate ($/kW/yr)

## DLL Schedule
Loan Amortization Schedule
| Enter values | [5 empty] | Loan summary
|  | Loan amount | 0 |  |  |  |  | Scheduled payment
|  | Annual interest rate | 8.39% |  |  |  |  | Scheduled number of payments
|  | Loan period in years | 5 |  |  |  |  | Actual number of payments
|  | Number of payments per year | 12 |  |  |  |  | Total early payments
|  | Start date of loan | 2026-08-01 |  |  |  |  | Total interest
|  | Optional extra payments | 0
Lender name:
Pmt. No. | Payment Date | Beginning Balance | Scheduled Payment | Extra Payment | Total Payment | Principal | Interest | Ending Balance | Cumulative Interest
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Cashflow
| 0 | 0 | 0
| Loan Payment | Carbon Credits | EVSE Profit | Total
1 |  | 0 | 0 | #VALUE!
2 |  | 0 | 0 | #VALUE!
3 |  | 0 | 0 | #VALUE!
4 |  | 0 | 0 | #VALUE!
5 |  | 0 | 0 | #VALUE!
6 |  | 0 | 0 | #VALUE!
7 |  | 0 | 0 | #VALUE!
8 |  | 0 | 0 | #VALUE!
9 |  | 0 | 0 | #VALUE!
10 |  | 0 | 0 | #VALUE!
11 |  | 0 | 0 | #VALUE!
12 |  | 0 | 0 | #VALUE!
13 |  | 0 | 0 | #VALUE!
14 |  | 0 | 0 | #VALUE!
15 |  | 0 | 0 | #VALUE!
16 |  | 0 | 0 | #VALUE!
17 |  | 0 | 0 | #VALUE!
18 |  | 0 | 0 | #VALUE!
19 |  | 0 | 0 | #VALUE!
20 |  | 0 | 0 | #VALUE!
21 |  | 0 | 0 | #VALUE!
22 |  | 0 | 0 | #VALUE!
23 |  | 0 | 0 | #VALUE!
24 |  | 0 | 0 | #VALUE!
25 |  | 0 | 0 | #VALUE!
26 |  | 0 | 0 | #VALUE!
27 |  | 0 | 0 | #VALUE!
28 |  | 0 | 0 | #VALUE!
29 |  | 0 | 0 | #VALUE!
30 |  | 0 | 0 | #VALUE!
31 |  | 0 | 0 | #VALUE!
32 |  | 0 | 0 | #VALUE!
33 |  | 0 | 0 | #VALUE!
34 |  | 0 | 0 | #VALUE!
35 |  | 0 | 0 | #VALUE!
36 |  | 0 | 0 | #VALUE!
37 |  | 0 | 0 | #VALUE!
38 |  | 0 | 0 | #VALUE!
39 |  | 0 | 0 | #VALUE!
40 |  | 0 | 0 | #VALUE!
41 |  | 0 | 0 | #VALUE!
42 |  | 0 | 0 | #VALUE!
43 |  | 0 | 0 | #VALUE!
44 |  | 0 | 0 | #VALUE!
45 |  | 0 | 0 | #VALUE!
46 |  | 0 | 0 | #VALUE!
47 |  | 0 | 0 | #VALUE!
48 |  | 0 | 0 | #VALUE!
49 |  | 0 | 0 | #VALUE!
50 |  | 0 | 0 | #VALUE!
51 |  | 0 | 0 | #VALUE!
52 |  | 0 | 0 | #VALUE!
53 |  | 0 | 0 | #VALUE!
54 |  | 0 | 0 | #VALUE!
55 |  | 0 | 0 | #VALUE!
56 |  | 0 | 0 | #VALUE!
57 |  | 0 | 0 | #VALUE!
58 |  | 0 | 0 | #VALUE!
59 |  | 0 | 0 | #VALUE!
60 |  | 0 | 0 | #VALUE!

## Updated Chargers Revenue Calcul
| STANDARD-DAY | [21 empty] | FLEET-NIGHT
Revenues | Standard-Low | [6 empty] | Standard-Med | [6 empty] | Standard-High | [7 empty] | Fleet-Low | Fleet-Med | Fleet-High
| Level 2 | L3 (60 kW) | L3 (120 kW) | L3 (160 kW) | L3 (180 kW) | L3 (240 kW) | L3 (360 kW) | Level 2 | L3 (60 kW) | L3 (120 kW) | L3 (160 kW) | L3 (180 kW) | L3 (240 kW) | L3 (360 kW) | Level 2 | L3 (60 kW) | L3 (120 kW) | L3 (160 kW) | L3 (180 kW) | L3 (240 kW) | L3 (360 kW) |  | Level 2 | Level 2 | Level 2
Chargers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
EV Stall Quantity (Based on # of ports) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Max hours of operation of parking | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | 12 | 12
Assumed Stall Occupancy % | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 45% | 50% | 50% | 50% | 50% | 50% | 50% | 60% | 70% | 70% | 70% | 70% | 70% | 70% | 0% | 20% | 45% | 60%
Number of stalls used per day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Assumed Charging Hourly % per stall per day | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 85% | 85% | 85% | 85% | 85% | 85% | 85% | 0% | 50% | 75% | 85%
Number of hours usage per stall per day | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 |  | 6 | 9 | 10.2
Actual Charger Rating | 7.056 | 29.4 | 58.8 | 78.4 | 88.2 | 117.6 | 176.4 | 7.056 | 29.4 | 58.8 | 78.4 | 88.2 | 117.6 | 176.4 | 7.056 | 29.4 | 58.8 | 78.4 | 88.2 | 117.6 | 176.4 |  | 7.056 | 7.056 | 7.056
Retail Revenue per kWHr | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 |  | 0.65 | 0.65 | 0.65
Total Revenue per day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Per month (days per year ÷ 12) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Total kWhr dispensed per day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
EV Utility Rate average per kWHr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.25 | 0.25 | 0.25
Net Profit per Month | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Total Profit per Year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Modify Stall Occupancy % here | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 45% | 50% | 50% | 50% | 50% | 50% | 50% | 60% | 70% | 70% | 70% | 70% | 70% | 70% |  | 20% | 45% | 60%
Modify Charging Hourly percentage per stall per day | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 85% | 85% | 85% | 85% | 85% | 85% | 85% |  | 50% | 75% | 85%
Rows 4-21 above: single-year view. The app-faithful ten-year model starts at row 33.
| Total (Standard ) | [7 empty] | Low | [5 empty] | Medium | High
| Yearly | [7 empty] | 0 | [5 empty] | 0 | 0
| 3 Years | [7 empty] | 0 | [5 empty] | 0 | 0
| 5 Years | [7 empty] | 0 | [5 empty] | 0 | 0
| Total (Standard & Fleet Night) | [7 empty] | Low | [5 empty] | Medium | High
| Yearly | [7 empty] | 0 | [5 empty] | 0 | 0
| 3 Years | [7 empty] | 0 | [5 empty] | 0 | 0
| 5 Years | [7 empty] | 0 | [5 empty] | 0 | 0
APP-ALIGNED INPUTS — mirrors the RFC Estimator Revenue tab (lib/proposal/model.ts) | Level 2 | L3 (60 kW) | L3 (120 kW) | L3 (160 kW) | L3 (180 kW) | L3 (240 kW) | L3 (360 kW) | Level 2 | L3 (60 kW) | L3 (120 kW) | L3 (160 kW) | L3 (180 kW) | L3 (240 kW) | L3 (360 kW) | Level 2 | L3 (60 kW) | L3 (120 kW) | L3 (160 kW) | L3 (180 kW) | L3 (240 kW) | L3 (360 kW) |  | Level 2 | Level 2 | Level 2
Charging-curve taper (avg delivered power ÷ port rating) | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 |  | 0.7 | 0.7 | 0.7
Average delivered kW per port (de-rated, then tapered) | 4.9392 | 20.58 | 41.16 | 54.88 | 61.74 | 82.32 | 123.48 | 4.9392 | 20.58 | 41.16 | 54.88 | 61.74 | 82.32 | 123.48 | 4.9392 | 20.58 | 41.16 | 54.88 | 61.74 | 82.32 | 123.48 |  | 4.9392 | 4.9392 | 4.9392
Days per year the site is open | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 |  | 365 | 365 | 365
kWh per day, steady state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
kWh per year, steady state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Card processing fee (share of gross) | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% |  | 3% | 3% | 3%
Peak $/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.25 | 0.25 | 0.25
Off-peak $/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.25 | 0.25 | 0.25
Super off-peak $/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.25 | 0.25 | 0.25
Peak share of energy dispensed | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% |  | 30% | 30% | 30%
Off-peak share | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% | 55% |  | 55% | 55% | 55%
Super off-peak share | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% |  | 15% | 15% | 15%
Blended volumetric $/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.25 | 0.25 | 0.25
Customer charge ($/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Demand charge ($/kW-month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Subscription block size (kW) — 0 means no blocks sold | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Subscription block price ($/block/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Peak-to-average concurrency factor | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  | 4 | 4 | 4
Safety margin on subscribed kW | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% |  | 20% | 20% | 20%
Size demand on the full port rating? (Yes / No) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  | Yes | Yes | Yes
Demand charge bills from year | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1
Year 1 share of steady state | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50% |  | 50% | 50% | 50%
Year 2 share of steady state | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% |  | 75% | 75% | 75%
Year 3 share of steady state | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | 100% | 100% | 100%
Annual growth after the ramp | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% |  | 6% | 6% | 6%
Service contract length (years) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  | 5 | 5 | 5
Warranty + service after the contract ($/yr) — from the CTX Price Book | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Network fee after the contract ($/yr) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
SCENARIO ROLL-UP — site level, as the app's ModelContext sees it |  | Standard-Low | Standard-Med | Standard-High | Fleet-Low | Fleet-Med | Fleet-High
DC charging positions |  | 0 | 0 | 0 | 0 | 0 | 0
DC nameplate (kW) |  | 0 | 0 | 0 | 0 | 0 | 0
Level 2 positions |  | 0 | 0 | 0 | 0 | 0 | 0
Nameplate kW per Level 2 position |  | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2
Power per DC position (kW, de-rated) |  | 0 | 0 | 0 | 0 | 0 | 0
Average delivered power (kW, tapered) |  | 0 | 0 | 0 | 0 | 0 | 0
Site kWh per day, both streams |  | 0 | 0 | 0 | 0 | 0 | 0
Site kWh per year, steady state |  | 0 | 0 | 0 | 0 | 0 | 0
Days per year |  | 365 | 365 | 365 | 365 | 365 | 365
Retail $/kWh (kWh-weighted) |  | 0 | 0 | 0 | 0 | 0 | 0
Blended utility $/kWh (kWh-weighted) |  | 0 | 0 | 0 | 0 | 0 | 0
Card processing fee |  | 3% | 3% | 3% | 3% | 3% | 3%
Subscription block size (kW) |  | 0 | 0 | 0 | 0 | 0 | 0
Subscription block price ($/month) |  | 0 | 0 | 0 | 0 | 0 | 0
Demand charge ($/kW-month) |  | 0 | 0 | 0 | 0 | 0 | 0
Customer charge ($/month) |  | 0 | 0 | 0 | 0 | 0 | 0
Peak-to-average concurrency factor |  | 4 | 4 | 4 | 4 | 4 | 4
Safety margin on subscribed kW |  | 20% | 20% | 20% | 20% | 20% | 20%
Size demand on the full port rating? |  | Yes | Yes | Yes | Yes | Yes | Yes
Demand charge bills from year |  | 1 | 1 | 1 | 1 | 1 | 1
Year 1 share of steady state |  | 50% | 50% | 50% | 50% | 50% | 50%
Year 2 share of steady state |  | 75% | 75% | 75% | 75% | 75% | 75%
Year 3 share of steady state |  | 100% | 100% | 100% | 100% | 100% | 100%
Annual growth after the ramp |  | 6% | 6% | 6% | 6% | 6% | 6%
Service contract length (years) |  | 5 | 5 | 5 | 5 | 5 | 5
Warranty + service after the contract ($/yr) |  | 0 | 0 | 0 | 0 | 0 | 0
Network fee after the contract ($/yr) |  | 0 | 0 | 0 | 0 | 0 | 0
TEN-YEAR PROJECTION — Standard-Low
Year | Ramp | kWh | kWh/day | Avg concurrent ports | Peak concurrent ports | Peak demand kW | Subscribed kW | Blocks | Subscription $/yr | Demand charge $/yr | Customer charge $/yr | Fixed & demand $/yr | Energy $/yr | Utility cost $/yr | Gross revenue | Card fees | Service & network | Charging profit
1 | 50% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 75% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 106% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 112.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 119.1% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 126.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 133.8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 141.9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 150.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-year total |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All-in $/kWh (energy + fixed and demand) | [12 empty] | 0
TEN-YEAR PROJECTION — Standard-Med
Year | Ramp | kWh | kWh/day | Avg concurrent ports | Peak concurrent ports | Peak demand kW | Subscribed kW | Blocks | Subscription $/yr | Demand charge $/yr | Customer charge $/yr | Fixed & demand $/yr | Energy $/yr | Utility cost $/yr | Gross revenue | Card fees | Service & network | Charging profit
1 | 50% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 75% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 106% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 112.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 119.1% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 126.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 133.8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 141.9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 150.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-year total |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All-in $/kWh (energy + fixed and demand) | [12 empty] | 0
TEN-YEAR PROJECTION — Standard-High
Year | Ramp | kWh | kWh/day | Avg concurrent ports | Peak concurrent ports | Peak demand kW | Subscribed kW | Blocks | Subscription $/yr | Demand charge $/yr | Customer charge $/yr | Fixed & demand $/yr | Energy $/yr | Utility cost $/yr | Gross revenue | Card fees | Service & network | Charging profit
1 | 50% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 75% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 106% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 112.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 119.1% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 126.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 133.8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 141.9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 150.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-year total |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All-in $/kWh (energy + fixed and demand) | [12 empty] | 0
TEN-YEAR PROJECTION — Fleet-Low
Year | Ramp | kWh | kWh/day | Avg concurrent ports | Peak concurrent ports | Peak demand kW | Subscribed kW | Blocks | Subscription $/yr | Demand charge $/yr | Customer charge $/yr | Fixed & demand $/yr | Energy $/yr | Utility cost $/yr | Gross revenue | Card fees | Service & network | Charging profit
1 | 50% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 75% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 106% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 112.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 119.1% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 126.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 133.8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 141.9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 150.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-year total |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All-in $/kWh (energy + fixed and demand) | [12 empty] | 0
TEN-YEAR PROJECTION — Fleet-Med
Year | Ramp | kWh | kWh/day | Avg concurrent ports | Peak concurrent ports | Peak demand kW | Subscribed kW | Blocks | Subscription $/yr | Demand charge $/yr | Customer charge $/yr | Fixed & demand $/yr | Energy $/yr | Utility cost $/yr | Gross revenue | Card fees | Service & network | Charging profit
1 | 50% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 75% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 106% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 112.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 119.1% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 126.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 133.8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 141.9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 150.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-year total |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All-in $/kWh (energy + fixed and demand) | [12 empty] | 0
TEN-YEAR PROJECTION — Fleet-High
Year | Ramp | kWh | kWh/day | Avg concurrent ports | Peak concurrent ports | Peak demand kW | Subscribed kW | Blocks | Subscription $/yr | Demand charge $/yr | Customer charge $/yr | Fixed & demand $/yr | Energy $/yr | Utility cost $/yr | Gross revenue | Card fees | Service & network | Charging profit
1 | 50% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 75% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 106% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 112.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 119.1% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 126.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 133.8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 141.9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 150.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-year total |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All-in $/kWh (energy + fixed and demand) | [12 empty] | 0
HEADLINE — the figures the app's Revenue tab shows |  | Standard-Low | Standard-Med | Standard-High | Fleet-Low | Fleet-Med | Fleet-High
Year 1 · gross revenue |  | 0 | 0 | 0 | 0 | 0 | 0
Year 1 · charging profit |  | 0 | 0 | 0 | 0 | 0 | 0
Year 6 · service & network (contract over) |  | 0 | 0 | 0 | 0 | 0 | 0
Year 10 · charging profit |  | 0 | 0 | 0 | 0 | 0 | 0
10-year charging profit |  | 0 | 0 | 0 | 0 | 0 | 0
10-year kWh dispensed |  | 0 | 0 | 0 | 0 | 0 | 0
All-in $/kWh across the horizon |  | 0 | 0 | 0 | 0 | 0 | 0
Synced with lib/proposal/model.ts (computeUsage / computeTariff / computeRevenue) on 2026-09-09.
Rows 4-21 are the original single-year view, now on the same taper and days-per-year basis. Rows 34-61 are the app's inputs per charger type; rows 65-91 roll them up to site level; the ten-year tables below are the app's Revenue projection.
Known and deliberately unchanged: row 12 hard-codes 30/60/80/90/120/180 kW per port and ignores 'INPUT SHEET'!O10:T10; B8:H8 are literal 20% where every other column reads row 20.
UTILITY TARIFF — resolved exactly as the app's findRateRow() (lib/proposal/model.ts:233) |  | Set these two to whatever the app's Setup and Intake tabs carry; every Standard column's rates follow.
Utility
Rate schedule
Library row (0 = no match) | 0
Rate data status | NO SCHEDULE SELECTED — energy priced at zero, exactly as the app does
Peak $/kWh | 0
Off-peak $/kWh | 0
Super off-peak $/kWh | 0
Customer charge ($/month) | 0
Demand charge ($/kW-month) | 0
Subscription block size (kW) | 0
Subscription block price ($/month) | 0
Overage rate ($/kW) | 0
RATE LIBRARY — a copy of lib/ref/rateLibrary.ts; regenerate with this script, do not hand-edit
Utility | Rate schedule | Key | Peak $/kWh | Off-peak $/kWh | Super off-peak $/kWh | Customer $/month | Demand $/kW-month | Block kW | Block $/month | Overage $/kW | Status
PG&E — Pacific Gas and Electric | BEV-1 | PG&E — Pacific Gas and Electric¦BEV-1 | 0.35711 | 0.1651 | 0.13844 | 0 | 0 | 10 | 12.41 | 2.48 | VERIFIED
PG&E — Pacific Gas and Electric | BEV-2-S | PG&E — Pacific Gas and Electric¦BEV-2-S | 0.36977 | 0.15654 | 0.13327 | 0 | 0 | 50 | 95.56 | 3.82 | VERIFIED
PG&E — Pacific Gas and Electric | BEV-2-P | PG&E — Pacific Gas and Electric¦BEV-2-P | 0.36003 | 0.15115 | 0.12849 | 0 | 0 | 50 | 85.98 | 3.44 | VERIFIED
PG&E — Pacific Gas and Electric | B-20 (non-EV alternative) | PG&E — Pacific Gas and Electric¦B-20 (non-EV alternative) | 0.17702 | 0.11482 | 0.05872 | 3265 | 80.43 | 0 | 0 | 0 | PARTIAL
SCE — Southern California Edison | TOU-EV-7 | SCE — Southern California Edison¦TOU-EV-7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NOT PUBLISHED
SCE — Southern California Edison | TOU-EV-8 | SCE — Southern California Edison¦TOU-EV-8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NOT PUBLISHED
SCE — Southern California Edison | TOU-EV-9 | SCE — Southern California Edison¦TOU-EV-9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NOT PUBLISHED
SDG&E — San Diego Gas & Electric | EV-HP (<=150 kW) | SDG&E — San Diego Gas & Electric¦EV-HP (<=150 kW) | 0.32882 | 0.16295 | 0.15307 | 151.26 | 9.43 | 10 | 50.76 | 0 | PARTIAL
SDG&E — San Diego Gas & Electric | EV-HP (>150 kW) | SDG&E — San Diego Gas & Electric¦EV-HP (>150 kW) | 0.32882 | 0.16295 | 0.15307 | 151.26 | 9.43 | 25 | 126.89 | 0 | PARTIAL
SDG&E — San Diego Gas & Electric | EV-HP Primary (>150 kW) | SDG&E — San Diego Gas & Electric¦EV-HP Primary (>150 kW) | 0.3055 | 0.16257 | 0.15283 | 66.15 | 9.39 | 25 | 126.24 | 0 | PARTIAL
Liberty Utilities (CalPeco Electric) | TOU A-3 EV | Liberty Utilities (CalPeco Electric)¦TOU A-3 EV | 0.52239 | 0.30281 | 0 | 850.81 | 0 | 0 | 0 | 0 | PARTIAL
Liberty Utilities (CalPeco Electric) | TOU A-2 EV | Liberty Utilities (CalPeco Electric)¦TOU A-2 EV | 0 | 0 | 0 | 201.85 | 0 | 0 | 0 | 0 | PARTIAL
Pacific Power (PacifiCorp) | AT-48 Large General TOU | Pacific Power (PacifiCorp)¦AT-48 Large General TOU | 0.14448 | 0.13419 | 0 | 842.62 | 13.45 | 0 | 0 | 0 | VERIFIED
Pacific Power (PacifiCorp) | A-32 General Service | Pacific Power (PacifiCorp)¦A-32 General Service | 0.20212 | 0.20212 | 0.20212 | 30.54 | 8.5 | 0 | 0 | 0 | VERIFIED
Bear Valley Electric Service (BVES) | TOU-EV-3 | Bear Valley Electric Service (BVES)¦TOU-EV-3 | 0.46315 | 0.37417 | 0.26005 | 0 | 9.5 | 0 | 0 | 0 | PARTIAL
SMUD — Sacramento Municipal Utility District | EV_SR tier EV3 (>20% util) | SMUD — Sacramento Municipal Utility District¦EV_SR tier EV3 (>20% util) | 0.2151 | 0.089 | 0.0638 | 0 | 0 | 25 | 333 | 0 | VERIFIED
SMUD — Sacramento Municipal Utility District | EV_SR tier EV2 (10-20% util) | SMUD — Sacramento Municipal Utility District¦EV_SR tier EV2 (10-20% util) | 0.2669 | 0.1088 | 0.0658 | 0 | 0 | 25 | 264 | 0 | VERIFIED
SMUD — Sacramento Municipal Utility District | EV_SR tier EV1 (<10% util) | SMUD — Sacramento Municipal Utility District¦EV_SR tier EV1 (<10% util) | 0.5198 | 0.2051 | 0.115 | 0 | 0 | 25 | 120 | 0 | VERIFIED
SMUD — Sacramento Municipal Utility District | CI-TOD4 (non-EV alternative) | SMUD — Sacramento Municipal Utility District¦CI-TOD4 (non-EV alternative) | 0.2438 | 0.1186 | 0.0788 | 4014.3 | 17.66 | 0 | 0 | 0 | VERIFIED
LADWP — Los Angeles Dept of Water & Power | A-2 (2009 base rates) | LADWP — Los Angeles Dept of Water & Power¦A-2 (2009 base rates) | 0.04679 | 0.01879 | 0 | 25 | 14 | 0 | 0 | 0 | PARTIAL
IID — Imperial Irrigation District | TOU-GL | IID — Imperial Irrigation District¦TOU-GL | 0.2873 | 0.0821 | 0 | 140 | 13 | 0 | 0 | 0 | VERIFIED
Silicon Valley Power (Santa Clara) | CB-1 TOU | Silicon Valley Power (Santa Clara)¦CB-1 TOU | 0.1849 | 0.14217 | 0 | 100.45 | 12.14 | 0 | 0 | 0 | VERIFIED
Riverside Public Utilities | TOU Large General & Industrial | Riverside Public Utilities¦TOU Large General & Industrial | 0.1295 | 0.0907 | 0 | 742.28 | 14.12 | 0 | 0 | 0 | VERIFIED
Anaheim Public Utilities | Anaheim Schedule TOU | Anaheim Public Utilities¦Anaheim Schedule TOU | 0.148 | 0.0787 | 0 | 342.12 | 24.34 | 0 | 0 | 0 | VERIFIED
Glendale Water and Power | PC-1-B TOU | Glendale Water and Power¦PC-1-B TOU | 0.3892 | 0.1384 | 0 | 0 | 28.3 | 0 | 0 | 0 | PARTIAL
Burbank Water and Power | XL-TOU | Burbank Water and Power¦XL-TOU | 0.2131 | 0.0896 | 0 | 0 | 20 | 0 | 0 | 0 | PARTIAL
Pasadena Water and Power | L-1 Secondary | Pasadena Water and Power¦L-1 Secondary | 0.13409 | 0.12489 | 0 | 1500 | 18.76 | 0 | 0 | 0 | PARTIAL
Roseville Electric Utility | GS-4 | Roseville Electric Utility¦GS-4 | 0.1969 | 0.095 | 0 | 0 | 11.51 | 0 | 0 | 0 | PARTIAL
City of Palo Alto Utilities | E-7 | City of Palo Alto Utilities¦E-7 | 0.20068 | 0.12834 | 0.08 | 604 | 47.54 | 0 | 0 | 0 | PARTIAL
TID — Turlock Irrigation District | Schedule HT | TID — Turlock Irrigation District¦Schedule HT | 0.1464 | 0.0892 | 0 | 300 | 16 | 0 | 0 | 0 | VERIFIED
Alameda Municipal Power | Schedule A-3 | Alameda Municipal Power¦Schedule A-3 | 0.14673 | 0.14673 | 0.14673 | 573.6 | 17.96 | 0 | 0 | 0 | VERIFIED
Azusa Light & Water | Azusa Schedule TOU | Azusa Light & Water¦Azusa Schedule TOU | 0.15455 | 0.07026 | 0 | 42.15 | 12.01 | 0 | 0 | 0 | VERIFIED
SCE — Southern California Edison | TOU-EV-9 PLACEHOLDER <2kV | SCE — Southern California Edison¦TOU-EV-9 PLACEHOLDER <2kV | 0.52398 | 0.13292 | 0.08666 | 701.42 | 0 | 0 | 0 | 0 | PLACEHOLDER 2021 VINTAGE
SCE — Southern California Edison | TOU-EV-9 PLACEHOLDER 2-50kV | SCE — Southern California Edison¦TOU-EV-9 PLACEHOLDER 2-50kV | 0.48076 | 0.12201 | 0.08199 | 373.12 | 0 | 0 | 0 | 0 | PLACEHOLDER 2021 VINTAGE
SCE — Southern California Edison | TOU-EV-8 PLACEHOLDER | SCE — Southern California Edison¦TOU-EV-8 PLACEHOLDER | 0.59521 | 0.15808 | 0.09772 | 194.05 | 0 | 0 | 0 | 0 | PLACEHOLDER 2021 VINTAGE
Redding Electric Utility | E2 — Small Commercial (no demand charge) | Redding Electric Utility¦E2 — Small Commercial (no demand charge) | 0.1649 | 0.1649 | 0.1649 | 70 | 0 | 0 | 0 | 0 | UNVERIFIED — third-party summary
Redding Electric Utility | E7/E8 — Large Commercial (demand) | Redding Electric Utility¦E7/E8 — Large Commercial (demand) | 0.1086 | 0.1086 | 0.1086 | 95 | 21.5 | 0 | 0 | 0 | UNVERIFIED — third-party summary

## CTX Price Book
CTX Price Book
Category | SKU | Description | Our Cost | MSRP |  | Category List | ← Pick a Category first
_L2 | CTX-R40-240-1 | 40A Single Home Charger | 273.8 | 605 |  | _L2
| CTX-R48-240-1 | 48A Single Home Charger | 235 | 605 |  | _kW30
| CTX-C32-240-1 | 32A Single Commercial L2 Charger | 510.3 | 1402.5 |  | _kW60
| CTX-C48-240-1 | 48A Single Commercial L2 Charger (18' Cable with Modem) | 510.3 | 1402.5 |  | _kW120
| CTX-C80-240-1 | 80A Single Commercial L2 Charger (18' Cable with Modem) | 640 | 1650 |  | _kW160
| CTX-C40-240-2 | 40A Dual Commercial L2 Charger (18' Cable with Modem) | 760.78 | 1952.5 |  | _kW180
| CTX-C80-240-2 | 80A Dual Commercial L2 Charger (18' Cable with Modem) | 828.95 | 2194.5 |  | _kW240
| CTX-C80-240-1-ISO | 80A Single Commercial L2 Charger (18' Cable with Modem) | 595.35 | 2255 |  | _kW360
| CTX-C40-240-2-ISO | 40A Dual Commercial L2 Charger (18' Cable with Modem) | 828.12 | 2530 |  | _Distributed_System
| CTX-C80-240-2-ISO | 80A Dual Commercial L2 Charger (18' Cable with Modem) | 1043.95 | 2805 |  | _Buy_America
_kW30 | TP5-30-480-1 | Gen2 30kW DCFC Wall Mount - 100 Amps / 1000VDC with CCS1 (~16ft) | 3600 | 13750 |  | _V2G
| TP5-30-480-3 | Gen 2Gen 30kW DCFC Wall Mount - 200 Amps / 1000VDC with NACS (~16ft) | 3600 | 13750 |  | _L2_Accessories
_kW60 | TP5-60-480-1 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft) ; 4G Modem | 8100 | 28500 |  | _CTX_Warranty
| TP5-60-480-2 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft) ; 4G Modem | 8100 | 28500 |  | _CTX_Service_Plans
| TP5-60-480-3 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & NACS(~16ft) ; 4G Modem | 8100 | 28500
| TP5-60-480-4 | 60kW DCFC - 200 Amps / 1000VDC with NACS & NACS(~16ft) ; 4G Modem | 8100 | 28500
| CTX-AiO-60-2-200 | Gen 2 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft) ; 4G Modem | 14145 | 31350
| CTX-AiO-60-3-200 | Gen 2 60kW DCFC - 200 Amps / 1000VDC with CCS1 & NACS(~16ft) ; 4G Modem | 14145 | 31350
| CTX-AiO-60-4-200 | Gen 2 60kW DCFC - 200 Amps / 1000VDC with NACS & NACS(~16ft) ; 4G Modem | 14145 | 31350
_kW120 | TP5-120-480-1 | 120kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft) ; Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| TP5-120-480-2 | 120kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| TP5-120-480-2-300 | 120kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| TP5-120-480-3-300 | 120kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS (~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| CTX-AiO-120-2-350 | Gen3 120kW CCS1 350A + CCS1 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-3-350 | Gen3 120kW CCS1 350A + NACS 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-4-350 | Gen3 120kW NACS 350A + NACS 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-5-350 | Gen3 120kW Single CCS1 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-6-350 | Gen3 120kW Single NACS 350A ; Cable Management + CC | 15950 | 59400
_kW160 | TP5-160-480-1 | 160kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft); It can dispense 200A on single connector and can charge 2 cars simultaneously with 80kW each or 100kW CCS1 and 60kW CHAdeMO ; 4G Modem |  | 57000
| TP5-160-480-2 | 160kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft); It can dispense 200A on single connector and can charge 2 cars simultaneously with 80kW each ; 4G Modem |  | 57000
| TP5-160-480-3 | 160kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & NACS (~16ft); It can dispense 200A on single connector and can charge 2 cars simultaneously with 80kW each ; 4G Modem |  | 57000
| TP5-160-480-2-300 | 160kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 80kW each ; 4G Modem |  | 57000
| HPC-160-480-1 | 160kW HPC All In One Charger - 400 Amps / 1000VDC with Liquid Cooled Connector for CCS1(~14ft) & CHAdeMO(~16ft) ; It can deliver 400A on the CCS coonnector. Can charge 2 cars simultaneously with 80kW each or 100kW CCS1 and 60kW CHAdeMO ; 4G Modem |  | 68000
| HPC-160-480-2 | 160kW HPC All In One Charger - 400 Amps / 1000VDC with Liquid Cooled Connector for CCS1(~14ft) & CHAdeMO(~16ft) ; It can deliver 400A on the CCS coonnector. Also can charge 2 cars with 200Amps each; 4G Modem |  | 70000
| CTX-AiO-160-2-350 | Gen3 160kW CCS1 350A + CCS1 350A ; Cable Management + CC | 17595 | 68200
| CTX-AiO-160-3-350 | Gen3 160kW CCS1 350A + NACS 350A ; Cable Management + CC | 17595 | 68200
| CTX-AiO-160-4-350 | Gen3 160kW NACS 350A + NACS 350A ; Cable Management + CC | 17595 | 68200
| CTX-AiO-160-5-350 | Gen3 160kW Single CCS1 350A ; Cable Management + CC |  | 68200
| CTX-AiO-160-6-350 | Gen3 160kW Single NACS 350A ; Cable Management + CC |  | 68200
_kW180 | TP5-180-480-1 | 180kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft); Can charge 2 cars simultaneously with 90kW each or 120kW on CCS1 and 60kW on CHAdeMO; 4G Modem | 19500 | 62000
| TP5-180-480-2 | 180kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem | 19500 | 62000
| TP5-180-480-2-300 | 180kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem | 19500 | 62000
| TP5-180-480-3-300 | 180kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS (~16ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem | 19500 | 62000
| TP5-180-480-2-300-CL20 | 180kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~20ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem |  | 62000
_kW240 | TP5-240-480-2-300 | 240kW DCFC All In One Charger - 350A Cable / 1000VDC Dual CCS1 ; Can charge 2 cars simultaneously with 120kW each ; 4G Modem | 25000 | 80000
| TP5-240-480-2-400 | 240kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS; Can charge 2 cars simultaneously with 120kW each ; 4G Modem | 25000 | 80000
| HPC-240-480-1 | 240kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1 & CHAdeMO(~14ft) ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem |  | 98000
| HPC-240-480-2 | 240kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS coonnector and 250A on each connector if used simultaneously ; 4G Modem |  | 98000
| CTX-AiO-240-2-300 | Gen3 240kW CCS1 350A + CCS1 350A; Cable Management + CC | 24725 | 88000
| CTX-AiO-240-3-300 | Gen3 240kW CCS1 350A + NACS 350A; Cable Management + CC | 24725 | 88000
| CTX-AiO-240-4-300 | Gen3 240kW NACS 350A + NACS 350A; Cable Management + CC | 24725 | 88000
| CTX-AiO-240-5-300 | Gen3 240kW Single CCS1 350A; Cable Management + CC | 24725 | 88000
_kW360 | TP5-360-480-1-300 | 360kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & CHAdeMO ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| TP5-360-480-2-300 | 360kW DCFC All In One Charger - 350A Cable / 1000VDC Dual CCS1 ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| TP5-360-480-3-300 | 360kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| TP5-360-480-4-300 | 360kW DCFC All In One Charger - 1000VDC, Cables: 400A NACS / 400A NACS ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| HPC-360-480-1 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1 & CHAdeMO(~14ft) ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem | 65520 | 110000
| HPC-360-480-2 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 500A on one CCS coonnector and 400A on each connector if used simultaneously ; 4G Modem | 65520 | 110000
| HPC-360-480-3 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1 & NACS ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem | 65520 | 110000
| HPC-360-480-4 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for NACS / NACS ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem | 65520 | 110000
_Distributed_System | CTX-DSPB-360 | 360kW Tower | 28750 | 81400
| CTX-DSPB-480 | 480kW Tower | 31000 | 90200
| CTX-DSPB-1280 | 1,280kW Tower | 0 | 225000
| CTX-DST-2-300 | Dispenser 300/300 | 13100 | 35200
| CTX-DST-HPC-2-500/300 | Dispenser 500/300 | 24725 | 49500
_Buy_America | TP5-60-480-2-BAA | Buy America NEVI Compliant, Assembled in CA, USA 60kW DCFC - 140 Amps / 1000VDC with CCS1 & CCS1(~16ft) ; 4G Modem | 17500 | 68200
| TP5-60-480-3-BAA | Buy America NEVI Compliant, Assembled in CA, USA 60kW DCFC - 140 Amps / 1000VDC with CCS1 & NACS ; 4G Modem | 17500 | 68200
| TP5-60-480-4-BAA | Buy America NEVI Compliant, Assembled in CA, USA 60kW DCFC - 140 Amps / 1000VDC with NACS & NACS ; 4G Modem | 0 | 68200
| TP5-120-480-2-300-BAA | Buy America NEVI Compliant, Assembled in CA, USA 120kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 14480 | 75900
| TP5-120-480-3-300-BAA | Buy America NEVI Compliant, Assembled in CA, USA 120kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & NACS; Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 14480 | 75900
| TP5-120-480-4-300-BAA | Buy America NEVI Compliant, Assembled in CA, USA 120kW DCFC All In One Charger - 350A Cable / 1000VDC with NACS & NACS(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 14480 | 75900
| TP5-180-480-2-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Air Cooled 350A Cable (BAA) CCS1 / CCS1 1000VDC Connector for Dual CCS1; Can deliver 350A on one CCS conector. Set to Sequential Mode Only. | 35500 | 82500
| TP5-180-480-3-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Air Cooled 350A Cable (BAA) CCS1 / NACS 1000VDC Connector for Dual CCS1; Can deliver 350A on one CCS conector. Set to Sequential Mode Only. | 35500 | 82500
| TP5-180-480-4-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Air Cooled 350A Cable (BAA) NACS / NACS 1000VDC Connector for Dual CCS1; Can deliver 350A on one CCS conector. Set to Sequential Mode Only. | 35500 | 82500
| HPC-180-480-2-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Liquid Cooled (BAA) Dual CCS1 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS connector. Set to Sequential Mode Only | 43500 | 82500
| HPC-180-480-3-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Liquid Cooled (BAA) CCS1 / NACS 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS connector. Set to Sequential Mode Only | 43500 | 82500
| HPC-180-480-4-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Liquid Cooled (BAA) NACS /NACS 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS connector. Set to Sequential Mode Only | 43500 | 82500
| TP5-360-480-2-BAA | Buy America NEVI Compliant 360kW Air Cooled 350A Cable (BAA) Dual CCS1 / 1000VDC Connector for Dual CCS1 ; Can deliver 350A on one CCS connector and 350A on each connector if used simultaneously ; 4G Modem | 0 | 138600
| TP5-360-480-3-BAA | Buy America NEVI Compliant 360kW Air Cooled 350A Cable (BAA) Dual CCS1 / 1000VDC Connector for CCS1/NACS ; Can deliver 350A on one CCS connector and 350A on each connector if used simultaneously ; 4G Modem | 0 | 138600
| TP5-360-480-4-BAA | Buy America NEVI Compliant 360kW Air Cooled 350A Cable (BAA) Dual CCS1 / 1000VDC Connector for NACS/NACS ; Can deliver 350A on one CCS connector and 350A on each connector if used simultaneously ; 4G Modem | 0 | 138600
| HPC-360-480-2-BAA | Buy America NEVI Compliant 360kW Liquid Cooled (BAA) 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 500A on one CCS connector and 400A on each connector if used simultaneously ; 4G Modem | 0 | 137500
| HPC-360-480-3-BAA | Buy America NEVI Compliant 360kW Liquid Cooled (BAA) 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1/NACS ; Can deliver 500A on one CCS connector and 400A on each connector if used simultaneously ; 4G Modem | 0 | 137500
| HPC-360-480-4-BAA | Buy America NEVI Compliant 360kW Liquid Cooled (BAA) 500 Amps / 1000VDC with Liquid Cooled Connector for NACS/NACS ; Can deliver 500A on one CCS connector and 400A on each connector if used simultaneously ; 4G Modem | 0 | 137500
_V2G | CTX-V2G-20-480-1 | 20kW V2G Charger | 5800 | 16700
| CTX-V2G-30-480-1 | 30kW V2G Charger | 8250 | 23800
| CTX-V2G-40-480-1 | 40kW V2G Charger | 12500 | 35900
| CTX-V2G-60-480-1 | 60kW V2G Charger | 17500 | 50000
_L2_Accessories | CTX-FLUXPED | Single Post (no Retraction) | 142.47 | 412.5
| CTX-FLUXWAL-CMS-1 | Single Retractor (Wall) | 92.71 | 275
| CTX-FLUXPED-CMS-1 | Single Retractor post | 142.15 | 412.5
| CTX-FLUXPED-CMS-2 | Dual Retractor (Post) | 224.6 | 632.5
| CTX-FLUXPED-SBS | Side By Side Bracket | 44.18 | 137.5
_CTX_Warranty | CTX-W-AC-3 | 3 year |  | 884.52
| CTX-W-AC-5 | 5 year |  | 1474.2
| CTX-W-30-3 | 3 year |  | 1436.29
| CTX-W-30-5 | 5 year |  | 4308.88 | 861.776
| CTX-W-60-3 | 3 year |  | 2888.52
| CTX-W-60-5 | 5 year |  | 4814.2 | 962.84
| CTX-W-120-3 | 3 year |  | 3590.73
| CTX-W-120-5 | 5 year |  | 5984.55 | 1196.91
| CTX-W-160-3 | 3 year |  | 4285.71
| CTX-W-160-5 | 5 year |  | 7142.85
| CTX-W-180-3 | 3 year |  | 3094.74
| CTX-W-180-5 | 5 year |  | 9284.22
| CTX-W-240-3 | 3 year |  | 4514.4
| CTX-W-240-5 | 5 year |  | 13543.2
| CTX-W-360-3 | 3 year |  | 12153.24
| CTX-W-360-5 | 5 year |  | 20255.4
_CTX_Service_Plans | CTX-SW-30-2 | 2 year |  | 2939.11
| CTX-SW-30-3 | 3 year |  | 5255.71
| CTX-SW-30-5 | 5 year |  | 9888.91 | 1977.782
| CTX-SW-60-2 | 2 year |  | 2952.72
| CTX-SW-60-3 | 3 year |  | 4429.08
| CTX-SW-60-5 | 5 year |  | 7381.8
| CTX-SW-120-2 | 2 year |  | 3233.52
| CTX-SW-120-3 | 3 year |  | 4850.28
| CTX-SW-120-5 | 5 year |  | 8083.8
| CTX-SW-160-2 | 2 year |  | 3758.4
| CTX-SW-160-3 | 3 year |  | 5637.6
| CTX-SW-160-5 | 5 year |  | 9396
| CTX-SW-180-2 | 2 year |  | 4419.36
| CTX-SW-180-3 | 3 year |  | 8125.92
| CTX-SW-180-5 | 5 year |  | 15539.04
| CTX-SW-240-2 | 2 year |  | 5621
| CTX-SW-240-3 | 3 year |  | 14545.26
| CTX-SW-240-5 | 5 year |  | 32393.77
| CTX-SW-360-2 | 2 year |  | 9797.76
| CTX-SW-360-3 | 3 year |  | 14696.64
| CTX-SW-360-5 | 5 year |  | 24494.4
Charger | Quantity | Yearly Warranty | IW Service | Warranty + Service >Year 2 |  | Free Warranty Years
AC Charger - 7.2 kW UP80J-PMP Single | 0 | 416 | 320.11 | 736.11 |  | 1
AC Charger - 7.2 kW UP80J-PMP Single | 0 | 416 | 320.11 | 736.11 |  | 1
AC Charger - 7.2 kW UP80J-PMP Single | 0 | 416 | 320.11 | 736.11 |  | 1
AC Charger - 7.2 kW UP80J-PMP Single | 0 | 416 | 320.11 | 736.11 |  | 1
DC-60kW CCS1 + CHAdeMO | 0 | 962.84 | 1476.36 | 2439.2 |  | 2
DC-120kW CCS1 + CHAdeMO | 0 | 1196.91 | 1616.76 | 2813.67 |  | 2
DC-160kW CCS1 + CHAdeMO | 0 | 1428.57 | 1879.2 | 3307.77 |  | 2
DC-180KW | 0 | 1856.844 | 2708.64 | 4565.484 |  | 2
DC-240KW | 0 | 2708.64 | 6478.754 | 9187.394 |  | 2
DC-360kW CCS1 + CCS1 | 0 | 4051.08 | 4898.88 | 8949.96 |  | 2
CTX-DSPB-360 |  | 5063.85 | 6123.6 | 11187.45
CTX-DSPB-480 |  | 6583.01 | 7654.5 | 14237.51
CTX-DSPB-1280 |  | 9874.51 | 9568.13 | 19442.64
Total | 0
Note on C135: Sam Mathew: All single-port L2 chargers from INPUT SHEET (SKUs ending -1 or -1-ISO). PMP vs WMP mount cannot be determined from INPUT SHEET SKUs, so all singles are counted here.
Note on F135: Sam Mathew: Free warranty years included with purchase. AC chargers = 1 year. Driver for warranty billing on Internal Summary.
Note on H135: Sam Mathew: MSRP. Source: Svc Wrrty!D5 — out-of-warranty service cost, yearly. Reference only; feeds no formulas.
Note on C136: Sam Mathew: All dual-port L2 chargers from INPUT SHEET (SKUs ending -2 or -2-ISO).
Note on H136: Sam Mathew: MSRP. Source: Svc Wrrty!D6 — out-of-warranty service cost, yearly.
Note on C137: Sam Mathew: WMP variant cannot be distinguished from INPUT SHEET SKUs — all singles counted in the row above.
Note on H137: Sam Mathew: MSRP. Source: Svc Wrrty!D7 — out-of-warranty service cost, yearly.
Note on C138: Sam Mathew: WMP variant cannot be distinguished from INPUT SHEET SKUs — all duals counted in the Dual PMP row.
Note on H138: Sam Mathew: MSRP. Source: Svc Wrrty!D8 — out-of-warranty service cost, yearly.
Note on F139: Sam Mathew: Free warranty years included with purchase. DC chargers = 2 years.
Note on H139: MSRP. Source: Svc Wrrty!D10 — out-of-warranty service cost, yearly.
Note on H140: MSRP. Source: Svc Wrrty!D11 — out-of-warranty service cost, yearly.
Note on H141: Sam Mathew: MSRP. Source: Svc Wrrty!D12 — out-of-warranty service cost, yearly.
Note on C142: Sam Mathew: Per user: DC-300kW row uses the _kW240 category total (no 300kW category exists on INPUT SHEET).
Note on H142: MSRP. Source: Svc Wrrty!D13 — out-of-warranty service cost, yearly.
Note on H144: MSRP. Source: Svc Wrrty!D13 — out-of-warranty service cost, yearly.

## INPUT SHEET CPM
| Level 2 |  |  |  | Level 3 | [5 empty] | 480
Type of Charger per Rating | L2 Single P | L2 Dual P | L2 Single W | L2 Dual W | 30 | 100 | 120 | 160 | 240 | 360 | TOTAL | CONTRACT LENGTH | 5 | Charger | QTY
Quantity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KVA per Phase
Breaker size per port (in A)
Quantity of Ports | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rating per Port for L2 (in KW) | 7.7 | 19.2 | 7.7 | 19.2 | 60 | 120 | 160 | 180 | 300 | 360
CALCULATIONS
Breaker size per port (in A) | 30 | 30 | 30 | 30 | 100 | 200 | 300 | 400 | 500 | 600
Quantity of Charger Breakers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Load Size | 0 |  |  |  | 0 | [6 empty] | Labor In Days | 30
Total Kva | 0 |  |  |  | 0
Quantity of Sub-panels | 0 |  |  |  | 0 | [6 empty] | Rebate Amount | 0
Sub-panel Size | 600 |  |  |  | 0
Main Breaker Size | 600 |  |  |  | 0
Total Gear Size @208V (AMPERAGE) | 0
Total Gear Size @ 480 V (AMPERAGE) |  |  |  |  | 100
STANDARD RFC
[14 empty] | Address | 0
[14 empty] | RSM: | 0
[14 empty] | Client Info: | 0
CPM:
[14 empty] | Utility: | 0
[14 empty] | Scope of Work : Pictures Attatched on INPUT SHEET | 0

## Costs Internal
Electrical Supply & Construction Management Costs | Quantity | Individual Cost | Contingency | Final Cost | Total
Wires, Conduits and Peripherals | 1 | 18686.2555 | 10% | 8623.7355 | 8623.7355 | Labor
Main Distribution Switchgear | 1 | 43292.68 | 10% | 44543.73 | 44543.73 | Daily Cost | 2750
Electrical Sub-Panels, Transformers, Breakers | 1 | 3900 | 10% | 0 | 0 | Total Business Days | 28
Bollards, Signage | 1 | 3068.3 | 10% | 0 | 0 | Total Months | 1
Asphalt, Paving, and Striping | 1 | 12001.75 | 10% | 1728.3035 | 1728.3035 | Total Labor | 67500
Concrete Improvements | 1 | 7716.48 | 10% | 4748.4272 | 4748.4272
ADA | 1 | 16600 | 10% | 11858 | 11858
Dump/ Waste | 1 | 875 | 10% | 2420 | 2420
Permits | 1 | 560 | 10% | 1210 | 1210
Utility | 1 | 7500 | 10% | 0 | 0
Construction Equipment | 1 | 12521 | 10% | 13787.5023 | 13787.5023
Construction PM | 1 | 28505 | 0%
88919.6985
ZERO IMPACT BUILDERS COSTS
Labor | 30 | 2250 | 10% | 2475 | 74250
74250
| Total |  |  |  | 163169.6985

## EV_SUB 2P 208V
PANEL SCHEDULE
|  | NAME | EV_Main |  | LOCATION |  | OUTDOOR |  | VOLTAGE | 277 | 480 | 3PH 4W |  | MAIN | 400 | 400A 3P
[5 empty] | FED BY |  | UTILITY |  | ENCLOSURE |  | NEMA3R |  |  | BUS BAR | 400 | A
[5 empty] | MOUNTING |  | SURFACE |  | PANEL TYPE |  | NF |  |  | MAIN AIC | 65000
| CKT | DESCRIPTION |  | BREAKER | POLES | A |  | B |  | C |  | POLES | BREAKER | DESCRIPTION |  | CKT
A | 1 | [10 empty] | 3 | 200 |  |  | 2 | A
B | 3 | --- | [13 empty] | 4 | B
C | 5 | --- | [11 empty] | --- |  | 6 | C
A | 7 | [14 empty] | 8 | A
B | 9 | --- | [11 empty] | --- |  | 10 | B
C | 11 | --- | [11 empty] | --- |  | 12 | C
A | 13 | [14 empty] | 14 | A
B | 15 | --- | [11 empty] | --- |  | 16 | B
C | 17 | --- | [11 empty] | --- |  | 18 | C
A | 19 | [14 empty] | 20 | A
B | 21 | --- | [11 empty] | --- |  | 22 | B
C | 23 | --- | [11 empty] | --- |  | 24 | C
A | 25 | [14 empty] | 26 | A
B | 27 | --- | [11 empty] | --- |  | 28 | B
C | 29 | --- | [11 empty] | --- |  | 30 | C
A | 31 | [14 empty] | 32 | A
B | 33 | --- | [11 empty] | --- |  | 34 | B
C | 35 | --- | [11 empty] | --- |  | 36 | C
A | 37 | [14 empty] | 38 | A
B | 39 | [14 empty] | 40 | B
C | 41 | [14 empty] | 42 | C
|  |  |  | TOTAL VA |  | 0 |  | 0 |  | 0 |  | TOTAL 3PH VA |  | 0
|  |  |  | DEMAND VA |  | 0 |  | 0 |  | 0 |  | TOTAL DEMAND VA |  | 0
|  |  |  | HIGH PH VA |  | 0 |  | 0 |  | 0 |  | TOTAL AMP |  | 0
|  |  |  | HIGH PH AMP | [7 empty] | MAIN BREAKER |  | 400
PANEL SCHEDULE
|  | NAME | SB 2 |  | LOCATION |  | OUTDOOR |  | VOLTAGE | 120 | 208 | 3PH 4W |  | MAIN | 300 | A 3P
[5 empty] | FED BY |  | UTILITY |  | ENCLOSURE |  | NEMA3R |  |  | BUS BAR | 300 | A
[5 empty] | MOUNTING |  | SURFACE |  | PANEL TYPE |  | NF |  |  | MAIN AIC | 22000
| CKT | DESCRIPTION |  | BREAKER | POLES | A |  | B |  | C |  | POLES | BREAKER | DESCRIPTION |  | CKT
A | 1 | EV CHARGER L2 #1A |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #2A |  | 2 | A
B | 3 | --- | [11 empty] | --- |  | 4 | B
C | 5 | EV CHARGER L2 #1B |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #2B |  | 6 | C
A | 7 | --- | [11 empty] | --- |  | 8 | A
B | 9 | EV CHARGER L2 #3A |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #4A |  | 10 | B
C | 11 | --- | [11 empty] | --- |  | 12 | C
A | 13 | EV CHARGER L2 #3B |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #4B |  | 14 | A
B | 15 | --- | [11 empty] | --- |  | 16 | B
C | 17 | EV CHARGER L2 #5A |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #6A |  | 18 | C
A | 19 | --- | [11 empty] | --- |  | 20 | A
B | 21 | EV CHARGER L2 #5B |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #6B |  | 22 | B
C | 23 | --- | [11 empty] | --- |  | 24 | C
A | 25 | --- | [11 empty] | --- |  | 26 | A
B | 27 | [14 empty] | 28 | B
C | 29 | [14 empty] | 30 | C
A | 31 | [14 empty] | 32 | A
B | 33 | [14 empty] | 34 | B
C | 35 | [14 empty] | 36 | C
A | 37 | [14 empty] | 38 | A
B | 39 | [14 empty] | 40 | B
C | 41 | [15 empty] | C
A | 43 | [15 empty] | A
B | 45 | [15 empty] | B
C | 47 | [15 empty] | C
|  |  |  | TOTAL VA |  | 0 |  | 0 |  | 0 |  | TOTAL 3PH VA |  | 0
|  |  |  | DEMAND VA |  | 0 |  | 0 |  | 0 |  | TOTAL DEMAND VA |  | 0
|  |  |  | HIGH PH VA |  | 0 |  | 0 |  | 0 |  | TOTAL AMP |  | 0
|  |  |  | HIGH PH AMP |  | 0 |  | 0 |  | 0 |  | MAIN BREAKER |  | 200

## CPM Calcs
| CHARGER PLACEMENT AND DISTANCE FROM DISTRIBUTION | [14 empty] | DATE |  |  |  | DATE |  |  |  | Rexel 3/20/26
[14 empty] | Cu |  | 2026-03-20 |  | PVC |  | 2026-03-20 |  |  |  | CU WIRE* |  |  |  | AL WIRE* |  |  |  | COND |  | PVC
Material | L2 | Charger | Distance | Wire Length | Wire Size | Conduit Length | Conduit Size | Grounding | Grounding Wire Size | CAT 5 Cable | Conduit Length | Conduit Size |  | Wire | Quantity | Unit Cost | Total | Conduit | Quantity | Unit Cost | Total | Grand Total |  | SIZE | TYPE | PRICE |  | SIZE | TYPE | PRICE |  | SIZE | EMT | SCH-40
| Dual | 0 | 0 | 0 | 8 AWG | 0 | (1") | 0 | 10 AWG | 0 | 0 | (3/4") |  | 10 AWG | 0 | 0.30329 | 0 | (1/2") | 0 | 0.2445 | 0 | 0 |  | 10 SOL | THHN | 289.6 |  | 10 | XHHW | 280 |  | 3/8
[14 empty] | 8 AWG | 0 | 0.56613 | 0 | (3/4") | 15 | 0.2912 | 4.368 | 4.368 |  | 10 STR | THHN | 303.29 |  | 8 | XHHW |  |  | 1/2 | 46.62 | 24.45
[14 empty] | 6 AWG | 15 | 0.87104 | 13.0656 | (1") | 0 | 0.4698 | 0 | 13.0656 |  | 8 | THHN | 566.13 |  | 6 | XHHW | 306.36 |  | 3/4 | 79.72 | 29.12
[14 empty] | 4 AWG | 0 | 1.3329 | 0 | (1 1/4") | 0 | 0.6155 | 0 | 0 |  | 6 | THHN | 871.04 |  | 4 | XHHW | 379.98 |  | 1 | 139.78 | 46.98
[14 empty] | 2 AWG | 0 | 2.1044 | 0 | (1 1/2") | 0 | 0.7129 | 0 | 0 |  | 4 | THHN | 1332.93 |  | 3 | XHHW | 366.81 |  | 1-1/4 | 226.49 | 61.55
[14 empty] | 1 AWG | 0 | 2.3983 | 0 | (2") | 15 | 0.8897 | 13.3455 | 13.3455 |  | 3 | THHN | 1681.26 |  | 2 | XHHW | 482.1 |  | 1-1/2 | 276.41 | 71.29
[14 empty] | 1 /0 | 0 | 2.953 | 0 | (2 1/2") | 0 | 1.396 | 0 | 0 |  | 2 | THHN | 2104.4 |  | 1 | XHHW | 667.33 |  | 2 | 315.97 | 88.97
[14 empty] | 2 /0 | 0 | 3.6376 | 0 | (3") | 0 | 1.7033 | 0 | 0 |  | 1 | THHN | 2398.33 |  | 1/0 | XHHW | 750.45 |  | 2-1/2 | 491.85 | 139.6
[14 empty] | 3 /0 | 45 | 4.5658 | 205.461 | (3 1/2") | 0 | 2.25 | 0 | 205.461 |  | 1/0 | THHN | 2953.04 |  | 2/0 | XHHW | 887.01 |  | 3 | 622.69 | 170.33
[14 empty] | 4 /0 | 0 | 5.7304 | 0 | (4") | 0 | 2.3164 | 0 | 0 |  | 2/0 | THHN | 3637.58 |  | 3/0 | XHHW | 1099.56 |  | 3-1/2 | 822.39 | 225
[14 empty] | 250 KCMIL | 0 | 6.6402 | 0 | (5") | 0 | 3.3106 | 0 | 0 |  | 3/0 | THHN | 4565.8 |  | 4/0 | XHHW | 1227.8 |  | 4 | 827.46 | 231.64
[14 empty] | 300 KCMIL | 0 | 7.9632 | 0 |  |  |  |  | 0 |  | 4/0 | THHN | 5730.45 |  | 250 | XHHW | 1496.16 |  | 5 |  | 331.06
[14 empty] | 350 KCMIL | 0 | 9.3242 | 0 |  |  |  |  | 0 |  | 250 | THHN | 6640.16 |  | 300 | XHHW | 2061.37 |  | 6
[14 empty] | 400 KCMIL | 0 | 10.6067 | 0 |  |  |  |  | 0 |  | 300 | THHN | 7963.2 |  | 350 | XHHW | 2104.12
[14 empty] | 450 KCMIL | 0 | 11.334 | 0 |  |  |  |  | 0 |  | 350 | THHN | 9324.16 |  | 400 | XHHW | 2457.97
[14 empty] | 500 KCMIL | 0 | 13.3006 | 0 |  |  |  |  | 0 |  | 400 | THHN | 10606.71 |  | 450 | XHHW
[14 empty] | 600 KCMIL | 0 | 16.5738 | 0 |  |  |  |  | 0 |  | 450 | THHN | 11334 |  | 500 | XHHW | 2720.4
[14 empty] | 700 KCMIL | 0 |  | 0 |  |  |  |  | 0 |  | 500 | THHN | 13300.59 |  | 600 | XHHW | 3443.54
[14 empty] | 750 KCMIL | 0 | 25.921 | 0 |  |  |  |  | 0 |  | 600 | THHN | 16573.82 |  | 700 | XHHW | 4809
[14 empty] | 800 KCMIL | 0 |  | 0 |  |  |  |  | 0 |  | 700 | THHN |  |  | 750 | XHHW | 4859
[14 empty] | 900 KCMIL | 0 |  | 0 |  |  |  |  | 0 |  | 750 | THHN | 25921 |  | 800 | XHHW
[14 empty] | 1000 KCMIL | 0 | 34.398 | 0 |  |  |  |  | 0 |  | 800 | THHN |  |  | 900 | XHHW | 7566
[22 empty] | 236.2401 |  | 900 | THHN |  |  | 1000 | XHHW | 6668
| Total |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | [12 empty] | 1000 | THHN | 34398
Manual Entry only
| PANEL PLACEMENT AND DISTANCE FROM DISTRIBUTION | [14 empty] | DATE |  |  |  | DATE
[14 empty] | Al |  | 2026-03-20 |  | PVC |  | 2026-03-20 |  |  |  | 3/20/26 |  | 480V | [5 empty] | 208V
| Size | Panel | Distance | Wire Length | Wire Size | Conduit Length | Conduit Size | Grounding | Grounding Wire Size | Runs |  |  |  | Wire | Quantity | Unit Cost | Total | Conduit | Quantity | Unit Cost | Total | Grand Total |  | SN | Description | Size | Cost | Voltage |  | 20 | Main | 350A | 14500 |  | 208V
| Pole - TX | 1 | 0 | 0 | 600 KCMIL | 0 | (4") | 0 | 4 AWG | 1 | Cu |  |  | 10 AWG |  | 0.28 | 0 | (1/2") |  | 0.2445 | 0 | 0 | [7 empty] | 21 | breakers | 40A | 180 |  | 208V
| TX - SG | 2 | 0 | 0 | 600 KCMIL | 0 | (4") | 0 | 4 AWG | 3 |  |  |  | 8 AWG |  |  | 0 | (3/4") |  | 0.2912 | 0 | 0 |  | 1 | Main | 400A | 20426.82 | 480V
[14 empty] | 6 AWG |  | 0.30636 | 0 | (1") |  | 0.4698 | 0 | 0 |  | 2 | Main | 800A | 31187 | 480V |  | 22 | main breakers | 400A | 1900 |  | 208V
[14 empty] | 4 AWG |  | 0.37998 | 0 | (1 1/4") |  | 0.6155 | 0 | 0 |  | 3 | Main | 1000A | 36812.5 | 480V |  | 23 | main breakers | 600A | 3400 |  | 208V
[14 empty] | 2 AWG |  | 0.36681 | 0 | (1 1/2") |  | 0.7129 | 0 | 0 |  | 4 | Main | 1200A | 43292.68 | 480V
[14 empty] | 1 AWG |  | 0.4821 | 0 | (2") |  | 0.8897 | 0 | 0 |  | 5 | Main | 1600A | 56750 | 480V |  | 24 | Transformer | 75KVA | 2970 |  | 208V
| Total |  | 0 | 0 |  | 0 |  | 0 | [5 empty] | 1 /0 |  | 0.66733 | 0 | (2 1/2") |  | 1.396 | 0 | 0 |  | 7 | Main | 2000A | 60000 | 480V |  | 25 | Transformer | 112.5KVA | 3250 |  | 208V
[14 empty] | 2 /0 |  | 0.75045 | 0 | (3") |  | 1.7033 | 0 | 0 |  | 8 | Main | 2500 | 58540 | 480V |  | 26 | Transformer | 150KVA | 5298 |  | 208V
| CHARGER PLACEMENT AND DISTANCE FROM DISTRIBUTION | [12 empty] | 3 /0 |  | 0.88701 | 0 | (3 1/2") |  | 2.25 | 0 | 0 |  | 9 | Main | 3000A | 65000 | 480V |  | 27 | Transformer | 175KVA | 6000 |  | 208V
[14 empty] | 4 /0 |  | 1.0996 | 0 | (4") |  | 2.3164 | 0 | 0 |  | 10 | Main | 4000A | 67500 | 480V |  | 28 | Transformer | 225KVA | 7144 |  | 208V
| L3 | Charger | Distance | Wire Length | Wire Size | Conduit Length | Conduit Size | Grounding | Grounding Wire Size | CAT 5 Cable | Conduit Length | Conduit Size |  | 250 KCMIL |  | 1.2278 | 0 | (5") |  | 3.3106 | 0 | 0 |  | 11 | Main | 5000A | 70000 | 480V |  | 29 | Transformer | 300KVA | 10493 |  | 208V
| 100kW | 0 | 15 | 45 | 3 /0 | 15 | (2") | 15 | 6 AWG | 15 | 15 | (3/4") |  | 300 KCMIL |  | 1.4962 | 0 |  |  |  |  | 0 | [7 empty] | 30 | Transformer | 500KVA | 14500 |  | 208V
[14 empty] | 350 KCMIL |  | 2.0614 | 0 |  |  |  |  | 0 |  | 12 | main breakers | 110A | 650 | 480V
[14 empty] | 400 KCMIL |  | 2.1041 | 0 |  |  |  |  | 0 |  | 13 | main breakers | 125A | 700 | 480V |  | 31 | sub-Panel | 150A | 1000 |  | 208V
[14 empty] | 450 KCMIL |  | 2.7204 | 0 |  |  |  |  | 0 |  | 14 | main breakers | 250A | 1100 | 480V |  | 32 | sub-Panel | 250A | 1120 |  | 208V
[14 empty] | 500 KCMIL |  | 2.7204 | 0 |  |  |  |  | 0 |  | 15 | main breakers | 3000A | 32500 | 480V |  | 33 | sub-Panel | 400A | 1660 |  | 208V
[14 empty] | 600 KCMIL |  | 2.7204 | 0 |  |  |  |  | 0 |  | 16 | [5 empty] | 34 | sub-Panel | 600A | 5387 | 20ea 40A | 208V
[14 empty] | 700 KCMIL |  | 3.4435 | 0 |  |  |  |  | 0 |  | 17 | breakers | 100A | 580 | 480V |  | 35 | sub-Panel | 800A | 4650 |  | 208V
[14 empty] | 750 KCMIL |  | 4.809 | 0 |  |  |  |  | 0 |  | 18 | breakers | 200A | 900 | 480V
[14 empty] | 800 KCMIL |  | 4.859 | 0 |  |  |  |  | 0 |  | 19 | breakers | 300A | 1450 | 480V |  | 36 | Distribution panel | 1000A | 30000 |  | 208V
[14 empty] | 900 KCMIL |  |  | 0 |  |  |  |  | 0 |  | 20 | breakers | 500A | 3100 | 480V
[14 empty] | 1000 KCMIL |  | 7.566 | 0 |  |  |  |  | 0 |  | 21 | breakers | 600A | 3700 | 480V |  | 37 | Meter socket | 600A | 1786 |  | 208V
1
| Total |  | 15 | 45 |  | 15 |  | 15 |  | 15 | 15 |  |  | ELECTRICAL GEAR
PERIPHERALS
[15 empty] | Main MSA | Subpanels | Main Breakers | Disconnects | Transfromers | Breakers | Breakers | D. Panels | Meter Socket
| Type | Nuts | Washers | Screws & Bolts | Elbow | Sweeps | GROUND ROD | Uni Strut | Power Strut | Threaded rod | Hole strap | Drop-in Anchors |  | QTY | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| QTY | 400 | 400 | 1 | 6 | 4 | 2 | 6 | 0 | 0 | 0 | 0 |  | Unit Cost | 36813 | 5387 | 1200 | 1700 | 5298 | 800 | 60 | 30000 | 2055.31
| Unit Cost | 0.109 | 0.099 | 182.73 | 6.929 | 75 | 34.87 | 55 | 5.6 | 1.75 | 0.34 | 1.0455 |  | Size | 100 | 600 | 300 | 300 | 150 | 300 | 40 | 1000 | 300A
| Total | 43.6 | 39.6 | 182.73 | 41.574 | 300 | 69.74 | 330 | 0 | 0 | 0 | 0 |  | Voltage | 480 | 208 | 208 | 208 | 208 | 480 | 208 | 208 | 208
| Type | PVC Cement | PVC Bushing | PVC Bushing | PVC Coupling | GPR Scan | Ground Rod Clamp | Combo Lock | Tape/Marking Supplies | Data Box | CAT5 | Charger Anchors |  | Total | 36813 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| QTY | 0.325 | 1 | 1 | 1.5 | 1 | 2 | 2 | 1 | 0 | 15 | 8
| Unit Cost | 18.8 | 7.22 | 11.06 | 1.3 | 2500 | 7.22 | 337.73 | 125.57 | 1500 | 0.1 | 5 | [9 empty] | 0
| Total | 6.11 | 7.22 | 11.06 | 1.95 | 2500 | 14.44 | 675.46 | 125.57 | 0 | 1.5 | 40
| Type | Ply wood | 2'x4' | Sono tubes | Christy box | Cutting/Saw Consumables | Misc Electrical Hdw. | Form Stakes | Wire Dobies | Junction Box | Wheel stop | GFI Test (SgA>1000
| QTY | 6 | 6 | 22 | 0 | 1 | 1 | 20 | 50 | 4 | 0 | 0
| Unit Cost | 55 | 10 | 19 | 160 | 535.16 | 217.5 | 8.63 | 1.18 | 177 | 70.58 | 2000
| Total | 330 | 60 | 418 | 0 | 535.16 | 217.5 | 172.6 | 59 | 708 | 0 | 0
| GRAND TOTAL | 379.71 | 106.82 | 611.79 | 43.524 | 3335.16 | 301.68 | 1178.06 | 184.57 | 708 | 1.5 | 40
6890.814
[10 empty] | Utility Fees | QTY | Costs | Equipment
| Description | QTY | Unit Cost | Total |  |  | Permits | Equipment |  | R16 Fees | 0 | 1000 | 0
| Signs | 0 | 40 | 0 |  |  | 1000 | 11394.63 |  | Transformer Pad | 0 | 1663 | 0
| Sign posts | 0 | 56.1 | 0 | [5 empty] | Cabel well | 0 | 495 | 0
[10 empty] | Utility Vault/Pull Box | 0 | 0 | 0
[10 empty] | PGE Sand | 0 | 105 | 0
[10 empty] | Contract Fees |  |  | 0
| Bollards | 0 | 110 | 0
|  |  |  | 0 | 0 |  | 1000 | 11394.63 |  |  |  |  | 0
| Description | QTY | Unit Cost | Duration | Delivery fees | Total |  |  |  | Concrete | QTY | Costs | Equipment
| Fencing | 90 | 0.3 | 30 | 400 | 1210 |  |  |  | Concrete yd³ | 18 | 193.54 | 3483.72
| Mini x | 1 | 98.5667 | 30 | 0 | 2957 | 0 | 0 |  | Rebar | 4 | 25.65 | 102.6
| Dump Truck | 0 | 520 | 1 | 0 | 0 | Freight/Disposal | 2000 |  | Steel Mesh Roll | 2 | 169 | 338
| Forklift | 0 | 563 | 2 | 0 | 0 | [6 empty] | 3924.32
| Trench Plates | 0 | 5.18 | 30 | 0 | 0 | 0 | 2000
| Storage container | 1 | 185 | 15 | 0 | 2775 |  |  |  | Asphalt and Paving | QTY | Costs | Equipment
| Portable restroom | 1 | 267 | 1 | 65 | 332 |  |  |  | Apshalt | 35 | 40.81 | 1428.35
| Low boi | 0 | 1000 | 1 | 0 | 0 |  |  |  | Striping | 0 | 1500 | 0
| Saw cutter | 1 | 169 | 1 | 0 | 169 | [6 empty] | 0
| Jack hammer | 1 | 155 | 1 | 0 | 155 | [6 empty] | 1428.35
| Compactor | 1 | 175 | 1 | 0 | 175
| Generator rental | 1 | 220 | 1 | 0 | 220 |  |  |  | ADA | QTY | Costs | Equipment
| Dump trailer rental | 1 | 796.63 | 1 | 0 | 796.63 |  |  |  | 2% Ada Stalls | 2 | 4900 | 9800
| Equipment protection | 1 | 45 | 1 | 0 | 45 |  |  |  | ADA Ramp | 0 | 5200 | 0
| Skidsteer rental | 1 | 750 | 1 | 0 | 750
| Telehandler rental | 1 | 1410 | 1 | 400 | 1810 | [6 empty] | 9800
11394.63
Note on C106: Vatsal Patel: Source: Home Depot Orders row 72, 6500 Watt Generator Rental = $220.00.
Note on C107: Vatsal Patel: Source: Home Depot Orders row 156, Dump Trailer Rental = $796.63.
Note on C108: Vatsal Patel: Source: Home Depot Orders row 158, Equipment Protection = $45.00.
Note on C109: Vatsal Patel: Source: Home Depot Orders row 161 / summary note row 8, Dahl's skidsteer quote incl. delivery/pickup = $750.00.
Note on C110: Vatsal Patel: Source: Home Depot Orders row 162 / summary note row 8, Dahl's telehandler quote incl. fork set + delivery/pickup = $1,410.00.