## INPUT SHEET
Charger Input Calculator
CTX Product Selection: | [9 empty] | Financial Worksheet Inputs
Start by selecting Category dropdown → (blue cells = your inputs: Category, SKU, Discount %, Qty)
| Item # | Category | SKU | Description | MSRP | Discount % | Qty | MSRP Total | Line Total After Discount |  | Level 2 | L3 Type 1 (DCFC) | L3 Type 2 (DCFC) | L3 Type 3 (DCFC) | L3 Type 4 (DCFC) | L3 Type 5 (DCFC) | L3 Type 6 (DCFC)
| 1 | _kW240 | TP5-240-480-2-300 | 240kW DCFC All In One Charger - 350A Cable / 1000VDC Dual CCS1 ; Can charge 2 cars simultaneously with 120kW each ; 4G Modem | 80000 |  | 4 | 320000 | 320000 | # Chargers (auto from line items) | 2 | 0 | 0 | 0 | 0 | 4 | 0
| 2 | _L2 | CTX-C80-240-2 | 80A Dual Commercial L2 Charger (18' Cable with Modem) | 2194.5 |  | 2 | 4389 | 4389 | EV Stall Qty (# of ports) | 4 | 0 | 0 | 0 | 0 | 4 | 0
| 3 | _L2_Accessories | CTX-FLUXPED-CMS-2 | Dual Retractor (Post) | 632.5 |  | 2 | 1265 | 1265 | Charger Rating (kW) | 7.2 | 60 | 120 | 160 | 180 | 240 | 360
[10 empty] | Rating de-rate factor (x) | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98 | 0.98
Tip: # Chargers auto-fills from your line item categories (_L2 and _kW*).
Set the ports and kW rating per level. Revenue uses rating x de-rate factor.
Fill this out for CPMS
Address
RSM: RSM: Paul Arms / Brian Rischmann / Dan Koven
Client Info:
Utility
Scope of Work: ie: Client Requests, Amount of chargers, if chargers are dual… Is the client a city?
Pictures of Site (Max 3, circle the location of the chargers) Give 2 or 3 Possible options for Charger Locations..
Grand Total | [7 empty] | 325654 | 325654
Instructions
How to use: Pick a Category, then a SKU, using the dropdowns (tip: select the cell and press Alt + ↓ to open a dropdown without clicking the small arrow). Then type the Discount % and Qty in the blue cells. To REMOVE a row: right-click its row number on the left → Delete (rows below shift up automatically). To CLEAR a row in place: select the blue cells in that row and press Delete. To ADD more rows: right-click a row number inside the table → Insert. Fill out CPM INFO Table
Note on N9: Sam Mathew: L2 ports = sum of Qty for each _L2 line, doubled when the Description contains "Dual" (dual-port charger).
Note on O10: Sam Mathew: Nominal kW rating of L3 Type 1. Qty in row 8 auto-counts line items with category _kW<rating>.
Note on P10: Sam Mathew: Nominal kW rating of L3 Type 2. Qty in row 8 auto-counts line items with category _kW<rating>.
Note on P11: Sam Mathew: De-rate factor shared across charger types.

## Proposal
ZERO IMPACT SOLUTIONS COSTS BREAKDOWN |  |  |  | Charger cost factor (1.05 contingency x 1.10 markup): | 1
Charger (2-year Parts Only Warranty included) | Quantity | Final Cost | Total
240kW DCFC All In One Charger - 350A Cable / 1000VDC Dual CCS1 ; Can charge 2 cars simultaneously with 120kW each ; 4G Modem | 4 | 80000 | 320000
80A Dual Commercial L2 Charger (18' Cable with Modem) | 2 | 2194.5 | 4389
Dual Retractor (Post) | 2 | 632.5 | 1265
Total Cost of EVSE |  |  | 325654
Electrical Supply & Construction Management Costs | Quantity | Final Cost | Total after Discount
Wires, Conduits and Peripherals | 1 | 39438.14 | 39438.14
Main Distribution Switchgear | 1 | 68970 | 68970
Electrical Sub-Panels, Transformers, Breakers | 1 | 13878.7 | 13878.7
Striping, Bollards, Signage | 1 | 3115.02 | 3115.02
Permits | 1 | 2420 | 2420
Designs and Engineering | 0 | 0 | 0
Construction Equipment | 1 | 14840.2 | 14840.2
Material Costs | 0 | 0 | 0
Miscellaneous | 1 | 48976.98 | 48976.98
Total Cost of Supply & Management |  |  | 191639.04
EVOLV platform costs (Calculated Yearly) | Quantity | Final Cost | Total
Monthly Network Cloud Services Fees (Per Port) | 4 | 39.99 | 1919.52
# of years for duration of contract | 5 |  | 9597.6
|  | Evolv Total Cost | 19195.2
|  | Subtotal | 536488.24
|  | Tax | 23609.915
|  | Rebate | 0
|  | Total | 560098.155
ZERO IMPACT BUILDERS COSTS BREAKDOWN
Labor Days | 30 | 2772.5 | 83175
Total Labor Costs |  |  | 404250
Servicing Fees (Yearly calculation) | Quantity | Final Cost | Total
In warranty Service Plan (Per year < 2 years) | 2 | 640.22 | 1280.44
Warranty + Service Plan > 2 years | 3 | 1472.22 | 4416.66
Length Of Contract | 5 |  | 167775.86
Total |  |  | 572025.86
Total Charger ¦ EVSE ¦ Evolv |  |  | 560098.155
Total ZIB Costs |  |  | 572025.86
Grand Total |  |  | 1132124.015
Note on C40: Sam Mathew: INPUT - Length of contract in years. Dropdown limited to 2-5. Per Svc Wrrty the parts-only warranty extension is only offered 'per year after year 2, up to 5', so 5 is the maximum.

## Internal Summary
| Price | Applied Discount | Customer Price | EVOLV platform costs (Calculated Yearly) | Quantity | Final Cost | Total
Equipment Purchase Invoice (Finance) | 536234.975 | 0% | 536234.975 | Monthly Network Cloud Services Fees (Per Port) | 8 | 39.99 | 3839.04
Charger Hardware | 325654 | 0% | 325654 | # of years for duration of contract | 5
5 Year Service Agreement + Warranty | 167775.86 | 0% | 167775.86 |  |  | Subtotal | 19195.2
EVOLV & Commissioning Subtotal | 19195.2 | 0% | 19195.2
Sales Tax on Chargers | 23609.915 | 0% | 23609.915
Design Invoice (Finance) | 0 | 0% | 0
AutoCad Design Services | 0 | 0% | 0 |  | Servicing Fees
Electrical Engineering Design | 0 | 0% | 0 |  | Quantity | Cost
Project Management | 0 | 0% | 0 | In warranty Service Plan (Per year < 2 years) | 2 | 26555.236 | 53110.472
Plan Check and Permit Fees | 0 | 0% | 0 | Warranty + Service Plan > 2 years | 3 | 38221.796 | 114665.388
Electrical Supply & Construction Management Costs | 191639.04 | 0% | 191639.04 | Length Of Contract (years) | 5
Wires, Conduits and Peripherals | 39438.14 | 0% | 39438.14 | Total |  |  | 167775.86
Main Distribution Switchgear | 68970 | 0% | 68970
Electrical Sub-Panels, Transformers, Breakers | 13878.7 | 0% | 13878.7
Striping, Bollards, Signage | 3115.02 | 0% | 3115.02
Asphalt and Paving | 10340.42 | 0% | 10340.42
Concrete Improvements | 9584.46 | 0% | 9584.46
ADA | 20933 | 0% | 20933
Environmental Cleanup Fee | 3630 | 0% | 3630
Permits | 2420 | 0% | 2420
Utility | 4489.1 | 0% | 4489.1
Construction Equipment | 14840.2 | 0% | 14840.2 |  |  |  |  | x
Construction PM | 0 | 0% | 0
Materials | 0 | 0% | 0
Sales Tax on equipment | 0 | 0% | 0
Labor | 404250 | 0% | 404250
Grand Total |  |  | 1132124.015
Total After Discount |  |  | 1132124.015
How to use: If you need extra costs Insert the extra costs into the Costs Row. The Values will be populated tot eh Cost Export and Financial Worksheet automatically

## Financial Worksheet
5-Year Cumulative Cashflow
Projected Profits Over 5 Years |  | 5 Year Cashflow |  |  |  | 5 Year Charger Revenue
Total Costs Upfront | -1132124.015
Carbon Credits | 345097.5091 | Year | Annual Cashflow | Cumulative |  | Year | Annual Charger Revenue | Cumulative
ITC | 0 | 0 | -1132124.015 | -1132124.015 |  | 0 | -1132124.015 | -1132124.015
EVSE Revenues | 671491.0479 | 1 | 173674.0938 | -958449.9212 |  | 1 | 104654.592 | -1027469.423
Net Revenues | -115535.4579 | 2 | 186755.9178 | -771694.0034 |  | 2 | 117736.416 | -909733.007
|  | 3 | 201472.9698 | -570221.0335 |  | 3 | 132453.468 | -777279.539
View Period | 5 Year | 4 | 218029.6533 | -352191.3802 |  | 4 | 149010.1515 | -628269.3875
Years (auto) | 5 | 5 | 236655.9223 | -115535.4579 |  | 5 | 167636.4204 | -460632.9671
Customer Total
Equipment Purchase Invoice | 536234.975
Charger Hardware | 325654
Parts Warranty | 167775.86
EVOLV & Commissioning Subtotal | 19195.2
5 Year Service Agreement | 167775.86
Sales Tax on Chargers | 23609.915
Design Invoice | 0
AutoCad Design Services | 0
Electrical Engineering Design | 0
Project Management (@$358/hour) | 0
Plan Check and Permit Fees | 0
Electrical Supply & Construction Management Costs | 191639.04
Wires, Conduits and Peripherals | 39438.14
Main Distribution Switchgear | 68970
Electrical Sub-Panels, Transformers, Breakers | 13878.7
Striping, Bollards, Signage | 3115.02
Asphalt and Paving | 10340.42
Concrete Improvements | 9584.46
ADA | 20933
Dump/ Waste | 3630
Permits | 2420
Utility | 4489.1
Construction Equipment | 14840.2
Construction PM | 0
Materials | 0
Sales Tax on equipment | 0
Labor | 404250 | CC Rate ($/kW/yr) | 71.6667
Grand Total | 1132124.015 | L3 Rating (kW) | 60 | 120 | 160 | 180 | 240 | 360
Remaining Balance after Discount | 1132124.015 | Qty | 0 | 0 | 0 | 0 | 4 | 0
|  | Multiplier ($/yr) | 4300.002 | 8600.004 | 11466.672 | 12900.006 | 17200.008 | 25800.012
|  | L2 | Usage | Multiplier
|  | Consumption Credits/m | 1016.064 | 0.0045 | 4.5723
Note on E42: Sam Mathew: Carbon credit rate per kW per year (e.g. 60 kW = $4,300/yr, 120 kW = $8,600/yr). Update when LCFS credit prices change.
Note on E44: Qty auto-counts INPUT SHEET line items with category _kW<rating>.
Note on H44: Qty auto-counts INPUT SHEET line items with category _kW<rating>.
Note on E45: = Rating (kW) × CC rate ($/kW/yr)

## DLL Schedule
Loan Amortization Schedule
| Enter values | [5 empty] | Loan summary
|  | Loan amount | 1132124.015 |  |  |  |  | Scheduled payment | 23167.2835
|  | Annual interest rate | 8.39% |  |  |  |  | Scheduled number of payments | 60
|  | Loan period in years | 5 |  |  |  |  | Actual number of payments | 60
|  | Number of payments per year | 12 |  |  |  |  | Total early payments | 0
|  | Start date of loan | 2026-08-01 |  |  |  |  | Total interest | 257912.9952
|  | Optional extra payments | 0
Lender name:
Pmt. No. | Payment Date | Beginning Balance | Scheduled Payment | Extra Payment | Total Payment | Principal | Interest | Ending Balance | Cumulative Interest
1 | 2026-09-01 | 1132124.015 | 23167.2835 | 0 | 23167.2835 | 15251.8498 | 7915.4337 | 1116872.1652 | 7915.4337
2 | 2026-10-01 | 1116872.1652 | 23167.2835 | 0 | 23167.2835 | 15358.4856 | 7808.7979 | 1101513.6796 | 15724.2316
3 | 2026-11-01 | 1101513.6796 | 23167.2835 | 0 | 23167.2835 | 15465.867 | 7701.4165 | 1086047.8126 | 23425.6481
4 | 2026-12-01 | 1086047.8126 | 23167.2835 | 0 | 23167.2835 | 15573.9992 | 7593.2843 | 1070473.8134 | 31018.9324
5 | 2027-01-01 | 1070473.8134 | 23167.2835 | 0 | 23167.2835 | 15682.8874 | 7484.3961 | 1054790.926 | 38503.3285
6 | 2027-02-01 | 1054790.926 | 23167.2835 | 0 | 23167.2835 | 15792.5369 | 7374.7466 | 1038998.389 | 45878.075
7 | 2027-03-01 | 1038998.389 | 23167.2835 | 0 | 23167.2835 | 15902.9531 | 7264.3304 | 1023095.4359 | 53142.4054
8 | 2027-04-01 | 1023095.4359 | 23167.2835 | 0 | 23167.2835 | 16014.1412 | 7153.1423 | 1007081.2947 | 60295.5477
9 | 2027-05-01 | 1007081.2947 | 23167.2835 | 0 | 23167.2835 | 16126.1068 | 7041.1767 | 990955.1879 | 67336.7244
10 | 2027-06-01 | 990955.1879 | 23167.2835 | 0 | 23167.2835 | 16238.8551 | 6928.4284 | 974716.3327 | 74265.1528
11 | 2027-07-01 | 974716.3327 | 23167.2835 | 0 | 23167.2835 | 16352.3918 | 6814.8917 | 958363.9409 | 81080.0445
12 | 2027-08-01 | 958363.9409 | 23167.2835 | 0 | 23167.2835 | 16466.7223 | 6700.5612 | 941897.2186 | 87780.6057
13 | 2027-09-01 | 941897.2186 | 23167.2835 | 0 | 23167.2835 | 16581.8521 | 6585.4314 | 925315.3665 | 94366.0371
14 | 2027-10-01 | 925315.3665 | 23167.2835 | 0 | 23167.2835 | 16697.7869 | 6469.4966 | 908617.5796 | 100835.5337
15 | 2027-11-01 | 908617.5796 | 23167.2835 | 0 | 23167.2835 | 16814.5323 | 6352.7512 | 891803.0473 | 107188.2849
16 | 2027-12-01 | 891803.0473 | 23167.2835 | 0 | 23167.2835 | 16932.0939 | 6235.1896 | 874870.9535 | 113423.4745
17 | 2028-01-01 | 874870.9535 | 23167.2835 | 0 | 23167.2835 | 17050.4774 | 6116.8061 | 857820.4761 | 119540.2806
18 | 2028-02-01 | 857820.4761 | 23167.2835 | 0 | 23167.2835 | 17169.6887 | 5997.5948 | 840650.7874 | 125537.8755
19 | 2028-03-01 | 840650.7874 | 23167.2835 | 0 | 23167.2835 | 17289.7334 | 5877.5501 | 823361.054 | 131415.4255
20 | 2028-04-01 | 823361.054 | 23167.2835 | 0 | 23167.2835 | 17410.6175 | 5756.666 | 805950.4365 | 137172.0916
21 | 2028-05-01 | 805950.4365 | 23167.2835 | 0 | 23167.2835 | 17532.3467 | 5634.9368 | 788418.0898 | 142807.0284
22 | 2028-06-01 | 788418.0898 | 23167.2835 | 0 | 23167.2835 | 17654.927 | 5512.3565 | 770763.1628 | 148319.3849
23 | 2028-07-01 | 770763.1628 | 23167.2835 | 0 | 23167.2835 | 17778.3644 | 5388.9191 | 752984.7984 | 153708.304
24 | 2028-08-01 | 752984.7984 | 23167.2835 | 0 | 23167.2835 | 17902.6648 | 5264.6187 | 735082.1336 | 158972.9227
25 | 2028-09-01 | 735082.1336 | 23167.2835 | 0 | 23167.2835 | 18027.8343 | 5139.4493 | 717054.2993 | 164112.3719
26 | 2028-10-01 | 717054.2993 | 23167.2835 | 0 | 23167.2835 | 18153.8789 | 5013.4046 | 698900.4205 | 169125.7766
27 | 2028-11-01 | 698900.4205 | 23167.2835 | 0 | 23167.2835 | 18280.8047 | 4886.4788 | 680619.6157 | 174012.2554
28 | 2028-12-01 | 680619.6157 | 23167.2835 | 0 | 23167.2835 | 18408.618 | 4758.6655 | 662210.9977 | 178770.9208
29 | 2029-01-01 | 662210.9977 | 23167.2835 | 0 | 23167.2835 | 18537.3249 | 4629.9586 | 643673.6728 | 183400.8794
30 | 2029-02-01 | 643673.6728 | 23167.2835 | 0 | 23167.2835 | 18666.9317 | 4500.3518 | 625006.741 | 187901.2312
31 | 2029-03-01 | 625006.741 | 23167.2835 | 0 | 23167.2835 | 18797.4447 | 4369.8388 | 606209.2963 | 192271.07
32 | 2029-04-01 | 606209.2963 | 23167.2835 | 0 | 23167.2835 | 18928.8702 | 4238.4133 | 587280.4262 | 196509.4833
33 | 2029-05-01 | 587280.4262 | 23167.2835 | 0 | 23167.2835 | 19061.2145 | 4106.069 | 568219.2116 | 200615.5523
34 | 2029-06-01 | 568219.2116 | 23167.2835 | 0 | 23167.2835 | 19194.4842 | 3972.7993 | 549024.7274 | 204588.3516
35 | 2029-07-01 | 549024.7274 | 23167.2835 | 0 | 23167.2835 | 19328.6856 | 3838.5979 | 529696.0418 | 208426.9495
36 | 2029-08-01 | 529696.0418 | 23167.2835 | 0 | 23167.2835 | 19463.8253 | 3703.4582 | 510232.2165 | 212130.4076
37 | 2029-09-01 | 510232.2165 | 23167.2835 | 0 | 23167.2835 | 19599.9099 | 3567.3736 | 490632.3066 | 215697.7812
38 | 2029-10-01 | 490632.3066 | 23167.2835 | 0 | 23167.2835 | 19736.946 | 3430.3375 | 470895.3606 | 219128.1188
39 | 2029-11-01 | 470895.3606 | 23167.2835 | 0 | 23167.2835 | 19874.9401 | 3292.3434 | 451020.4205 | 222420.4622
40 | 2029-12-01 | 451020.4205 | 23167.2835 | 0 | 23167.2835 | 20013.8991 | 3153.3844 | 431006.5214 | 225573.8466
41 | 2030-01-01 | 431006.5214 | 23167.2835 | 0 | 23167.2835 | 20153.8296 | 3013.4539 | 410852.6919 | 228587.3005
42 | 2030-02-01 | 410852.6919 | 23167.2835 | 0 | 23167.2835 | 20294.7384 | 2872.5451 | 390557.9534 | 231459.8456
43 | 2030-03-01 | 390557.9534 | 23167.2835 | 0 | 23167.2835 | 20436.6325 | 2730.651 | 370121.3209 | 234190.4966
44 | 2030-04-01 | 370121.3209 | 23167.2835 | 0 | 23167.2835 | 20579.5186 | 2587.7649 | 349541.8023 | 236778.2615
45 | 2030-05-01 | 349541.8023 | 23167.2835 | 0 | 23167.2835 | 20723.4037 | 2443.8798 | 328818.3986 | 239222.1413
46 | 2030-06-01 | 328818.3986 | 23167.2835 | 0 | 23167.2835 | 20868.2949 | 2298.9886 | 307950.1037 | 241521.1299
47 | 2030-07-01 | 307950.1037 | 23167.2835 | 0 | 23167.2835 | 21014.199 | 2153.0845 | 286935.9047 | 243674.2144
48 | 2030-08-01 | 286935.9047 | 23167.2835 | 0 | 23167.2835 | 21161.1233 | 2006.1602 | 265774.7814 | 245680.3746
49 | 2030-09-01 | 265774.7814 | 23167.2835 | 0 | 23167.2835 | 21309.0748 | 1858.2087 | 244465.7066 | 247538.5833
50 | 2030-10-01 | 244465.7066 | 23167.2835 | 0 | 23167.2835 | 21458.0608 | 1709.2227 | 223007.6458 | 249247.806
51 | 2030-11-01 | 223007.6458 | 23167.2835 | 0 | 23167.2835 | 21608.0884 | 1559.1951 | 201399.5574 | 250807.0011
52 | 2030-12-01 | 201399.5574 | 23167.2835 | 0 | 23167.2835 | 21759.1649 | 1408.1186 | 179640.3925 | 252215.1197
53 | 2031-01-01 | 179640.3925 | 23167.2835 | 0 | 23167.2835 | 21911.2978 | 1255.9857 | 157729.0947 | 253471.1055
54 | 2031-02-01 | 157729.0947 | 23167.2835 | 0 | 23167.2835 | 22064.4943 | 1102.7893 | 135664.6005 | 254573.8947
55 | 2031-03-01 | 135664.6005 | 23167.2835 | 0 | 23167.2835 | 22218.7618 | 948.5217 | 113445.8386 | 255522.4164
56 | 2031-04-01 | 113445.8386 | 23167.2835 | 0 | 23167.2835 | 22374.108 | 793.1755 | 91071.7306 | 256315.5919
57 | 2031-05-01 | 91071.7306 | 23167.2835 | 0 | 23167.2835 | 22530.5403 | 636.7432 | 68541.1903 | 256952.335
58 | 2031-06-01 | 68541.1903 | 23167.2835 | 0 | 23167.2835 | 22688.0663 | 479.2172 | 45853.124 | 257431.5522
59 | 2031-07-01 | 45853.124 | 23167.2835 | 0 | 23167.2835 | 22846.6937 | 320.5898 | 23006.4302 | 257752.142
60 | 2031-08-01 | 23006.4302 | 23167.2835 | 0 | 23006.4302 | 22845.5769 | 160.8533 | 0 | 257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952
257912.9952

## Cashflow
| 1390037.0102 | 345097.5091 | 671491.0479
| Loan Payment | Carbon Credits | EVSE Profit | Total
1 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
2 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
3 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
4 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
5 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
6 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
7 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
8 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
9 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
10 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
11 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
12 | 23167.2835 | 5751.6252 | 8721.216 | -8694.4424
13 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
14 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
15 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
16 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
17 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
18 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
19 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
20 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
21 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
22 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
23 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
24 | 23167.2835 | 5751.6252 | 9811.368 | -7604.2904
25 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
26 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
27 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
28 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
29 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
30 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
31 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
32 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
33 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
34 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
35 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
36 | 23167.2835 | 5751.6252 | 11037.789 | -6377.8694
37 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
38 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
39 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
40 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
41 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
42 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
43 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
44 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
45 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
46 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
47 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
48 | 23167.2835 | 5751.6252 | 12417.5126 | -4998.1457
49 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
50 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
51 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
52 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
53 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
54 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
55 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
56 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
57 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
58 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
59 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566
60 | 23167.2835 | 5751.6252 | 13969.7017 | -3445.9566

## Updated Chargers Revenue Calcul
| STANDARD-DAY | [21 empty] | FLEET-NIGHT
Revenues | Standard-Low | [6 empty] | Standard-Med | [6 empty] | Standard-High | [7 empty] | Fleet-Low | Fleet-Med | Fleet-High
| Level 2 | L3 (60 kW) | L3 (120 kW) | L3 (160 kW) | L3 (180 kW) | L3 (240 kW) | L3 (360 kW) | Level 2 | L3 (60 kW) | L3 (120 kW) | L3 (160 kW) | L3 (180 kW) | L3 (240 kW) | L3 (360 kW) | Level 2 | L3 (60 kW) | L3 (120 kW) | L3 (160 kW) | L3 (180 kW) | L3 (240 kW) | L3 (360 kW) |  | Level 2 | Level 2 | Level 2
Chargers | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 0 |  | 2 | 2 | 2
EV Stall Quantity (Based on # of ports) | 4 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | 0 | 4 | 0 |  | 4 | 4 | 4
Max hours of operation of parking | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |  | 12 | 12 | 12
Assumed Stall Occupancy % | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 45% | 50% | 50% | 50% | 50% | 50% | 50% | 60% | 70% | 70% | 70% | 70% | 70% | 70% | 0% | 20% | 45% | 60%
Number of stalls used per day | 0.8 | 0 | 0 | 0 | 0 | 0.8 | 0 | 1.8 | 0 | 0 | 0 | 0 | 2 | 0 | 2.4 | 0 | 0 | 0 | 0 | 2.8 | 0 |  | 0.8 | 1.8 | 2.4
Assumed Charging Hourly % per stall per day | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 85% | 85% | 85% | 85% | 85% | 85% | 85% | 0% | 50% | 75% | 85%
Number of hours usage per stall per day | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 |  | 6 | 9 | 10.2
Actual Charger Rating | 7.056 | 58.8 | 117.6 | 156.8 | 176.4 | 235.2 | 352.8 | 7.056 | 58.8 | 117.6 | 156.8 | 176.4 | 235.2 | 352.8 | 7.056 | 58.8 | 117.6 | 156.8 | 176.4 | 235.2 | 352.8 |  | 7.056 | 7.056 | 7.056
Retail Revenue per kWHr | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 |  | 0.65 | 0.65 | 0.65
Total Revenue per day | 22.0147 | 0 | 0 | 0 | 0 | 733.824 | 0 | 74.2997 | 0 | 0 | 0 | 0 | 2751.84 | 0 | 112.2751 | 0 | 0 | 0 | 0 | 4366.2528 | 0 |  | 22.0147 | 74.2997 | 112.2751
Per 30 day Cycle | 660.4416 | 0 | 0 | 0 | 0 | 22014.72 | 0 | 2228.9904 | 0 | 0 | 0 | 0 | 82555.2 | 0 | 3368.2522 | 0 | 0 | 0 | 0 | 130987.584 | 0 |  | 660.4416 | 2228.9904 | 3368.2522
Total kWhr dispensed per day | 33.8688 | 0 | 0 | 0 | 0 | 1128.96 | 0 | 114.3072 | 0 | 0 | 0 | 0 | 4233.6 | 0 | 172.7309 | 0 | 0 | 0 | 0 | 6717.312 | 0 |  | 33.8688 | 114.3072 | 172.7309
EV Utility Rate average per kWHr | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 |  | 0.25 | 0.25 | 0.25
Net Profit per Month | 254.016 | 0 | 0 | 0 | 0 | 8467.2 | 0 | 857.304 | 0 | 0 | 0 | 0 | 31752 | 0 | 1295.4816 | 0 | 0 | 0 | 0 | 50379.84 | 0 |  | 406.4256 | 1371.6864 | 2072.7706
Total Profit per Year | 3048.192 | 0 | 0 | 0 | 0 | 101606.4 | 0 | 10287.648 | 0 | 0 | 0 | 0 | 381024 | 0 | 15545.7792 | 0 | 0 | 0 | 0 | 604558.08 | 0 |  | 4877.1072 | 16460.2368 | 24873.2467
Modify Stall Occupancy % here | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 45% | 50% | 50% | 50% | 50% | 50% | 50% | 60% | 70% | 70% | 70% | 70% | 70% | 70% |  | 20% | 45% | 60%
Modify Charging Hourly percentage per stall per day | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 85% | 85% | 85% | 85% | 85% | 85% | 85% |  | 50% | 75% | 85%
| Total (Standard ) | [7 empty] | Low | [5 empty] | Medium | High
| Yearly | [7 empty] | 104654.592 | [5 empty] | 391311.648 | 620103.8592
| 3 Years | [7 empty] | 313963.776 | [5 empty] | 1173934.944 | 1860311.5776
| 5 Years | [7 empty] | 523272.96 | [5 empty] | 1956558.24 | 3100519.296
| Total (Standard & Fleet Night) | [7 empty] | Low | [5 empty] | Medium | High
| Yearly | [7 empty] | 109531.6992 | [5 empty] | 407771.8848 | 644977.1059
| 3 Years | [7 empty] | 328595.0976 | [5 empty] | 1223315.6544 | 1934931.3178
| 5 Years | [7 empty] | 547658.496 | [5 empty] | 2038859.424 | 3224885.5296

## CTX Price Book
CTX Price Book
Category | SKU | Description | Our Cost | MSRP |  | Category List | ← Pick a Category first
_L2 | CTX-R40-240-1 | 40A Single Home Charger | 273.8 | 605 |  | _L2
| CTX-R48-240-1 | 48A Single Home Charger | 235 | 605 |  | _kW30
| CTX-C32-240-1 | 32A Single Commercial L2 Charger | 510.3 | 1402.5 |  | _kW60
| CTX-C48-240-1 | 48A Single Commercial L2 Charger (18' Cable with Modem) | 510.3 | 1402.5 |  | _kW120
| CTX-C80-240-1 | 80A Single Commercial L2 Charger (18' Cable with Modem) | 640 | 1650 |  | _kW160
| CTX-C40-240-2 | 40A Dual Commercial L2 Charger (18' Cable with Modem) | 760.78 | 1952.5 |  | _kW180
| CTX-C80-240-2 | 80A Dual Commercial L2 Charger (18' Cable with Modem) | 828.95 | 2194.5 |  | _kW240
| CTX-C80-240-1-ISO | 80A Single Commercial L2 Charger (18' Cable with Modem) | 595.35 | 2255 |  | _kW360
| CTX-C40-240-2-ISO | 40A Dual Commercial L2 Charger (18' Cable with Modem) | 828.12 | 2530 |  | _Distributed_System
| CTX-C80-240-2-ISO | 80A Dual Commercial L2 Charger (18' Cable with Modem) | 1043.95 | 2805 |  | _Buy_America
_kW30 | TP5-30-480-1 | Gen2 30kW DCFC Wall Mount - 100 Amps / 1000VDC with CCS1 (~16ft) | 3600 | 13750 |  | _V2G
| TP5-30-480-3 | Gen 2Gen 30kW DCFC Wall Mount - 200 Amps / 1000VDC with NACS (~16ft) | 3600 | 13750 |  | _L2_Accessories
_kW60 | TP5-60-480-1 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft) ; 4G Modem | 8100 | 28500 |  | _CTX_Warranty
| TP5-60-480-2 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft) ; 4G Modem | 8100 | 28500 |  | _CTX_Service_Plans
| TP5-60-480-3 | 60kW DCFC - 200 Amps / 1000VDC with CCS1 & NACS(~16ft) ; 4G Modem | 8100 | 28500
| TP5-60-480-4 | 60kW DCFC - 200 Amps / 1000VDC with NACS & NACS(~16ft) ; 4G Modem | 8100 | 28500
| CTX-AiO-60-2-200 | Gen 2 60kW DCFC - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft) ; 4G Modem | 14145 | 31350
| CTX-AiO-60-3-200 | Gen 2 60kW DCFC - 200 Amps / 1000VDC with CCS1 & NACS(~16ft) ; 4G Modem | 14145 | 31350
| CTX-AiO-60-4-200 | Gen 2 60kW DCFC - 200 Amps / 1000VDC with NACS & NACS(~16ft) ; 4G Modem | 14145 | 31350
_kW120 | TP5-120-480-1 | 120kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft) ; Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| TP5-120-480-2 | 120kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| TP5-120-480-2-300 | 120kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| TP5-120-480-3-300 | 120kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS (~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 12588 | 54000
| CTX-AiO-120-2-350 | Gen3 120kW CCS1 350A + CCS1 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-3-350 | Gen3 120kW CCS1 350A + NACS 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-4-350 | Gen3 120kW NACS 350A + NACS 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-5-350 | Gen3 120kW Single CCS1 350A ; Cable Management + CC | 15950 | 59400
| CTX-AiO-120-6-350 | Gen3 120kW Single NACS 350A ; Cable Management + CC | 15950 | 59400
_kW160 | TP5-160-480-1 | 160kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft); It can dispense 200A on single connector and can charge 2 cars simultaneously with 80kW each or 100kW CCS1 and 60kW CHAdeMO ; 4G Modem |  | 57000
| TP5-160-480-2 | 160kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft); It can dispense 200A on single connector and can charge 2 cars simultaneously with 80kW each ; 4G Modem |  | 57000
| TP5-160-480-3 | 160kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & NACS (~16ft); It can dispense 200A on single connector and can charge 2 cars simultaneously with 80kW each ; 4G Modem |  | 57000
| TP5-160-480-2-300 | 160kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 80kW each ; 4G Modem |  | 57000
| HPC-160-480-1 | 160kW HPC All In One Charger - 400 Amps / 1000VDC with Liquid Cooled Connector for CCS1(~14ft) & CHAdeMO(~16ft) ; It can deliver 400A on the CCS coonnector. Can charge 2 cars simultaneously with 80kW each or 100kW CCS1 and 60kW CHAdeMO ; 4G Modem |  | 68000
| HPC-160-480-2 | 160kW HPC All In One Charger - 400 Amps / 1000VDC with Liquid Cooled Connector for CCS1(~14ft) & CHAdeMO(~16ft) ; It can deliver 400A on the CCS coonnector. Also can charge 2 cars with 200Amps each; 4G Modem |  | 70000
| CTX-AiO-160-2-350 | Gen3 160kW CCS1 350A + CCS1 350A ; Cable Management + CC | 17595 | 68200
| CTX-AiO-160-3-350 | Gen3 160kW CCS1 350A + NACS 350A ; Cable Management + CC | 17595 | 68200
| CTX-AiO-160-4-350 | Gen3 160kW NACS 350A + NACS 350A ; Cable Management + CC | 17595 | 68200
| CTX-AiO-160-5-350 | Gen3 160kW Single CCS1 350A ; Cable Management + CC |  | 68200
| CTX-AiO-160-6-350 | Gen3 160kW Single NACS 350A ; Cable Management + CC |  | 68200
_kW180 | TP5-180-480-1 | 180kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CHAdeMO(~16ft); Can charge 2 cars simultaneously with 90kW each or 120kW on CCS1 and 60kW on CHAdeMO; 4G Modem | 19500 | 62000
| TP5-180-480-2 | 180kW DCFC All In One Charger - 200 Amps / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem | 19500 | 62000
| TP5-180-480-2-300 | 180kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem | 19500 | 62000
| TP5-180-480-3-300 | 180kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS (~16ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem | 19500 | 62000
| TP5-180-480-2-300-CL20 | 180kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~20ft); Can charge 2 cars simultaneously with 90kW each ; 4G Modem |  | 62000
_kW240 | TP5-240-480-2-300 | 240kW DCFC All In One Charger - 350A Cable / 1000VDC Dual CCS1 ; Can charge 2 cars simultaneously with 120kW each ; 4G Modem | 25000 | 80000
| TP5-240-480-2-400 | 240kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS; Can charge 2 cars simultaneously with 120kW each ; 4G Modem | 25000 | 80000
| HPC-240-480-1 | 240kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1 & CHAdeMO(~14ft) ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem |  | 98000
| HPC-240-480-2 | 240kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS coonnector and 250A on each connector if used simultaneously ; 4G Modem |  | 98000
| CTX-AiO-240-2-300 | Gen3 240kW CCS1 350A + CCS1 350A; Cable Management + CC | 24725 | 88000
| CTX-AiO-240-3-300 | Gen3 240kW CCS1 350A + NACS 350A; Cable Management + CC | 24725 | 88000
| CTX-AiO-240-4-300 | Gen3 240kW NACS 350A + NACS 350A; Cable Management + CC | 24725 | 88000
| CTX-AiO-240-5-300 | Gen3 240kW Single CCS1 350A; Cable Management + CC | 24725 | 88000
_kW360 | TP5-360-480-1-300 | 360kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & CHAdeMO ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| TP5-360-480-2-300 | 360kW DCFC All In One Charger - 350A Cable / 1000VDC Dual CCS1 ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| TP5-360-480-3-300 | 360kW DCFC All In One Charger - 1000VDC, Cables: 350A CCS1 & 400A NACS ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| TP5-360-480-4-300 | 360kW DCFC All In One Charger - 1000VDC, Cables: 400A NACS / 400A NACS ; Can charge 2 cars simultaneously with 180kW each ; 4G Modem | 29000 | 99000
| HPC-360-480-1 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1 & CHAdeMO(~14ft) ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem | 65520 | 110000
| HPC-360-480-2 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 500A on one CCS coonnector and 400A on each connector if used simultaneously ; 4G Modem | 65520 | 110000
| HPC-360-480-3 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1 & NACS ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem | 65520 | 110000
| HPC-360-480-4 | 360kW HPC All In One Charger - 500 Amps / 1000VDC with Liquid Cooled Connector for NACS / NACS ; Can deliver 500A on CCS coonnector. Can charge 2 cars simultaneously; 4G Modem | 65520 | 110000
_Distributed_System | CTX-DSPB-360 | 360kW Tower | 28750 | 81400
| CTX-DSPB-480 | 480kW Tower | 31000 | 90200
| CTX-DSPB-1280 | 1,280kW Tower | 0 | 225000
| CTX-DST-2-300 | Dispenser 300/300 | 13100 | 35200
| CTX-DST-HPC-2-500/300 | Dispenser 500/300 | 24725 | 49500
_Buy_America | TP5-60-480-2-BAA | Buy America NEVI Compliant, Assembled in CA, USA 60kW DCFC - 140 Amps / 1000VDC with CCS1 & CCS1(~16ft) ; 4G Modem | 17500 | 68200
| TP5-60-480-3-BAA | Buy America NEVI Compliant, Assembled in CA, USA 60kW DCFC - 140 Amps / 1000VDC with CCS1 & NACS ; 4G Modem | 17500 | 68200
| TP5-60-480-4-BAA | Buy America NEVI Compliant, Assembled in CA, USA 60kW DCFC - 140 Amps / 1000VDC with NACS & NACS ; 4G Modem | 0 | 68200
| TP5-120-480-2-300-BAA | Buy America NEVI Compliant, Assembled in CA, USA 120kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & CCS1(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 14480 | 75900
| TP5-120-480-3-300-BAA | Buy America NEVI Compliant, Assembled in CA, USA 120kW DCFC All In One Charger - 350A Cable / 1000VDC with CCS1 & NACS; Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 14480 | 75900
| TP5-120-480-4-300-BAA | Buy America NEVI Compliant, Assembled in CA, USA 120kW DCFC All In One Charger - 350A Cable / 1000VDC with NACS & NACS(~16ft); Can charge 2 cars simultaneously with 60kW each ; 4G Modem | 14480 | 75900
| TP5-180-480-2-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Air Cooled 350A Cable (BAA) CCS1 / CCS1 1000VDC Connector for Dual CCS1; Can deliver 350A on one CCS conector. Set to Sequential Mode Only. | 35500 | 82500
| TP5-180-480-3-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Air Cooled 350A Cable (BAA) CCS1 / NACS 1000VDC Connector for Dual CCS1; Can deliver 350A on one CCS conector. Set to Sequential Mode Only. | 35500 | 82500
| TP5-180-480-4-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Air Cooled 350A Cable (BAA) NACS / NACS 1000VDC Connector for Dual CCS1; Can deliver 350A on one CCS conector. Set to Sequential Mode Only. | 35500 | 82500
| HPC-180-480-2-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Liquid Cooled (BAA) Dual CCS1 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS connector. Set to Sequential Mode Only | 43500 | 82500
| HPC-180-480-3-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Liquid Cooled (BAA) CCS1 / NACS 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS connector. Set to Sequential Mode Only | 43500 | 82500
| HPC-180-480-4-BAA | Buy America NEVI Compliant, Assembled in CA, USA 180kW Liquid Cooled (BAA) NACS /NACS 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 450A on one CCS connector. Set to Sequential Mode Only | 43500 | 82500
| TP5-360-480-2-BAA | Buy America NEVI Compliant 360kW Air Cooled 350A Cable (BAA) Dual CCS1 / 1000VDC Connector for Dual CCS1 ; Can deliver 350A on one CCS connector and 350A on each connector if used simultaneously ; 4G Modem | 0 | 138600
| TP5-360-480-3-BAA | Buy America NEVI Compliant 360kW Air Cooled 350A Cable (BAA) Dual CCS1 / 1000VDC Connector for CCS1/NACS ; Can deliver 350A on one CCS connector and 350A on each connector if used simultaneously ; 4G Modem | 0 | 138600
| TP5-360-480-4-BAA | Buy America NEVI Compliant 360kW Air Cooled 350A Cable (BAA) Dual CCS1 / 1000VDC Connector for NACS/NACS ; Can deliver 350A on one CCS connector and 350A on each connector if used simultaneously ; 4G Modem | 0 | 138600
| HPC-360-480-2-BAA | Buy America NEVI Compliant 360kW Liquid Cooled (BAA) 500 Amps / 1000VDC with Liquid Cooled Connector for Dual CCS1 ; Can deliver 500A on one CCS connector and 400A on each connector if used simultaneously ; 4G Modem | 0 | 137500
| HPC-360-480-3-BAA | Buy America NEVI Compliant 360kW Liquid Cooled (BAA) 500 Amps / 1000VDC with Liquid Cooled Connector for CCS1/NACS ; Can deliver 500A on one CCS connector and 400A on each connector if used simultaneously ; 4G Modem | 0 | 137500
| HPC-360-480-4-BAA | Buy America NEVI Compliant 360kW Liquid Cooled (BAA) 500 Amps / 1000VDC with Liquid Cooled Connector for NACS/NACS ; Can deliver 500A on one CCS connector and 400A on each connector if used simultaneously ; 4G Modem | 0 | 137500
_V2G | CTX-V2G-20-480-1 | 20kW V2G Charger | 5800 | 16700
| CTX-V2G-30-480-1 | 30kW V2G Charger | 8250 | 23800
| CTX-V2G-40-480-1 | 40kW V2G Charger | 12500 | 35900
| CTX-V2G-60-480-1 | 60kW V2G Charger | 17500 | 50000
_L2_Accessories | CTX-FLUXPED | Single Post (no Retraction) | 142.47 | 412.5
| CTX-FLUXWAL-CMS-1 | Single Retractor (Wall) | 92.71 | 275
| CTX-FLUXPED-CMS-1 | Single Retractor post | 142.15 | 412.5
| CTX-FLUXPED-CMS-2 | Dual Retractor (Post) | 224.6 | 632.5
| CTX-FLUXPED-SBS | Side By Side Bracket | 44.18 | 137.5
_CTX_Warranty | CTX-W-AC-3 | 3 year |  | 884.52
| CTX-W-AC-5 | 5 year |  | 1474.2
| CTX-W-30-3 | 3 year |  | 1436.29
| CTX-W-30-5 | 5 year |  | 4308.88
| CTX-W-60-3 | 3 year |  | 2888.52
| CTX-W-60-5 | 5 year |  | 4814.2
| CTX-W-120-3 | 3 year |  | 3590.73
| CTX-W-120-5 | 5 year |  | 5984.55
| CTX-W-160-3 | 3 year |  | 4285.71
| CTX-W-160-5 | 5 year |  | 7142.85
| CTX-W-180-3 | 3 year |  | 3094.74
| CTX-W-180-5 | 5 year |  | 9284.22
| CTX-W-240-3 | 3 year |  | 4514.4
| CTX-W-240-5 | 5 year |  | 13543.2
| CTX-W-360-3 | 3 year |  | 12153.24
| CTX-W-360-5 | 5 year |  | 20255.4
_CTX_Service_Plans | CTX-SW-30-2 | 2 year |  | 2939.11
| CTX-SW-30-3 | 3 year |  | 5255.71
| CTX-SW-30-5 | 5 year |  | 9888.91
| CTX-SW-60-2 | 2 year |  | 2952.72
| CTX-SW-60-3 | 3 year |  | 4429.08
| CTX-SW-60-5 | 5 year |  | 7381.8
| CTX-SW-120-2 | 2 year |  | 3233.52
| CTX-SW-120-3 | 3 year |  | 4850.28
| CTX-SW-120-5 | 5 year |  | 8083.8
| CTX-SW-160-2 | 2 year |  | 3758.4
| CTX-SW-160-3 | 3 year |  | 5637.6
| CTX-SW-160-5 | 5 year |  | 9396
| CTX-SW-180-2 | 2 year |  | 4419.36
| CTX-SW-180-3 | 3 year |  | 8125.92
| CTX-SW-180-5 | 5 year |  | 15539.04
| CTX-SW-240-2 | 2 year |  | 5621
| CTX-SW-240-3 | 3 year |  | 14545.26
| CTX-SW-240-5 | 5 year |  | 32393.77
| CTX-SW-360-2 | 2 year |  | 9797.76
| CTX-SW-360-3 | 3 year |  | 14696.64
| CTX-SW-360-5 | 5 year |  | 24494.4
Charger | Quantity | Yearly Warranty | IW Service | Warranty + Service >Year 2 | OW Service
AC Charger - 7.2 kW UP80J-PMP Single | 0 | 416 | 320.11 | 736.11 | 640.22
AC Charger - 2 x 7.2 kW UP160J-PMP Dual | 2 | 416 | 320.11 | 736.11 | 640.22
AC Charger - 7.2 kW UP80J-WMP Single | 0 | 416 | 320.11 | 736.11 | 640.22
AC Charger - 2 x 7.2 kW UP160J-WMP Dual | 0 | 416 | 320.11 | 736.11 | 640.22
DC-60kW CCS1 + CHAdeMO | 0 | 962.84 | 1476.36 | 2439.2 | 2527.2
DC-120kW CCS1 + CHAdeMO | 0 | 1196.91 | 1616.76 | 2813.67 | 3573.043
DC-160kW CCS1 + CHAdeMO | 0 | 1428.57 | 1879.2 | 3307.77 | 4153.032
DC-180KW | 0 | 1856.844 | 2708.64 | 4565.484 | 5417.28
DC-240KW | 4 | 2708.64 | 6478.754 | 9187.394 | 11013.8818
DC-360kW CCS1 + CCS1 | 0 | 4051.08 | 4898.88 | 8949.96 | 9468
Total | 6
Note on C135: Sam Mathew: All single-port L2 chargers from INPUT SHEET (SKUs ending -1 or -1-ISO). PMP vs WMP mount cannot be determined from INPUT SHEET SKUs, so all singles are counted here.
Note on H135: Sam Mathew: MSRP. Source: Svc Wrrty!D5 — out-of-warranty service cost, yearly. Reference only; feeds no formulas.
Note on C136: Sam Mathew: All dual-port L2 chargers from INPUT SHEET (SKUs ending -2 or -2-ISO).
Note on H136: Sam Mathew: MSRP. Source: Svc Wrrty!D6 — out-of-warranty service cost, yearly.
Note on C137: Sam Mathew: WMP variant cannot be distinguished from INPUT SHEET SKUs — all singles counted in the row above.
Note on H137: Sam Mathew: MSRP. Source: Svc Wrrty!D7 — out-of-warranty service cost, yearly.
Note on C138: Sam Mathew: WMP variant cannot be distinguished from INPUT SHEET SKUs — all duals counted in the Dual PMP row.
Note on H138: Sam Mathew: MSRP. Source: Svc Wrrty!D8 — out-of-warranty service cost, yearly.
Note on H139: MSRP. Source: Svc Wrrty!D10 — out-of-warranty service cost, yearly.
Note on H140: MSRP. Source: Svc Wrrty!D11 — out-of-warranty service cost, yearly.
Note on H141: Sam Mathew: MSRP. Source: Svc Wrrty!D12 — out-of-warranty service cost, yearly.
Note on C142: Sam Mathew: Per user: DC-300kW row uses the _kW240 category total (no 300kW category exists on INPUT SHEET).
Note on H142: MSRP. Source: Svc Wrrty!D13 — out-of-warranty service cost, yearly.
Note on H144: MSRP. Source: Svc Wrrty!D13 — out-of-warranty service cost, yearly.

## INPUT SHEET CPM
| Level 2 |  |  |  | Level 3 | [5 empty] | 480
Type of Charger per Rating | L2 Single P | L2 Dual P | L2 Single W | L2 Dual W | 30 | 100 | 120 | 160 | 240 | 360 | TOTAL | CONTRACT LENGTH | 5 | Charger | QTY
Quantity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 240kW DCFC All In One Charger - 350A Cable / 1000VDC Dual CCS1 ; Can charge 2 cars simultaneously with 120kW each ; 4G Modem | 4
KVA per Phase | [13 empty] | 80A Dual Commercial L2 Charger (18' Cable with Modem) | 2
Breaker size per port (in A) | [13 empty] | Dual Retractor (Post) | 2
Quantity of Ports | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rating per Port for L2 (in KW) | 7.7 | 19.2 | 7.7 | 19.2 | 60 | 120 | 160 | 180 | 300 | 360
CALCULATIONS
Breaker size per port (in A) | 30 | 30 | 30 | 30 | 100 | 200 | 300 | 400 | 500 | 600
Quantity of Charger Breakers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Load Size | 0 |  |  |  | 0 | [6 empty] | Labor In Days | 30
Total Kva | 0 |  |  |  | 0
Quantity of Sub-panels | 0 |  |  |  | 0 | [6 empty] | Rebate Amount | 0
Sub-panel Size | 600 |  |  |  | 0
Main Breaker Size | 600 |  |  |  | 0
Total Gear Size @208V (AMPERAGE) | 0
Total Gear Size @ 480 V (AMPERAGE) |  |  |  |  | 100
STANDARD RFC
[14 empty] | Address | 0
[14 empty] | RSM: | 0
[14 empty] | Client Info: | 0
CPM:
[14 empty] | Utility: | 0
[14 empty] | Scope of Work : Pictures Attatched on INPUT SHEET | 0

## Costs Internal
Electrical Supply & Construction Management Costs | Quantity | Individual Cost | Contingency | Final Cost | Total
Wires, Conduits and Peripherals | 1 | 35852.85 | 10% | 39438.14 | 39438.14 | Labor
Main Distribution Switchgear | 1 | 62700 | 10% | 68970 | 68970 | Daily Cost | 12250
Electrical Sub-Panels, Transformers, Breakers | 1 | 12617 | 10% | 13878.7 | 13878.7 | Total Business Days | 30
Bollards, Signage | 1 | 2831.84 | 10% | 3115.02 | 3115.02 | Total Months | 1
Asphalt, Paving, and Striping | 1 | 9400.38 | 10% | 10340.42 | 10340.42 | Total Labor | 367500
Concrete Improvements | 1 | 8713.14 | 10% | 9584.46 | 9584.46
ADA | 1 | 19030 | 10% | 20933 | 20933
Dump/ Waste | 1 | 3300 | 10% | 3630 | 3630
Permits | 1 | 2200 | 10% | 2420 | 2420
Utility | 1 | 4081 | 10% | 4489.1 | 4489.1
Construction Equipment | 1 | 13491.09 | 10% | 14840.2 | 14840.2
Construction PM | 1
191639.04
ZERO IMPACT BUILDERS COSTS
Labor | 30 | 12250 | 10% | 13475 | 404250
404250
| Total |  |  |  | 595889.04

## EV_SUB 2P 208V
PANEL SCHEDULE
|  | NAME | EV_Main |  | LOCATION |  | OUTDOOR |  | VOLTAGE | 277 | 480 | 3PH 4W |  | MAIN | 400 | 400A 3P
[5 empty] | FED BY |  | UTILITY |  | ENCLOSURE |  | NEMA3R |  |  | BUS BAR | 400 | A
[5 empty] | MOUNTING |  | SURFACE |  | PANEL TYPE |  | NF |  |  | MAIN AIC | 65000
| CKT | DESCRIPTION |  | BREAKER | POLES | A |  | B |  | C |  | POLES | BREAKER | DESCRIPTION |  | CKT
A | 1 | [10 empty] | 3 | 200 |  |  | 2 | A
B | 3 | --- | [13 empty] | 4 | B
C | 5 | --- | [11 empty] | --- |  | 6 | C
A | 7 | [14 empty] | 8 | A
B | 9 | --- | [11 empty] | --- |  | 10 | B
C | 11 | --- | [11 empty] | --- |  | 12 | C
A | 13 | [14 empty] | 14 | A
B | 15 | --- | [11 empty] | --- |  | 16 | B
C | 17 | --- | [11 empty] | --- |  | 18 | C
A | 19 | [14 empty] | 20 | A
B | 21 | --- | [11 empty] | --- |  | 22 | B
C | 23 | --- | [11 empty] | --- |  | 24 | C
A | 25 | [14 empty] | 26 | A
B | 27 | --- | [11 empty] | --- |  | 28 | B
C | 29 | --- | [11 empty] | --- |  | 30 | C
A | 31 | [14 empty] | 32 | A
B | 33 | --- | [11 empty] | --- |  | 34 | B
C | 35 | --- | [11 empty] | --- |  | 36 | C
A | 37 | [14 empty] | 38 | A
B | 39 | [14 empty] | 40 | B
C | 41 | [14 empty] | 42 | C
|  |  |  | TOTAL VA |  | 0 |  | 0 |  | 0 |  | TOTAL 3PH VA |  | 0
|  |  |  | DEMAND VA |  | 0 |  | 0 |  | 0 |  | TOTAL DEMAND VA |  | 0
|  |  |  | HIGH PH VA |  | 0 |  | 0 |  | 0 |  | TOTAL AMP |  | 0
|  |  |  | HIGH PH AMP | [7 empty] | MAIN BREAKER |  | 400
PANEL SCHEDULE
|  | NAME | SB 2 |  | LOCATION |  | OUTDOOR |  | VOLTAGE | 120 | 208 | 3PH 4W |  | MAIN | 300 | A 3P
[5 empty] | FED BY |  | UTILITY |  | ENCLOSURE |  | NEMA3R |  |  | BUS BAR | 300 | A
[5 empty] | MOUNTING |  | SURFACE |  | PANEL TYPE |  | NF |  |  | MAIN AIC | 22000
| CKT | DESCRIPTION |  | BREAKER | POLES | A |  | B |  | C |  | POLES | BREAKER | DESCRIPTION |  | CKT
A | 1 | EV CHARGER L2 #1A |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #2A |  | 2 | A
B | 3 | --- | [11 empty] | --- |  | 4 | B
C | 5 | EV CHARGER L2 #1B |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #2B |  | 6 | C
A | 7 | --- | [11 empty] | --- |  | 8 | A
B | 9 | EV CHARGER L2 #3A |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #4A |  | 10 | B
C | 11 | --- | [11 empty] | --- |  | 12 | C
A | 13 | EV CHARGER L2 #3B |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #4B |  | 14 | A
B | 15 | --- | [11 empty] | --- |  | 16 | B
C | 17 | EV CHARGER L2 #5A |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #6A |  | 18 | C
A | 19 | --- | [11 empty] | --- |  | 20 | A
B | 21 | EV CHARGER L2 #5B |  | 40 | 2 | [6 empty] | 2 | 40 | EV CHARGER L2 #6B |  | 22 | B
C | 23 | --- | [11 empty] | --- |  | 24 | C
A | 25 | --- | [11 empty] | --- |  | 26 | A
B | 27 | [14 empty] | 28 | B
C | 29 | [14 empty] | 30 | C
A | 31 | [14 empty] | 32 | A
B | 33 | [14 empty] | 34 | B
C | 35 | [14 empty] | 36 | C
A | 37 | [14 empty] | 38 | A
B | 39 | [14 empty] | 40 | B
C | 41 | [15 empty] | C
A | 43 | [15 empty] | A
B | 45 | [15 empty] | B
C | 47 | [15 empty] | C
|  |  |  | TOTAL VA |  | 0 |  | 0 |  | 0 |  | TOTAL 3PH VA |  | 0
|  |  |  | DEMAND VA |  | 0 |  | 0 |  | 0 |  | TOTAL DEMAND VA |  | 0
|  |  |  | HIGH PH VA |  | 0 |  | 0 |  | 0 |  | TOTAL AMP |  | 0
|  |  |  | HIGH PH AMP |  | 0 |  | 0 |  | 0 |  | MAIN BREAKER |  | 200

## CPM Calcs
| CHARGER PLACEMENT AND DISTANCE FROM DISTRIBUTION | [14 empty] | DATE |  |  |  | DATE |  |  |  | Rexel 3/20/26
[14 empty] | Cu |  | 2026-03-20 |  | PVC |  | 2026-03-20 |  |  |  | CU WIRE* |  |  |  | AL WIRE* |  |  |  | COND |  | PVC
Material | L2 | Charger | Distance | Wire Length | Wire Size | Conduit Length | Conduit Size | Grounding | Grounding Wire Size | CAT 5 Cable | Conduit Length | Conduit Size |  | Wire | Quantity | Unit Cost | Total | Conduit | Quantity | Unit Cost | Total | Grand Total |  | SIZE | TYPE | PRICE |  | SIZE | TYPE | PRICE |  | SIZE | EMT | SCH-40
| Dual | 0 | 0 | 0 | 8 AWG | 0 | (1") | 0 | 10 AWG | 0 | 0 | (3/4") |  | 10 AWG | 0 | 0.30329 | 0 | (1/2") | 0 | 0.2445 | 0 | 0 |  | 10 SOL | THHN | 289.6 |  | 10 | XHHW | 280 |  | 3/8
[14 empty] | 8 AWG | 0 | 0.56613 | 0 | (3/4") | 15 | 0.2912 | 4.368 | 4.368 |  | 10 STR | THHN | 303.29 |  | 8 | XHHW |  |  | 1/2 | 46.62 | 24.45
[14 empty] | 6 AWG | 15 | 0.87104 | 13.0656 | (1") | 0 | 0.4698 | 0 | 13.0656 |  | 8 | THHN | 566.13 |  | 6 | XHHW | 306.36 |  | 3/4 | 79.72 | 29.12
[14 empty] | 4 AWG | 0 | 1.3329 | 0 | (1 1/4") | 0 | 0.6155 | 0 | 0 |  | 6 | THHN | 871.04 |  | 4 | XHHW | 379.98 |  | 1 | 139.78 | 46.98
[14 empty] | 2 AWG | 0 | 2.1044 | 0 | (1 1/2") | 0 | 0.7129 | 0 | 0 |  | 4 | THHN | 1332.93 |  | 3 | XHHW | 366.81 |  | 1-1/4 | 226.49 | 61.55
[14 empty] | 1 AWG | 0 | 2.3983 | 0 | (2") | 15 | 0.8897 | 13.3455 | 13.3455 |  | 3 | THHN | 1681.26 |  | 2 | XHHW | 482.1 |  | 1-1/2 | 276.41 | 71.29
[14 empty] | 1 /0 | 0 | 2.953 | 0 | (2 1/2") | 0 | 1.396 | 0 | 0 |  | 2 | THHN | 2104.4 |  | 1 | XHHW | 667.33 |  | 2 | 315.97 | 88.97
[14 empty] | 2 /0 | 0 | 3.6376 | 0 | (3") | 0 | 1.7033 | 0 | 0 |  | 1 | THHN | 2398.33 |  | 1/0 | XHHW | 750.45 |  | 2-1/2 | 491.85 | 139.6
[14 empty] | 3 /0 | 45 | 4.5658 | 205.461 | (3 1/2") | 0 | 2.25 | 0 | 205.461 |  | 1/0 | THHN | 2953.04 |  | 2/0 | XHHW | 887.01 |  | 3 | 622.69 | 170.33
[14 empty] | 4 /0 | 0 | 5.7304 | 0 | (4") | 0 | 2.3164 | 0 | 0 |  | 2/0 | THHN | 3637.58 |  | 3/0 | XHHW | 1099.56 |  | 3-1/2 | 822.39 | 225
[14 empty] | 250 KCMIL | 0 | 6.6402 | 0 | (5") | 0 | 3.3106 | 0 | 0 |  | 3/0 | THHN | 4565.8 |  | 4/0 | XHHW | 1227.8 |  | 4 | 827.46 | 231.64
[14 empty] | 300 KCMIL | 0 | 7.9632 | 0 |  |  |  |  | 0 |  | 4/0 | THHN | 5730.45 |  | 250 | XHHW | 1496.16 |  | 5 |  | 331.06
[14 empty] | 350 KCMIL | 0 | 9.3242 | 0 |  |  |  |  | 0 |  | 250 | THHN | 6640.16 |  | 300 | XHHW | 2061.37 |  | 6
[14 empty] | 400 KCMIL | 0 | 10.6067 | 0 |  |  |  |  | 0 |  | 300 | THHN | 7963.2 |  | 350 | XHHW | 2104.12
[14 empty] | 450 KCMIL | 0 | 11.334 | 0 |  |  |  |  | 0 |  | 350 | THHN | 9324.16 |  | 400 | XHHW | 2457.97
[14 empty] | 500 KCMIL | 0 | 13.3006 | 0 |  |  |  |  | 0 |  | 400 | THHN | 10606.71 |  | 450 | XHHW
[14 empty] | 600 KCMIL | 0 | 16.5738 | 0 |  |  |  |  | 0 |  | 450 | THHN | 11334 |  | 500 | XHHW | 2720.4
[14 empty] | 700 KCMIL | 0 |  | 0 |  |  |  |  | 0 |  | 500 | THHN | 13300.59 |  | 600 | XHHW | 3443.54
[14 empty] | 750 KCMIL | 0 | 25.921 | 0 |  |  |  |  | 0 |  | 600 | THHN | 16573.82 |  | 700 | XHHW | 4809
[14 empty] | 800 KCMIL | 0 |  | 0 |  |  |  |  | 0 |  | 700 | THHN |  |  | 750 | XHHW | 4859
[14 empty] | 900 KCMIL | 0 |  | 0 |  |  |  |  | 0 |  | 750 | THHN | 25921 |  | 800 | XHHW
[14 empty] | 1000 KCMIL | 0 | 34.398 | 0 |  |  |  |  | 0 |  | 800 | THHN |  |  | 900 | XHHW | 7566
[22 empty] | 236.2401 |  | 900 | THHN |  |  | 1000 | XHHW | 6668
| Total |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | [12 empty] | 1000 | THHN | 34398
Manual Entry only
| PANEL PLACEMENT AND DISTANCE FROM DISTRIBUTION | [14 empty] | DATE |  |  |  | DATE
[14 empty] | Al |  | 2026-03-20 |  | PVC |  | 2026-03-20 |  |  |  | 3/20/26 |  | 480V | [5 empty] | 208V
| Size | Panel | Distance | Wire Length | Wire Size | Conduit Length | Conduit Size | Grounding | Grounding Wire Size | Runs |  |  |  | Wire | Quantity | Unit Cost | Total | Conduit | Quantity | Unit Cost | Total | Grand Total |  | SN | Description | Size | Cost | Voltage |  | 20 | Main | 350A | 14500 |  | 208V
| Pole - TX | 1 | 0 | 0 | 600 KCMIL | 0 | (4") | 0 | 4 AWG | 1 | Cu |  |  | 10 AWG |  | 0.28 | 0 | (1/2") |  | 0.2445 | 0 | 0 | [7 empty] | 21 | breakers | 40A | 180 |  | 208V
| TX - SG | 2 | 0 | 0 | 600 KCMIL | 0 | (4") | 0 | 4 AWG | 3 |  |  |  | 8 AWG |  |  | 0 | (3/4") |  | 0.2912 | 0 | 0 |  | 1 | Main | 400A | 20426.82 | 480V
[14 empty] | 6 AWG |  | 0.30636 | 0 | (1") |  | 0.4698 | 0 | 0 |  | 2 | Main | 800A | 31187 | 480V |  | 22 | main breakers | 400A | 1900 |  | 208V
[14 empty] | 4 AWG |  | 0.37998 | 0 | (1 1/4") |  | 0.6155 | 0 | 0 |  | 3 | Main | 1000A | 36812.5 | 480V |  | 23 | main breakers | 600A | 3400 |  | 208V
[14 empty] | 2 AWG |  | 0.36681 | 0 | (1 1/2") |  | 0.7129 | 0 | 0 |  | 4 | Main | 1200A | 43292.68 | 480V
[14 empty] | 1 AWG |  | 0.4821 | 0 | (2") |  | 0.8897 | 0 | 0 |  | 5 | Main | 1600A | 56750 | 480V |  | 24 | Transformer | 75KVA | 2970 |  | 208V
| Total |  | 0 | 0 |  | 0 |  | 0 | [5 empty] | 1 /0 |  | 0.66733 | 0 | (2 1/2") |  | 1.396 | 0 | 0 |  | 7 | Main | 2000A | 60000 | 480V |  | 25 | Transformer | 112.5KVA | 3250 |  | 208V
[14 empty] | 2 /0 |  | 0.75045 | 0 | (3") |  | 1.7033 | 0 | 0 |  | 8 | Main | 2500 | 58540 | 480V |  | 26 | Transformer | 150KVA | 5298 |  | 208V
| CHARGER PLACEMENT AND DISTANCE FROM DISTRIBUTION | [12 empty] | 3 /0 |  | 0.88701 | 0 | (3 1/2") |  | 2.25 | 0 | 0 |  | 9 | Main | 3000A | 65000 | 480V |  | 27 | Transformer | 175KVA | 6000 |  | 208V
[14 empty] | 4 /0 |  | 1.0996 | 0 | (4") |  | 2.3164 | 0 | 0 |  | 10 | Main | 4000A | 67500 | 480V |  | 28 | Transformer | 225KVA | 7144 |  | 208V
| L3 | Charger | Distance | Wire Length | Wire Size | Conduit Length | Conduit Size | Grounding | Grounding Wire Size | CAT 5 Cable | Conduit Length | Conduit Size |  | 250 KCMIL |  | 1.2278 | 0 | (5") |  | 3.3106 | 0 | 0 |  | 11 | Main | 5000A | 70000 | 480V |  | 29 | Transformer | 300KVA | 10493 |  | 208V
| 100kW | 0 | 15 | 45 | 3 /0 | 15 | (2") | 15 | 6 AWG | 15 | 15 | (3/4") |  | 300 KCMIL |  | 1.4962 | 0 |  |  |  |  | 0 | [7 empty] | 30 | Transformer | 500KVA | 14500 |  | 208V
[14 empty] | 350 KCMIL |  | 2.0614 | 0 |  |  |  |  | 0 |  | 12 | main breakers | 110A | 650 | 480V
[14 empty] | 400 KCMIL |  | 2.1041 | 0 |  |  |  |  | 0 |  | 13 | main breakers | 125A | 700 | 480V |  | 31 | sub-Panel | 150A | 1000 |  | 208V
[14 empty] | 450 KCMIL |  | 2.7204 | 0 |  |  |  |  | 0 |  | 14 | main breakers | 250A | 1100 | 480V |  | 32 | sub-Panel | 250A | 1120 |  | 208V
[14 empty] | 500 KCMIL |  | 2.7204 | 0 |  |  |  |  | 0 |  | 15 | main breakers | 3000A | 32500 | 480V |  | 33 | sub-Panel | 400A | 1660 |  | 208V
[14 empty] | 600 KCMIL |  | 2.7204 | 0 |  |  |  |  | 0 |  | 16 | [5 empty] | 34 | sub-Panel | 600A | 5387 | 20ea 40A | 208V
[14 empty] | 700 KCMIL |  | 3.4435 | 0 |  |  |  |  | 0 |  | 17 | breakers | 100A | 580 | 480V |  | 35 | sub-Panel | 800A | 4650 |  | 208V
[14 empty] | 750 KCMIL |  | 4.809 | 0 |  |  |  |  | 0 |  | 18 | breakers | 200A | 900 | 480V
[14 empty] | 800 KCMIL |  | 4.859 | 0 |  |  |  |  | 0 |  | 19 | breakers | 300A | 1450 | 480V |  | 36 | Distribution panel | 1000A | 30000 |  | 208V
[14 empty] | 900 KCMIL |  |  | 0 |  |  |  |  | 0 |  | 20 | breakers | 500A | 3100 | 480V
[14 empty] | 1000 KCMIL |  | 7.566 | 0 |  |  |  |  | 0 |  | 21 | breakers | 600A | 3700 | 480V |  | 37 | Meter socket | 600A | 1786 |  | 208V
1
| Total |  | 15 | 45 |  | 15 |  | 15 |  | 15 | 15 |  |  | ELECTRICAL GEAR
PERIPHERALS
[15 empty] | Main MSA | Subpanels | Main Breakers | Disconnects | Transfromers | Breakers | Breakers | D. Panels | Meter Socket
| Type | Nuts | Washers | Screws & Bolts | Elbow | Sweeps | GROUND ROD | Uni Strut | Power Strut | Threaded rod | Hole strap | Drop-in Anchors |  | QTY | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| QTY | 400 | 400 | 1 | 6 | 4 | 2 | 6 | 0 | 0 | 0 | 0 |  | Unit Cost | 36813 | 5387 | 1200 | 1700 | 5298 | 800 | 60 | 30000 | 2055.31
| Unit Cost | 0.109 | 0.099 | 182.73 | 6.929 | 75 | 34.87 | 55 | 5.6 | 1.75 | 0.34 | 1.0455 |  | Size | 100 | 600 | 300 | 300 | 150 | 300 | 40 | 1000 | 300A
| Total | 43.6 | 39.6 | 182.73 | 41.574 | 300 | 69.74 | 330 | 0 | 0 | 0 | 0 |  | Voltage | 480 | 208 | 208 | 208 | 208 | 480 | 208 | 208 | 208
| Type | PVC Cement | PVC Bushing | PVC Bushing | PVC Coupling | GPR Scan | Ground Rod Clamp | Combo Lock | Tape/Marking Supplies | Data Box | CAT5 | Charger Anchors |  | Total | 36813 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| QTY | 0.325 | 1 | 1 | 1.5 | 1 | 2 | 2 | 1 | 0 | 15 | 8
| Unit Cost | 18.8 | 7.22 | 11.06 | 1.3 | 2500 | 7.22 | 337.73 | 125.57 | 1500 | 0.1 | 5 | [9 empty] | 0
| Total | 6.11 | 7.22 | 11.06 | 1.95 | 2500 | 14.44 | 675.46 | 125.57 | 0 | 1.5 | 40
| Type | Ply wood | 2'x4' | Sono tubes | Christy box | Cutting/Saw Consumables | Misc Electrical Hdw. | Form Stakes | Wire Dobies | Junction Box | Wheel stop | GFI Test (SgA>1000
| QTY | 6 | 6 | 22 | 0 | 1 | 1 | 20 | 50 | 4 | 0 | 0
| Unit Cost | 55 | 10 | 19 | 160 | 535.16 | 217.5 | 8.63 | 1.18 | 177 | 70.58 | 2000
| Total | 330 | 60 | 418 | 0 | 535.16 | 217.5 | 172.6 | 59 | 708 | 0 | 0
| GRAND TOTAL | 379.71 | 106.82 | 611.79 | 43.524 | 3335.16 | 301.68 | 1178.06 | 184.57 | 708 | 1.5 | 40
6890.814
[10 empty] | Utility Fees | QTY | Costs | Equipment
| Description | QTY | Unit Cost | Total |  |  | Permits | Equipment |  | R16 Fees | 0 | 1000 | 0
| Signs | 0 | 40 | 0 |  |  | 1000 | 11394.63 |  | Transformer Pad | 0 | 1663 | 0
| Sign posts | 0 | 56.1 | 0 | [5 empty] | Cabel well | 0 | 495 | 0
[10 empty] | Utility Vault/Pull Box | 0 | 0 | 0
[10 empty] | PGE Sand | 0 | 105 | 0
[10 empty] | Contract Fees |  |  | 0
| Bollards | 0 | 110 | 0
|  |  |  | 0 | 0 |  | 1000 | 11394.63 |  |  |  |  | 0
| Description | QTY | Unit Cost | Duration | Delivery fees | Total |  |  |  | Concrete | QTY | Costs | Equipment
| Fencing | 90 | 0.3 | 30 | 400 | 1210 |  |  |  | Concrete yd³ | 18 | 193.54 | 3483.72
| Mini x | 1 | 98.5667 | 30 | 0 | 2957 | 0 | 0 |  | Rebar | 4 | 25.65 | 102.6
| Dump Truck | 0 | 520 | 1 | 0 | 0 | Freight/Disposal | 2000 |  | Steel Mesh Roll | 2 | 169 | 338
| Forklift | 0 | 563 | 2 | 0 | 0 | [6 empty] | 3924.32
| Trench Plates | 0 | 5.18 | 30 | 0 | 0 | 0 | 2000
| Storage container | 1 | 185 | 15 | 0 | 2775 |  |  |  | Asphalt and Paving | QTY | Costs | Equipment
| Portable restroom | 1 | 267 | 1 | 65 | 332 |  |  |  | Apshalt | 35 | 40.81 | 1428.35
| Low boi | 0 | 1000 | 1 | 0 | 0 |  |  |  | Striping | 0 | 1500 | 0
| Saw cutter | 1 | 169 | 1 | 0 | 169 | [6 empty] | 0
| Jack hammer | 1 | 155 | 1 | 0 | 155 | [6 empty] | 1428.35
| Compactor | 1 | 175 | 1 | 0 | 175
| Generator rental | 1 | 220 | 1 | 0 | 220 |  |  |  | ADA | QTY | Costs | Equipment
| Dump trailer rental | 1 | 796.63 | 1 | 0 | 796.63 |  |  |  | 2% Ada Stalls | 2 | 4900 | 9800
| Equipment protection | 1 | 45 | 1 | 0 | 45 |  |  |  | ADA Ramp | 0 | 5200 | 0
| Skidsteer rental | 1 | 750 | 1 | 0 | 750
| Telehandler rental | 1 | 1410 | 1 | 400 | 1810 | [6 empty] | 9800
11394.63
Note on C106: Vatsal Patel: Source: Home Depot Orders row 72, 6500 Watt Generator Rental = $220.00.
Note on C107: Vatsal Patel: Source: Home Depot Orders row 156, Dump Trailer Rental = $796.63.
Note on C108: Vatsal Patel: Source: Home Depot Orders row 158, Equipment Protection = $45.00.
Note on C109: Vatsal Patel: Source: Home Depot Orders row 161 / summary note row 8, Dahl's skidsteer quote incl. delivery/pickup = $750.00.
Note on C110: Vatsal Patel: Source: Home Depot Orders row 162 / summary note row 8, Dahl's telehandler quote incl. fork set + delivery/pickup = $1,410.00.